## General Summary
GENERAL SUMMARY
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST
1000 | General Requirments | 9000
22000 | Plumbing | 13546.1776
23000 | Mechanical | 12453.0465
26000 | Electrical | 47875.08
TOTAL TRADE COST |  | 82874.3041
CONTINGENCY | 5% | 4143.7152
OVERHEAD & PROFIT (15%) | 15% | 12431.1456
TAX (7%) | 7% | 3192.3678
PERFORMANCE AND PAYMENT BONDS | 1.5% | 1243.1146
TOTAL BASEBID |  | 103884.6473

## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
| Project Name |  | DCANTER ALEXANDRIA
| Project Address |  | 1101 KIND ST, RETAIL SPACE 112 ALEXANDRIA, VA 22314
| Scope: |  | MEP
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9000
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 9000
|  | 22 | DIVISION 22- PLUMBING
VENT PIPES
HUBLESS ASTM A74; ASTM B888; CISPI 301 CAST IRON PIPE WITH CISPI 310 HEAVY-DUTY NEOPRENE COUPLINGS WITH STAINLESS STEEL SHIELDS, BANDS AND SCREWS.
8 |  |  | 1-1/2" Dia Vent Pipe | 35.45 | 5% | 37.2225 | LF | 0.12 | 4.4667 | 48 | 5.76 | 214.4016 | 4.41 | 164.1512 | 10.17 | 378.5528
FITTINGS
9 |  |  | 1-1/2" Dia Vent Pipe 45 Deg Elbow | 1 | 0% | 1 | EA | 0.2 | 0.2 | 48 | 9.6 | 9.6 | 6.6 | 6.6 | 16.2 | 16.2
10 |  |  | 1-1/2" Dia Vent Pipe 90 Deg Elbow | 3 | 0% | 3 | EA | 0.2 | 0.6 | 48 | 9.6 | 28.8 | 7.2 | 21.6 | 16.8 | 50.4
11 |  |  | 1-1/2" Dia Vent Pipe Tee | 1 | 0% | 1 | EA | 0.18 | 0.18 | 48 | 8.64 | 8.64 | 6.42 | 6.42 | 15.06 | 15.06
SANITARY PIPES - BELOW GRADE
HUBLESS ASTM A74; ASTM B888; CISPI 301 CAST IRON PIPE WITH CISPI 310 HEAVY-DUTY NEOPRENE COUPLINGS WITH STAINLESS STEEL SHIELDS, BANDS AND SCREWS.
12 |  |  | 2" Dia Sanitary Pipe | 21.56 | 5% | 22.638 | LF | 0.17 | 3.8485 | 48 | 8.16 | 184.7261 | 5 | 113.19 | 13.16 | 297.9161
13 |  |  | 4" Dia Sanitary Pipe | 4.67 | 5% | 4.9035 | LF | 0.23 | 1.1278 | 48 | 11.04 | 54.1346 | 14.45 | 70.8556 | 25.49 | 124.9902
FITTINGS
14 |  |  | 2" Dia Sanitary Pipe 45 Deg Elbow | 6 | 0% | 6 | EA | 0.2 | 1.2 | 48 | 9.6 | 57.6 | 8.19 | 49.14 | 17.79 | 106.74
15 |  |  | 4" Dia Sanitary Pipe 45 Deg Elbow | 1 | 0% | 1 | EA | 0.3 | 0.3 | 48 | 14.4 | 14.4 | 12.2 | 12.2 | 26.6 | 26.6
16 |  |  | 2" Dia Sanitary Pipe Wye | 2 | 0% | 2 | EA | 0.22 | 0.44 | 48 | 10.56 | 21.12 | 8.67 | 17.34 | 19.23 | 38.46
17 |  |  | 4" Dia Sanitary Pipe Wye | 1 | 0% | 1 | EA | 0.32 | 0.32 | 48 | 15.36 | 15.36 | 10.6 | 10.6 | 25.96 | 25.96
DOMESTIC WATER PIPES
TYPE L COPPER PIPE W/ FITTINGS WROUGHT COPPER
18 |  |  | 1/2" Dia Cold Water Pipe | 25.54 | 5% | 26.817 | LF | 0.099 | 2.6549 | 48 | 4.752 | 127.4344 | 3.5 | 93.8595 | 8.252 | 221.2939
19 |  |  | 3/4" Dia Cold Water Pipe | 33 | 5% | 34.65 | LF | 0.105 | 3.6383 | 48 | 5.04 | 174.636 | 5.15 | 178.4475 | 10.19 | 353.0835
20 |  |  | 1/2" Dia Hot Water Pipe | 26.74 | 5% | 28.077 | LF | 0.099 | 2.7796 | 48 | 4.752 | 133.4219 | 3.5 | 98.2695 | 8.252 | 231.6914
21 |  |  | 1/2" Dia Trap Primer Pipe (TYPE K COPPER - ASSUMED) | 6.42 | 5% | 6.741 | LF | 0.105 | 0.70781 | 48 | 5.04 | 33.9746 | 5.15 | 34.7161 | 10.19 | 68.6908
1/2" THICK FIBERGLASS 25/50 CODE PIPE INSULATION EQUAL COVERINGS
22 |  |  | 1/2" Dia Cold Water Pipe | 25.54 | 5% | 26.817 | LF | 0.042 | 1.1263 | 48 | 2.016 | 54.0631 | 1 | 26.817 | 3.016 | 80.8801
23 |  |  | 3/4" Dia Cold Water Pipe | 33 | 5% | 34.65 | LF | 0.047 | 1.6285 | 48 | 2.256 | 78.1704 | 1.22 | 42.273 | 3.476 | 120.4434
1" THICK FIBERGLASS 25/50 CODE PIPE INSULATION EQUAL COVERINGS
24 |  |  | 1/2" Dia Hot Water Pipe | 26.74 | 5% | 28.077 | LF | 0.099 | 2.7796 | 48 | 4.752 | 133.4219 | 3.5 | 98.2695 | 8.252 | 231.6914
FITTINGS
25 |  |  | 1/2" Dia Copper Pipe 90 Deg Elbow | 11 | 0% | 11 | EA | 0.2 | 2.2 | 48 | 9.6 | 105.6 | 6.27 | 68.97 | 15.87 | 174.57
26 |  |  | 3/4" Dia Copper Pipe 90 Deg Elbow | 3 | 0% | 3 | EA | 0.2 | 0.6 | 48 | 9.6 | 28.8 | 7.7 | 23.1 | 17.3 | 51.9
27 |  |  | 1/2" Dia Copper Pipe Tee | 4 | 0% | 4 | EA | 0.16 | 0.64 | 48 | 7.68 | 30.72 | 5.85 | 23.4 | 13.53 | 54.12
28 |  |  | 3/4" / 1/2" Dia Copper Pipe Tee | 2 | 0% | 2 | EA | 0.2 | 0.4 | 48 | 9.6 | 19.2 | 6.75 | 13.5 | 16.35 | 32.7
29 |  |  | 3/4" Dia Copper Pipe Tee | 1 | 0% | 1 | EA | 0.2 | 0.2 | 48 | 9.6 | 9.6 | 6.57 | 6.57 | 16.17 | 16.17
30 |  |  | 3/4" / 1/2" Dia Copper Pipe Reducer | 1 | 0% | 1 | EA | 0.16 | 0.16 | 48 | 7.68 | 7.68 | 5.7 | 5.7 | 13.38 | 13.38
CONDENSATE DRAIN PIPES
TYPE M COPPER PIPE ASTM B88, W/ FITTINGS B16.22 (ASSUMED)
31 |  |  | 1" Dia Condensate Drain Pipe | 6 | 5% | 6.3 | LF | 0.1 | 0.63 | 48 | 4.8 | 30.24 | 4.1 | 25.83 | 8.9 | 56.07
32 |  |  | 1/2" Dia T&P Relief Pipe | 6 | 5% | 6.3 | LF | 0.16 | 1.008 | 48 | 7.68 | 48.384 | 6.6 | 41.58 | 14.28 | 89.964
FITTINGS
33 |  |  | 1/2" Dia Condensate Drain Pipe 90 Deg Elbow | 1 | 0% | 1 | EA | 0.2 | 0.2 | 48 | 9.6 | 9.6 | 5.9 | 5.9 | 15.5 | 15.5
34 |  |  | 1" Dia Condensate Drain Pipe 90 Deg Elbow | 1 | 0% | 1 | EA | 0.26 | 0.26 | 48 | 12.48 | 12.48 | 10 | 10 | 22.48 | 22.48
ACCESSORIES
35 |  |  | 1" Dia Flexible Hose Tube (6'-0" Length) | 1 | 0% | 1 | EA | 0.6 | 0.6 | 48 | 28.8 | 28.8 | 24.6 | 24.6 | 53.4 | 53.4
36 |  |  | 2" Dia P-Trap | 2 | 0% | 2 | EA | 0.7 | 1.4 | 48 | 33.6 | 67.2 | 27.9 | 55.8 | 61.5 | 123
37 |  |  | 4" Dia Cleanout | 1 | 0% | 1 | EA | 1.6 | 1.6 | 48 | 76.8 | 76.8 | 188.52 | 188.52 | 265.32 | 265.32
38 |  |  | 1/2" Dia Ball Valve, TWO PIECE, FULL PORT, BRONZE, W/ BRONZE TRIM, STAINLESS STEEL BALL W/ LEVER HANDLE | 2 | 0% | 2 | EA | 1.22 | 2.44 | 48 | 58.56 | 117.12 | 132.27 | 264.54 | 190.83 | 381.66
39 |  |  | 1/2" Dia BFP-1, BACKFLOW PREVENTOR, ZURN 700XL-CH OR EQUAL DUAL CHECK, LEAD-FREE, ASSE 1024 COMPUANT. | 2 | 0% | 2 | EA | 2 | 4 | 48 | 96 | 192 | 166 | 332 | 262 | 524
40 |  |  | 1/2" Dia TP1, TRAP PRIMER, PPP INC PRIMER-PR01-500 OR EQUAL. | 1 | 0% | 1 | EA | 1.22 | 1.22 | 48 | 58.56 | 58.56 | 88.74 | 88.74 | 147.3 | 147.3
41 |  |  | 1/2" Dia Water Filter | 1 | 0% | 1 | EA | 4 | 4 | 48 | 192 | 192 | 210 | 210 | 402 | 402
42 |  |  | 1/2" Dia WHA, WATER HAMMER ARRESTOR, SIOUX CHIEF ASSE 1010 660-GTCIB OR EQUAL W/ 3/8" COMPRESSION INLET/OUTLET | 1 | 0% | 1 | EA | 0.6 | 0.6 | 48 | 28.8 | 28.8 | 40 | 40 | 68.8 | 68.8
KITCHEN EQUIPMENTS
43 |  |  | EQ-3, DISHWASHER, SAMSUNG DW60R2014US, STAINLESS STEEL (OWNER TO PROVIDE, GC INSTALL.) | 1 | 0% | 1 | EA | 2.6 | 2.6 | 48 | 124.8 | 124.8 | 0 | 0 | 124.8 | 124.8
44 |  |  | EQ-5, GARBAGE DISPOSAL, I.S.E. 1/2 HP - 120 VOLT "BADGER 5", WITH POWER CORD KIT. I.SE. STS 00 DUAL OUTLET, SNK TOP SWITCH PUSH BUTTON TO MATCH FAUCET FINISH | 1 | 0% | 1 | EA | 3 | 3 | 48 | 144 | 144 | 357 | 357 | 501 | 501
WATER HEATER DETAIL
45 |  |  | 1/2" Dia Heat Trap | 2 | 0% | 2 | EA | 0.6 | 1.2 | 48 | 28.8 | 57.6 | 47 | 94 | 75.8 | 151.6
46 |  |  | 1/2" Dia Shut-Off Valve, TWO PIECE, FULL PORT, BRONZE, W/ BRONZE TRIM, STAINLESS STEEL BALL W/ LEVER HANDLE | 2 | 0% | 2 | EA | 1.1 | 2.2 | 48 | 52.8 | 105.6 | 142 | 284 | 194.8 | 389.6
47 |  |  | 1/2" Dia T&P Relief Valve | 1 | 0% | 1 | EA | 0.77 | 0.77 | 48 | 36.96 | 36.96 | 87.4 | 87.4 | 124.36 | 124.36
48 |  |  | 1/2" Dia Vacuum Relief Valve | 1 | 0% | 1 | EA | 0.87 | 0.87 | 48 | 41.76 | 41.76 | 100 | 100 | 141.76 | 141.76
49 |  |  | 3/8" Dia Thread Rod, W/ Secure To Structure | 4 | 0% | 4 | EA | 0.2 | 0.8 | 48 | 9.6 | 38.4 | 12 | 48 | 21.6 | 86.4
50 |  |  | Leak Detector Water Shut-Off System, FLOODMASTER MODEL RS-094-MK6, OR APPROVED EQUAL WATER HEATER IEAK DETECTION + AUTOMATIC WATER SHUT-OPP SYSTEM. SYSTEM TO BE SUPPLIED WITH WIRED SENSOR PUCK, FULL PORT SOLENOID VALVE AND AUDIBLE ALARM. | 1 | 0% | 1 | EA | 4 | 4 | 48 | 192 | 192 | 545 | 545 | 737 | 737
51 |  |  | Water Heater Suspended Platform / Safe Pan - HOLDRITE 30-SWHP-M OR EQUA, NON Combustible Welded Galvanized Sttel Consturction | 1 | 0% | 1 | EA | 3.6 | 3.6 | 48 | 172.8 | 172.8 | 473 | 473 | 645.8 | 645.8
FIXTURES
52 |  |  | 2" Dia Emergrncy Funnel Drain | 1 | 0% | 1 | EA | 2 | 2 | 48 | 96 | 96 | 210 | 210 | 306 | 306
53 |  |  | P-41, PANTRY SINK, ELKAY EFRU21150T 18-GAUGE STAINLESS STEEL, UNDERMOUNT SINK REAR CENTER DRAIN. PROVIDE AND INSTAL ANGLE STOP VALVES, AND WALL ESCUTCHEONS. | 1 | 0% | 1 | EA | 6.85 | 6.85 | 48 | 328.8 | 328.8 | 933 | 933 | 1261.8 | 1261.8
54 |  |  | P-42, SINGLE HANDLE, 1.5 GPM FAUCET WITH PUIL-DOWN SPRAY AND FINISH | 1 | 0% | 1 | EA | 2.6 | 2.6 | 48 | 124.8 | 124.8 | 279 | 279 | 403.8 | 403.8
55 |  |  | P-43, HOT WATER DISPENSER, IN-SINK-ERATOR F-HC3300C CHROME FAUCET AND HWT- 115 VOLTE, 750 WATTS, 6.25 AMPS TANK AND FILTRATION SYSTEM. | 1 | 0% | 1 | EA | 6 | 6 | 48 | 288 | 288 | 1088 | 1088 | 1376 | 1376
56 |  |  | EWH-1, ELECTRIC WATER HEATER, A.O. SMITH DEL-10, 10 GAL, LBS 135, 277 V, 3.0 KW, PH 1. 1. PROVIDE WITH WESSELS MODEL T-5 THERMAL EXPANSION TANK PROVIDE MOUNTING BRACKET. 2. SET OUTILT TEMPERATURE AT 120T. 3. MELTS OR EXCEEDS ASHRAE/IESNA 90.1. | 1 | 0% | 1 | EA | 10 | 10 | 48 | 480 | 480 | 1060.47 | 1060.47 | 1540.47 | 1540.47
MISC
57 |  |  | Adjustable Steel Clevis Hanger FEDERAL A-A1192A (TYPE 1), WW-H-171-E A9TYPE 1), ANSI / MSS SP-69 AND MSS SP-58 (TYPE 1), W/ THREAD RODS | 18 | 0% | 18 | EA | 0.6 | 10.8 | 48 | 28.8 | 518.4 | 14.6 | 262.8 | 43.4 | 781.2
58 |  |  | Saw Cuttings & Patching | 30 | 0% | 30 | LF | 0.065 | 1.95 | 48 | 3.12 | 93.6 | 0 | 0 | 3.12 | 93.6
|  |  | SUBTOTAL | [12 empty] | 13546.1776
|  | 23 | DIVISION 23- HVAC
RELOCATION
59 |  |  | Relocate Existing Thermostat | 1 | 0% | 1 | EA | 2 | 2 | 48 | 96 | 96 | 0 | 0 | 96 | 96
DUCTWORK
Sheet Metal Duct
60 |  |  | 12" Dia Supply Air Duct (Lined) | 17.89 | 5% | 18.7845 | LF | 0.31 | 5.8232 | 48 | 14.88 | 279.5134 | 13.35 | 250.7731 | 28.23 | 530.2864
61 |  |  | 16" Dia Supply Air Duct (Lined) | 16.94 | 5% | 17.787 | LF | 0.36 | 6.4033 | 48 | 17.28 | 307.3594 | 18.9 | 336.1743 | 36.18 | 643.5337
62 |  |  | 18" Dia Supply Air Duct (Lined) | 13.03 | 5% | 13.6815 | LF | 0.392 | 5.3631 | 48 | 18.816 | 257.4311 | 20 | 273.63 | 38.816 | 531.0611
63 |  |  | 8"x8" Exhaust Air Duct (Lined) | 7.25 | 5% | 7.6125 | LF | 0.64 | 4.872 | 48 | 30.72 | 233.856 | 10.368 | 78.9264 | 41.088 | 312.7824
FITTINGS
64 |  |  | 8"x8" Duct 90 Deg Elbow | 1 | 0% | 1 | EA | 0.3 | 0.3 | 48 | 14.4 | 14.4 | 47 | 47 | 61.4 | 61.4
65 |  |  | 16" Dia Duct Takeoff W/ Volume Damper | 1 | 0% | 1 | EA | 1.9 | 1.9 | 48 | 91.2 | 91.2 | 177 | 177 | 268.2 | 268.2
66 |  |  | 12"x8" Duct Branch Takeoff W/ Volume Damper | 9 | 0% | 9 | EA | 1.7 | 15.3 | 48 | 81.6 | 734.4 | 152.28 | 1370.52 | 233.88 | 2104.92
67 |  |  | 16" / 12" Dia Duct Reducer | 1 | 0% | 1 | EA | 1.6 | 1.6 | 48 | 76.8 | 76.8 | 88.62 | 88.62 | 165.42 | 165.42
68 |  |  | 12" Dia Duct End Cap | 1 | 0% | 1 | EA | 0.4 | 0.4 | 48 | 19.2 | 19.2 | 22.22 | 22.22 | 41.42 | 41.42
69 |  |  | 18" Dia Duct End Cap | 1 | 0% | 1 | EA | 0.46 | 0.46 | 48 | 22.08 | 22.08 | 29.7 | 29.7 | 51.78 | 51.78
DUCT ACCESSORIES
70 |  |  | 8"x8" Flexible Connector | 1 | 0% | 1 | EA | 0.4 | 0.4 | 48 | 19.2 | 19.2 | 24.9 | 24.9 | 44.1 | 44.1
71 |  |  | 18" Dia Flexible Connector | 1 | 0% | 1 | EA | 0.42 | 0.42 | 48 | 20.16 | 20.16 | 27 | 27 | 47.16 | 47.16
72 |  |  | 8"x8" Backdraft Damper | 1 | 0% | 1 | EA | 2.22 | 2.22 | 48 | 106.56 | 106.56 | 198.55 | 198.55 | 305.11 | 305.11
73 |  |  | 8"x8" Sidewall Exhaust Cap | 1 | 0% | 1 | EA | 1.4 | 1.4 | 48 | 67.2 | 67.2 | 66.84 | 66.84 | 134.04 | 134.04
74 |  |  | Control Wire | 34.52 | 5% | 36.246 | LF | 0.065 | 2.356 | 48 | 3.12 | 113.0875 | 3.03 | 109.8254 | 6.15 | 222.9129
75 |  |  | T, Thermostat | 1 | 0% | 1 | EA | 2.27 | 2.27 | 48 | 108.96 | 108.96 | 225 | 225 | 333.96 | 333.96
DUCT LINER
76 |  |  | 1" THICK CLOSED-CELL FIBER-FREE BLACK DUCT LINER W/ ANTI-MICROBIAL PROTECTION | 210 | 10% | 231 | SF | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0
AIR DEVICES
77 |  |  | R1, Door Transfer Grille, TITUS T-700L, NECK SIZE 18"X12", FACE SIZE 20"X14", 270 CFM, PROVIDE W/ AUXILIARY FRAME FOR THE BACK SIDE OF DOOR. | 1 | 0% | 1 | EA | 2.2 | 2.2 | 48 | 105.6 | 105.6 | 260 | 260 | 365.6 | 365.6
78 |  |  | S1, SIDEWALL SUPPLY REGISTER, TITUS 300RL, 12"X8" FACE SIZE, THROW 10, CFM 175, PROVIDE W/ OPPOSED BLADE DAMPER. | 8 | 0% | 8 | EA | 2 | 16 | 48 | 96 | 768 | 210 | 1680 | 306 | 2448
79 |  |  | S1, SIDEWALL SUPPLY REGISTER, TITUS 300RL, 12"X8" FACE SIZE, THROW 10, CFM 200, PROVIDE W/ OPPOSED BLADE DAMPER. | 1 | 0% | 1 | EA | 22 | 22 | 48 | 1056 | 1056 | 200 | 200 | 1256 | 1256
EQUIPMENTS
80 |  |  | EF-1, EXHAUST FANCOOK GC-542, CEILING CABINET, DRIVE DIRECT, CFM 250, RPM 1175, WATTS 86, V 115, PH 1, LBS 30. 1. PROVIDE WITH INTEGRAL DISCONNECT, AND RUBBER-IN-SHEAR ISOLATORS. 2. PROVIDE UNIT-MOUNTED VARIABLE SPEED CONTROLLER. 3. PROVIDE WALL-MOUNTED THERMOSTAT. 4. PROVIDE WITH INTEGRAL EXHAUST GRIME. 5. 1/4" DIA THREADED RODS (4 EA) | 1 | 0% | 1 | EA | 6.67 | 6.67 | 48 | 320.16 | 320.16 | 879.6 | 879.6 | 1199.76 | 1199.76
81 |  |  | WH-1, WALL HEATER, MARKEL 3320, SURFACE MOUNTING TYPE, KW 1.5, V 277, PH 1, LBS 26. NOTES; • ACCEPTABLE UANUFAffURERS: BERKO, INDEECO, UARKE14 QMARK, TRANE • ALL HEATERS SHAIL BE m AND UBELED. • ALL HEATERS SHAIL BE PROVIDED AN THERMAL OVERLOAD cur-on, FAN DEUY SWTCH, WTTCRAL UANUAL DISCONNECT SWITCH AND TAUPER RESISTANT THERMOSTAT | 1 | 0% | 1 | EA | 6 | 6 | 48 | 288 | 288 | 660 | 660 | 948 | 948
MISC
82 |  |  | Duct Supports & Unistrip & Threaded Rods | 7 | 0% | 7 | EA | 0.6 | 4.2 | 48 | 28.8 | 201.6 | 20 | 140 | 48.8 | 341.6
|  |  | SUBTOTAL | [12 empty] | 12453.0465
|  | 26 | DIVISION 26- ELECTRICAL
FEEDERS
CONDUITS
83 |  |  | 1 1/2"C EMT | 5.04 | 5% | 5.292 | LF | 0.117 | 0.61916 | 46 | 5.382 | 28.4815 | 3.6475 | 19.3026 | 9.0295 | 47.7841
84 |  |  | 3/4"C EMT | 6.07 | 5% | 6.3735 | LF | 0.064 | 0.4079 | 46 | 2.944 | 18.7636 | 1.38 | 8.7954 | 4.324 | 27.559
CONDUTORS
85 |  |  | #1 THHN | 20.16 | 5% | 21.168 | LF | 0.046 | 0.97373 | 46 | 2.116 | 44.7915 | 3.03 | 64.139 | 5.146 | 108.9305
86 |  |  | #6 THHN | 23.25 | 5% | 24.4125 | LF | 0.02 | 0.48825 | 46 | 0.92 | 22.4595 | 1.17 | 28.5626 | 2.09 | 51.0221
87 |  |  | #10 THHN | 6.07 | 5% | 6.3735 | LF | 0.01 | 0.063735 | 46 | 0.46 | 2.9318 | 0.4 | 2.5494 | 0.86 | 5.4812
GROUNDING
88 |  |  | 3/4"X10' CU GROUND ROD | 1 | 0% | 1 | EA | 0.7 | 0.7 | 46 | 32.2 | 32.2 | 78.6 | 78.6 | 110.8 | 110.8
89 |  |  | 12"X4"X1/4" CU GROUND BUS BAAR | 2 | 0% | 2 | EA | 1.22 | 2.44 | 46 | 56.12 | 112.24 | 186 | 372 | 242.12 | 484.24
90 |  |  | #6 GROUNDING ELECTRODE CONDUCTOR | 20 | 5% | 21 | LF | 0.036 | 0.756 | 46 | 1.656 | 34.776 | 3.6 | 75.6 | 5.256 | 110.376
CIRCUIT BREAKERS
91 |  |  | 20A/1P CIRCUIT BREAKERS | 32 | 0% | 32 | EA | 0.5 | 16 | 46 | 23 | 736 | 22 | 704 | 45 | 1440
92 |  |  | 50A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA | 0.7 | 0.7 | 46 | 32.2 | 32.2 | 172 | 172 | 204.2 | 204.2
93 |  |  | 100A MAIN CIRCUIT BREAKER | 1 | 0% | 1 | EA | 1.6 | 1.6 | 46 | 73.6 | 73.6 | 344 | 344 | 417.6 | 417.6
PANELS
94 |  |  | PANEL L, 100A MCB, 120/208V, 3PH, 4W, SURFACE ENCLOSED NEMA 1 | 1 | 0% | 1 | EA | 10 | 10 | 46 | 460 | 460 | 1160 | 1160 | 1620 | 1620
EQUIPMENTS
95 |  |  | T-30, 30KVA XMFR , 480V, 3PH, FLOOR MOUNTED NEMA1 | 1 | 0% | 1 | EA | 30 | 30 | 46 | 1380 | 1380 | 4709 | 4709 | 6089 | 6089
LIGHTING CIRCUITS
CONDUITS
96 |  |  | 1/2"C EMT | 487.61 | 5% | 511.9905 | LF | 0.057 | 29.1835 | 46 | 2.622 | 1342.4391 | 1 | 511.9905 | 3.622 | 1854.4296
97 |  |  | 1/2"C FLEX S | 220 | 5% | 231 | LF | 0.062 | 14.322 | 46 | 2.852 | 658.812 | 1.2 | 277.2 | 4.052 | 936.012
CONDUTORS
98 |  |  | #12 THHN | 2122.83 | 5% | 2228.9715 | LF | 0.009 | 20.0607 | 46 | 0.414 | 922.7942 | 0.28 | 624.112 | 0.694 | 1546.9062
POWER CIRCUITS
CONDUITS
99 |  |  | 1/2"C EMT | 878.5 | 5% | 922.425 | LF | 0.057 | 52.5782 | 46 | 2.622 | 2418.5984 | 1 | 922.425 | 3.622 | 3341.0233
CONDUTORS
100 |  |  | #12 THHN | 2635.5 | 5% | 2767.275 | LF | 0.009 | 24.9055 | 46 | 0.414 | 1145.6518 | 0.28 | 774.837 | 0.694 | 1920.4888
POWER DEVICES
101 |  |  | JUNCTION BOX | 5 | 0% | 5 | EA | 0.7 | 3.5 | 46 | 32.2 | 161 | 30 | 150 | 62.2 | 311
102 |  |  | DUPLEX RECEPTACLE NEMA 5-20R | 23 | 0% | 23 | EA | 0.4 | 9.2 | 46 | 18.4 | 423.2 | 36.1 | 830.3 | 54.5 | 1253.5
103 |  |  | DUPLEX RECEPTACLE NEMA GFCI 5-20R | 1 | 0% | 1 | EA | 0.45 | 0.45 | 46 | 20.7 | 20.7 | 39 | 39 | 59.7 | 59.7
104 |  |  | QUADRUPLEX RECEPTACLE | 1 | 0% | 1 | EA | 0.49 | 0.49 | 46 | 22.54 | 22.54 | 44 | 44 | 66.54 | 66.54
LIGHT FIXTURES
105 |  |  | B, 7 FT, LINEAR LIGHT - LEDSCAPE LIGHTING#LENGTH-FLEX-PCB-X-30 SR*-*-*-CP PS-24-0-D3-*-U | 1 | 0% | 1 | EA | 1.4 | 1.4 | 46 | 64.4 | 64.4 | 186.2 | 186.2 | 250.6 | 250.6
106 |  |  | B, 9 FT, LINEAR LIGHT - LEDSCAPE LIGHTING#LENGTH-FLEX-PCB-X-30 SR*-*-*-CP PS-24-0-D3-*-U | 1 | 0% | 1 | EA | 1.8 | 1.8 | 46 | 82.8 | 82.8 | 239.4 | 239.4 | 322.2 | 322.2
107 |  |  | C, PENDANT LIGHT - SOLAIS#NDR-WFL-930-1000-PW-TCM1-PW-UNV | 7 | 0% | 7 | EA | 2.6 | 18.2 | 46 | 119.6 | 837.2 | 229 | 1603 | 348.6 | 2440.2
108 |  |  | D1, VAKKER LIGHTROSE MURANO GLASS CHANDELIER | 3 | 0% | 3 | EA | 10 | 30 | 46 | 460 | 1380 | 1725 | 5175 | 2185 | 6555
109 |  |  | D2, LEE BROOM #NDC015 | 5 | 0% | 5 | EA | 2.7 | 13.5 | 46 | 124.2 | 621 | 221 | 1105 | 345.2 | 1726
110 |  |  | Y, WALL MOUNTED EMERGENCY LIGHT, LIGHT ALARM #CM-PB-LA | 3 | 0% | 3 | EA | 0.77 | 2.31 | 46 | 35.42 | 106.26 | 86 | 258 | 121.42 | 364.26
111 |  |  | J1, H.E. WILLIAMS #75R-2-L15/830/DRV-EM/10WLP-DRV-UNV | 2 | 0% | 2 | EA | 0.77 | 1.54 | 46 | 35.42 | 70.84 | 100 | 200 | 135.42 | 270.84
112 |  |  | K, TRACK LIGHT , SOLAIS#GP12/ST//PW/GP-UM/*/* | 106.47 | 5% | 111.7935 | LF | 0.2 | 22.3587 | 46 | 9.2 | 1028.5002 | 22 | 2459.457 | 31.2 | 3487.9572
113 |  |  | K1, TRACK HEAD - SOLAIS # FL HEAD: LCN/2/FL/930/700/PW/GPc | 16 | 0% | 16 | EA | 0.7 | 11.2 | 46 | 32.2 | 515.2 | 92 | 1472 | 124.2 | 1987.2
114 |  |  | K2, TRACK HEAD - SOLAIS#WFL HEAD: LCN/2/WFL/930/700/PW/GPc | 3 | 0% | 3 | EA | 0.7 | 2.1 | 46 | 32.2 | 96.6 | 99 | 297 | 131.2 | 393.6
115 |  |  | K3, TRACK HEAD - SOLAIS# WW HEAD: LCM/2/WW/930/2000/*/GPc | 14 | 0% | 14 | EA | 0.7 | 9.8 | 46 | 32.2 | 450.8 | 110 | 1540 | 142.2 | 1990.8
LIGHTING CONTROLS
116 |  |  | 0.5A CURRENT LIMITER | 4 | 0% | 4 | EA | 0.7 | 2.8 | 46 | 32.2 | 128.8 | 107.9 | 431.6 | 140.1 | 560.4
117 |  |  | 1A CURRENT LIMITER | 3 | 0% | 3 | EA | 1 | 3 | 46 | 46 | 138 | 172 | 516 | 218 | 654
118 |  |  | ML, CEILING MOUNTED DUAL TECHNOLOGY MOTION SENSOR, LEGRAND#LMDC-100 | 2 | 0% | 2 | EA | 0.86 | 1.72 | 46 | 39.56 | 79.12 | 142 | 284 | 181.56 | 363.12
119 |  |  | SD, SIGLE POLE DIMMER SWITCH, - LEGNARD #LDM-101-W | 8 | 0% | 8 | EA | 0.87 | 6.96 | 46 | 40.02 | 320.16 | 141.71 | 1133.68 | 181.73 | 1453.84
120 |  |  | SM, DUAL TECHNOLOGY VACCANCT SENSOR SWITCH - LEGRAND #DSW-301 | 2 | 0% | 2 | EA | 0.89 | 1.78 | 46 | 40.94 | 81.88 | 133.9 | 267.8 | 174.84 | 349.68
LOW VOLTAGE
CIRCUITS
CONDUITS
121 |  |  | 3/4"C EMT | 305.74 | 5% | 321.027 | LF | 0.064 | 20.5457 | 46 | 2.944 | 945.1035 | 1.38 | 443.0173 | 4.324 | 1388.1207
CONDUTORS
122 |  |  | CAT 6 CABLE | 305.74 | 5% | 321.027 | LF | 0.01 | 3.2103 | 46 | 0.46 | 147.6724 | 0.4 | 128.4108 | 0.86 | 276.0832
DEVICES
123 |  |  | BACK BOXES | 8 | 0% | 8 | EA | 0.65 | 5.2 | 46 | 29.9 | 239.2 | 25 | 200 | 54.9 | 439.2
124 |  |  | SC, SECURITY CAMERA | 6 | 0% | 6 | EA
125 |  |  | T/D, TELE DATA OUTLET | 2 | 0% | 2 | EA
126 |  |  | 8'H X 3/4" X FIRE TREATED PLYWOOD | 1 | 0% | 1 | EA
FIRE ALARM
CONDUCTORS
127 |  |  | #14/2C MC | 173.47 | 5% | 182.1435 | LF | 0.016 | 2.9143 | 46 | 0.736 | 134.0576 | 1.0257 | 186.8282 | 1.7617 | 320.8858
DEVICES
128 |  |  | BACK BOXES | 5 | 0% | 5 | EA | 0.65 | 3.25 | 46 | 29.9 | 149.5 | 25 | 125 | 54.9 | 274.5
129 |  |  | FIRE ALARM PULL STATION | 2 | 0% | 2 | EA
130 |  |  | FIRE ALARM AUDIO VISUAL DEVICES | 1 | 0% | 1 | EA
131 |  |  | SMOKE DETECTOR CEILING MOUNTED | 1 | 0% | 1 | EA
132 |  |  | FIRE ALARM AUDJUSTABLE VISUAL DEVICES ONLY 110 CD | 1 | 0% | 1 | EA
|  |  | SUBTOTAL | [12 empty] | 47875.08
[7 empty] | TOTAL LABOR HOURS |  | 604.9813 | TOTAL LABOR COST |  | 28269.0491 | TOTAL MATERIAL COST | 45605.255
|  |  | TOTAL AMOUNT | [12 empty] | 82874.3041
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  |  |  |  | 4143.7152
|  |  | OVERHEAD & PROFIT (15%) | [7 empty] | 15% |  |  |  |  | 12431.1456
|  |  | TAX (8.5%) | [7 empty] | 7% |  |  |  |  | 3192.3678
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  |  |  |  | 1243.1146
|  |  | TOTAL BASEBID | [12 empty] | 103884.6473

## LABOR SHEET
| Labor Type | Labor Rate
Plumbing | Plum | 48
Mechanical | Mech | 48
Electrical | Elec | 46
Wastage
Each/Count | EA | 0%
Linear Footage | LF | 5%
Square Footage | SF | 10%
Square Yard | SY | 10%
Cubic Yard | CY | 10%
Lumpsum | LS | 0%
Survery | Survey | 0%
Stair Riser | RISER | 0%
Blocks Count | BLOCKS | 0%
Bags of Pre-Mix Mortar | BAGS | 0%
Linear Footage of Wall | LF.Wall | 10%
Pounds | LBS | 10%
Pieces | PCs | 0%
Location | LOC | 0%
Bundle | Bundle | 10%
Rolls | ROLLS | 0%
Boxes | BOX | 0%
Holeses | Holes | 0%
Pieces | PC | 0%
Tubes | Tube | 0%
Gallons | GA | 0%
Square of Roofing | SQ | 10%
N/A | N/A | 0%
NOTE:
Prevailing wages have been included in this estimate in compliance with the Davis-Bacon Act.
Material pricing is based on current market rates sourced from reputable online platforms and suppliers.
Please note that actual costs may vary depending on site-specific conditions, unforeseen circumstances, or changes in market conditions.