## ESTIMATE
MATERIAL TAKEOFF AND COST ESTIMATE STATEMENT
Project Name: |  | HANKOOK TIRE PHASE II
Location: |  | 1950 INTERNATIONAL BLVD. CLARKSVILLE, TN 37043
Sr # | REFERENCE | DESCRIPTION | QUANTITY | WASTE | TOTAL QTY | UNIT | COST/UNIT | MATERIAL TOTAL | UNIT HOURS | TOTAL MANHOURS | UNIT LABOR | TOTAL LABOR | TOTAL COST | REMARKS | TRADE COST
01. GENERAL CONDITIONS | [14 empty] | 0
GENERAL CONDITIONS
1 |  | Permit | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | Final Cleanup | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  | Mobilization Cost | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  | Project Overheads | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  | Bonds | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  | Fees (Architect & Engineer) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0
22. PLUMBING | [14 empty] | 3709569.9628
PLUMBING PIPING
Domestic Piping
9 |  | CW-1" Dia Cold Water Pipe | 1071.95 | 5% | 1125.5475 | LF | 7.96 | 8959.3581 | 0.118 | 132.8146 | 40 | 5312.5842 | 14271.9423
10 |  | CW-1/2" Dia Cold Water Pipe | 343.46 | 5% | 360.633 | LF | 3.45 | 1244.1838 | 0.099 | 35.7027 | 40 | 1428.1067 | 2672.2905
11 |  | CW-1-1/2" Dia Cold Water Pipe | 4946.19 | 5% | 5193.4995 | LF | 12.85 | 66736.4686 | 0.154 | 799.7989 | 40 | 31991.9569 | 98728.4255
12 |  | CW-2" Dia Cold Water Pipe | 3314.39 | 5% | 3480.1095 | LF | 18.3 | 63686.0039 | 0.19 | 661.2208 | 40 | 26448.8322 | 90134.836
13 |  | CW-2-1/2" Dia Cold Water Pipe | 168.7 | 5% | 177.135 | LF | 21.6 | 3826.116 | 0.202 | 35.7813 | 40 | 1431.2508 | 5257.3668
14 |  | CW-3" Dia Cold Water Pipe | 2464.55 | 5% | 2587.7775 | LF | 29.75 | 76986.3806 | 0.22 | 569.3111 | 40 | 22772.442 | 99758.8226
15 |  | CW-3/4" Dia Cold Water Pipe | 1178.4 | 5% | 1237.32 | LF | 5.8 | 7176.456 | 0.105 | 129.9186 | 40 | 5196.744 | 12373.2
16 |  | CW-4" Dia Cold Water Pipe | 4174.73 | 5% | 4383.4665 | LF | 44.84 | 196554.6379 | 0.26 | 1139.7013 | 40 | 45588.0516 | 242142.6895
17 |  | CW-6" Dia Cold Water Pipe | 425.6 | 5% | 446.88 | LF | 55.6 | 24846.528 | 0.3 | 134.064 | 40 | 5362.56 | 30209.088
18 |  | HW-1" Dia Hot Water Pipe | 307 | 5% | 322.35 | LF | 7.96 | 2565.906 | 0.118 | 38.0373 | 40 | 1521.492 | 4087.398
19 |  | HW-1/2" Dia Hot Water Pipe | 1297.97 | 5% | 1362.8685 | LF | 3.45 | 4701.8963 | 0.099 | 134.924 | 40 | 5396.9593 | 10098.8556
20 |  | HW-1-1/2" Dia Hot Water Pipe | 1482.49 | 5% | 1556.6145 | LF | 12.85 | 20002.4963 | 0.154 | 239.7186 | 40 | 9588.7453 | 29591.2416
21 |  | HW-3/4" Dia Hot Water Pipe | 756.28 | 5% | 794.094 | LF | 5.8 | 4605.7452 | 0.105 | 83.3799 | 40 | 3335.1948 | 7940.94
Gas Piping
22 |  | G-1" Dia Gas Pipe | 394.52 | 5% | 414.246 | LF | 8.52 | 3529.3759 | 0.12 | 49.7095 | 40 | 1988.3808 | 5517.7567
23 |  | G-10" Dia Gas Pipe | 1240.31 | 5% | 1302.3255 | LF | 80.3 | 104576.7376 | 0.345 | 449.3023 | 40 | 17972.0919 | 122548.8295
24 |  | G-1-1/2" Dia Gas Pipe | 4889.39 | 5% | 5133.8595 | LF | 14.2 | 72900.8049 | 0.156 | 800.8821 | 40 | 32035.2833 | 104936.0882
25 |  | G-2" Dia Gas Pipe | 4953.69 | 5% | 5201.3745 | LF | 22.65 | 117811.1324 | 0.19 | 988.2612 | 40 | 39530.4462 | 157341.5786
26 |  | G-3" Dia Gas Pipe | 580.27 | 5% | 609.2835 | LF | 34.3 | 20898.424 | 0.22 | 134.0424 | 40 | 5361.6948 | 26260.1188
27 |  | G-4" Dia Gas Pipe | 211.16 | 5% | 221.718 | LF | 48.9 | 10842.0102 | 0.26 | 57.6467 | 40 | 2305.8672 | 13147.8774
28 |  | G-6" Dia Gas Pipe | 2701.35 | 5% | 2836.4175 | LF | 60.2 | 170752.3335 | 0.29 | 822.5611 | 40 | 32902.443 | 203654.7765
29 |  | G-8" Dia Gas Pipe | 285.02 | 5% | 299.271 | LF | 72.3 | 21637.2933 | 0.32 | 95.7667 | 40 | 3830.6688 | 25467.9621
Waste & Vent Piping
30 |  | ORD-10" Dia Overflow Drain | 170.05 | 5% | 178.5525 | LF | 70.3 | 12552.2408 | 0.3 | 53.5658 | 40 | 2142.63 | 14694.8708
31 |  | ORD-12" Dia Overflow Drain | 504.27 | 5% | 529.4835 | LF | 78.12 | 41363.251 | 0.32 | 169.4347 | 40 | 6777.3888 | 48140.6398
32 |  | ORD-15" Dia Overflow Drain | 1999.88 | 5% | 2099.874 | LF | 88.6 | 186048.8364 | 0.345 | 724.4565 | 40 | 28978.2612 | 215027.0976
33 |  | ORD-6" Dia Overflow Drain | 677.9 | 5% | 711.795 | LF | 48.2 | 34308.519 | 0.24 | 170.8308 | 40 | 6833.232 | 41141.751
34 |  | ORD-8" Dia Overflow Drain | 146.46 | 5% | 153.783 | LF | 59.6 | 9165.4668 | 0.275 | 42.2903 | 40 | 1691.613 | 10857.0798
35 |  | RWL-10" Dia Rain Leader Pipe | 161.36 | 5% | 169.428 | LF | 70.3 | 11910.7884 | 0.3 | 50.8284 | 40 | 2033.136 | 13943.9244
36 |  | RWL-12" Dia Rain Leader Pipe | 832.8 | 5% | 874.44 | LF | 78.12 | 68311.2528 | 0.32 | 279.8208 | 40 | 11192.832 | 79504.0848
37 |  | RWL-15" Dia Rain Leader Pipe | 1647.37 | 5% | 1729.7385 | LF | 88.6 | 153254.8311 | 0.345 | 596.7598 | 40 | 23870.3913 | 177125.2224
38 |  | RWL-6" Dia Rain Leader Pipe | 326 | 5% | 342.3 | LF | 48.2 | 16498.86 | 0.24 | 82.152 | 40 | 3286.08 | 19784.94
39 |  | RWL-8" Dia Rain Leader Pipe | 250.96 | 5% | 263.508 | LF | 59.6 | 15705.0768 | 0.275 | 72.4647 | 40 | 2898.588 | 18603.6648
40 |  | S-1-1/2" Dia Sanitary Pipe | 154.47 | 5% | 162.1935 | LF | 10.5 | 1703.0318 | 0.142 | 23.0315 | 40 | 921.2591 | 2624.2908
41 |  | S-2" Dia Sanitary Pipe | 49.48 | 5% | 51.954 | LF | 15.3 | 794.8962 | 0.16 | 8.3126 | 40 | 332.5056 | 1127.4018
42 |  | S-3" Dia Sanitary Pipe | 779.57 | 5% | 818.5485 | LF | 24.9 | 20381.8577 | 0.185 | 151.4315 | 40 | 6057.2589 | 26439.1166
43 |  | S-4" Dia Sanitary Pipe | 2301.08 | 5% | 2416.134 | LF | 37.9 | 91571.4786 | 0.21 | 507.3881 | 40 | 20295.5256 | 111867.0042
44 |  | S-6" Dia Sanitary Pipe | 658.64 | 5% | 691.572 | LF | 48.2 | 33333.7704 | 0.24 | 165.9773 | 40 | 6639.0912 | 39972.8616
45 |  | SV-2" Dia Sanitary Vent Pipe | 238.04 | 5% | 249.942 | LF | 15.3 | 3824.1126 | 0.16 | 39.9907 | 40 | 1599.6288 | 5423.7414
46 |  | SV-3" Dia Sanitary Vent Pipe | 402.04 | 5% | 422.142 | LF | 24.9 | 10511.3358 | 0.185 | 78.0963 | 40 | 3123.8508 | 13635.1866
PLUMBING FITTINGS
47 |  | CW-1" Dia Cold Water Pipe 90 Deg Elbow | 107 | 0% | 107 | EA | 75 | 8025 | 0.8 | 85.6 | 40 | 3424 | 11449
48 |  | CW-1/2" Dia Cold Water Pipe 90 Deg Elbow | 34 | 0% | 34 | EA | 32 | 1088 | 0.35 | 11.9 | 40 | 476 | 1564
49 |  | CW-1-1/2" Dia Cold Water Pipe 90 Deg Elbow | 393 | 0% | 393 | EA | 108 | 42444 | 1 | 393 | 40 | 15720 | 58164
50 |  | CW-2" Dia Cold Water Pipe 90 Deg Elbow | 331 | 0% | 331 | EA | 120 | 39720 | 1.2 | 397.2 | 40 | 15888 | 55608
51 |  | CW-2-1/2" Dia Cold Water Pipe 90 Deg Elbow | 16 | 0% | 16 | EA | 129 | 2064 | 1.25 | 20 | 40 | 800 | 2864
52 |  | CW-3" Dia Cold Water Pipe 90 Deg Elbow | 221 | 0% | 221 | EA | 154 | 34034 | 1.5 | 331.5 | 40 | 13260 | 47294
53 |  | CW-3/4" Dia Cold Water Pipe 90 Deg Elbow | 117 | 0% | 117 | EA | 59 | 6903 | 0.55 | 64.35 | 40 | 2574 | 9477
54 |  | CW-4" Dia Cold Water Pipe 90 Deg Elbow | 323 | 0% | 323 | EA | 188 | 60724 | 1.8 | 581.4 | 40 | 23256 | 83980
55 |  | CW-6" Dia Cold Water Pipe 90 Deg Elbow | 42 | 0% | 42 | EA | 206 | 8652 | 2 | 84 | 40 | 3360 | 12012
56 |  | G-1" Dia Gas Pipe 90 Deg Elbow | 39 | 0% | 39 | EA | 82 | 3198 | 0.8 | 31.2 | 40 | 1248 | 4446
57 |  | G-10" Dia Gas Pipe 90 Deg Elbow | 124 | 0% | 124 | EA | 300 | 37200 | 3 | 372 | 40 | 14880 | 52080
58 |  | G-1-1/2" Dia Gas Pipe 90 Deg Elbow | 488 | 0% | 488 | EA | 95 | 46360 | 1.2 | 585.6 | 40 | 23424 | 69784
59 |  | G-2" Dia Gas Pipe 90 Deg Elbow | 495 | 0% | 495 | EA | 122 | 60390 | 1.4 | 693 | 40 | 27720 | 88110
60 |  | G-3" Dia Gas Pipe 90 Deg Elbow | 58 | 0% | 58 | EA | 150 | 8700 | 1.7 | 98.6 | 40 | 3944 | 12644
61 |  | G-4" Dia Gas Pipe 90 Deg Elbow | 21 | 0% | 21 | EA | 178 | 3738 | 2 | 42 | 40 | 1680 | 5418
62 |  | G-6" Dia Gas Pipe 90 Deg Elbow | 223 | 0% | 223 | EA | 195 | 43485 | 2.2 | 490.6 | 40 | 19624 | 63109
63 |  | G-8" Dia Gas Pipe 90 Deg Elbow | 28 | 0% | 28 | EA | 216 | 6048 | 2.5 | 70 | 40 | 2800 | 8848
64 |  | HW-1" Dia Hot Water Pipe 90 Deg Elbow | 30 | 0% | 30 | EA | 75 | 2250 | 0.8 | 24 | 40 | 960 | 3210
65 |  | HW-1/2" Dia Hot Water Pipe 90 Deg Elbow | 129 | 0% | 129 | EA | 32 | 4128 | 0.35 | 45.15 | 40 | 1806 | 5934
66 |  | HW-1-1/2" Dia Hot Water Pipe 90 Deg Elbow | 148 | 0% | 148 | EA | 108 | 15984 | 1 | 148 | 40 | 5920 | 21904
67 |  | HW-3/4" Dia Hot Water Pipe 90 Deg Elbow | 75 | 0% | 75 | EA | 59 | 4425 | 0.55 | 41.25 | 40 | 1650 | 6075
68 |  | ORD-10" Dia Overflow Drain 45 Deg Elbow | 17 | 0% | 17 | EA | 228 | 3876 | 2.8 | 47.6 | 40 | 1904 | 5780
69 |  | ORD-12" Dia Overflow Drain 45 Deg Elbow | 32 | 0% | 32 | EA | 254 | 8128 | 3 | 96 | 40 | 3840 | 11968
70 |  | ORD-15" Dia Overflow Drain 45 Deg Elbow | 170 | 0% | 170 | EA | 290 | 49300 | 3.2 | 544 | 40 | 21760 | 71060
71 |  | ORD-6" Dia Overflow Drain 45 Deg Elbow | 67 | 0% | 67 | EA | 195 | 13065 | 1.85 | 123.95 | 40 | 4958 | 18023
72 |  | ORD-8" Dia Overflow Drain 45 Deg Elbow | 14 | 0% | 14 | EA | 216 | 3024 | 2 | 28 | 40 | 1120 | 4144
73 |  | RWL-10" Dia Rain Leader Pipe 45 Deg Elbow | 16 | 0% | 16 | EA | 228 | 3648 | 2.8 | 44.8 | 40 | 1792 | 5440
74 |  | RWL-12" Dia Rain Leader Pipe 45 Deg Elbow | 83 | 0% | 83 | EA | 254 | 21082 | 3 | 249 | 40 | 9960 | 31042
75 |  | RWL-15" Dia Rain Leader Pipe 45 Deg Elbow | 167 | 0% | 167 | EA | 290 | 48430 | 3.2 | 534.4 | 40 | 21376 | 69806
76 |  | RWL-6" Dia Rain Leader Pipe 45 Deg Elbow | 32 | 0% | 32 | EA | 195 | 6240 | 1.85 | 59.2 | 40 | 2368 | 8608
77 |  | RWL-8" Dia Rain Leader Pipe 45 Deg Elbow | 52 | 0% | 52 | EA | 216 | 11232 | 2 | 104 | 40 | 4160 | 15392
78 |  | S-1-1/2" Dia Sanitary Pipe 45 Deg Elbow | 15 | 0% | 15 | EA | 95 | 1425 | 1 | 15 | 40 | 600 | 2025
79 |  | S-2" Dia Sanitary Pipe 45 Deg Elbow | 4 | 0% | 4 | EA | 124 | 496 | 1.2 | 4.8 | 40 | 192 | 688
80 |  | S-3" Dia Sanitary Pipe 45 Deg Elbow | 77 | 0% | 77 | EA | 152 | 11704 | 1.4 | 107.8 | 40 | 4312 | 16016
81 |  | S-4" Dia Sanitary Pipe 45 Deg Elbow | 230 | 0% | 230 | EA | 178 | 40940 | 1.6 | 368 | 40 | 14720 | 55660
82 |  | S-6" Dia Sanitary Pipe 45 Deg Elbow | 65 | 0% | 65 | EA | 200 | 13000 | 1.8 | 117 | 40 | 4680 | 17680
83 |  | SV-2" Dia Sanitary Vent Pipe 45 Deg Elbow | 23 | 0% | 23 | EA | 124 | 2852 | 1.2 | 27.6 | 40 | 1104 | 3956
84 |  | SV-3" Dia Sanitary Vent Pipe 45 Deg Elbow | 388 | 0% | 388 | EA | 152 | 58976 | 1.4 | 543.2 | 40 | 21728 | 80704
85 |  | CW-1" Dia Cold Water Pipe Tee | 25 | 0% | 25 | EA | 78 | 1950 | 0.8 | 20 | 40 | 800 | 2750
86 |  | CW-1/2" Dia Cold Water Pipe Tee | 12 | 0% | 12 | EA | 35 | 420 | 0.35 | 4.2 | 40 | 168 | 588
87 |  | CW-1-1/2" Dia Cold Water Pipe Tee | 39 | 0% | 39 | EA | 112 | 4368 | 1 | 39 | 40 | 1560 | 5928
88 |  | CW-2" Dia Cold Water Pipe Tee | 33 | 0% | 33 | EA | 124 | 4092 | 1.2 | 39.6 | 40 | 1584 | 5676
89 |  | CW-2-1/2" Dia Cold Water Pipe Tee | 6 | 0% | 6 | EA | 134 | 804 | 1.25 | 7.5 | 40 | 300 | 1104
90 |  | CW-3" Dia Cold Water Pipe Tee | 22 | 0% | 22 | EA | 159 | 3498 | 1.5 | 33 | 40 | 1320 | 4818
91 |  | CW-3/4" Dia Cold Water Pipe Tee | 12 | 0% | 12 | EA | 62 | 744 | 0.55 | 6.6 | 40 | 264 | 1008
92 |  | CW-4" Dia Cold Water Pipe Tee | 32 | 0% | 32 | EA | 194 | 6208 | 1.8 | 57.6 | 40 | 2304 | 8512
93 |  | CW-6" Dia Cold Water Pipe Tee | 16 | 0% | 16 | EA | 220 | 3520 | 2 | 32 | 40 | 1280 | 4800
94 |  | G-1" Dia Gas Pipe Tee | 4 | 0% | 4 | EA | 85 | 340 | 0.9 | 3.6 | 40 | 144 | 484
95 |  | G-10" Dia Gas Pipe Tee | 12 | 0% | 12 | EA | 304 | 3648 | 3.2 | 38.4 | 40 | 1536 | 5184
96 |  | G-1-1/2" Dia Gas Pipe Tee | 48 | 0% | 48 | EA | 98 | 4704 | 1 | 48 | 40 | 1920 | 6624
97 |  | G-2" Dia Gas Pipe Tee | 49 | 0% | 49 | EA | 125 | 6125 | 1.25 | 61.25 | 40 | 2450 | 8575
98 |  | G-3" Dia Gas Pipe Tee | 5 | 0% | 5 | EA | 157 | 785 | 1.5 | 7.5 | 40 | 300 | 1085
99 |  | G-4" Dia Gas Pipe Tee | 8 | 0% | 8 | EA | 184 | 1472 | 1.8 | 14.4 | 40 | 576 | 2048
100 |  | G-6" Dia Gas Pipe Tee | 22 | 0% | 22 | EA | 206 | 4532 | 2 | 44 | 40 | 1760 | 6292
101 |  | G-8" Dia Gas Pipe Tee | 3 | 0% | 3 | EA | 235 | 705 | 2.2 | 6.6 | 40 | 264 | 969
102 |  | HW-1" Dia Hot Water Pipe Tee | 4 | 0% | 4 | EA | 78 | 312 | 0.8 | 3.2 | 40 | 128 | 440
103 |  | HW-1/2" Dia Hot Water Pipe Tee | 12 | 0% | 12 | EA | 35 | 420 | 0.35 | 4.2 | 40 | 168 | 588
104 |  | HW-1-1/2" Dia Hot Water Pipe Tee | 14 | 0% | 14 | EA | 112 | 1568 | 1 | 14 | 40 | 560 | 2128
105 |  | HW-3/4" Dia Hot Water Pipe Tee | 80 | 0% | 80 | EA | 62 | 4960 | 0.55 | 44 | 40 | 1760 | 6720
106 |  | ORD-10" Dia Overflow Drain Wye | 12 | 0% | 12 | EA | 268 | 3216 | 2.5 | 30 | 40 | 1200 | 4416
107 |  | ORD-12" Dia Overflow Drain Wye | 3 | 0% | 3 | EA | 290 | 870 | 2.8 | 8.4 | 40 | 336 | 1206
108 |  | ORD-15" Dia Overflow Drain Wye | 17 | 0% | 17 | EA | 324 | 5508 | 3 | 51 | 40 | 2040 | 7548
109 |  | ORD-6" Dia Overflow Drain Wye | 6 | 0% | 6 | EA | 215 | 1290 | 1.85 | 11.1 | 40 | 444 | 1734
110 |  | ORD-8" Dia Overflow Drain Wye | 12 | 0% | 12 | EA | 242 | 2904 | 2 | 24 | 40 | 960 | 3864
111 |  | RWL-10" Dia Rain Leader Pipe Wye | 6 | 0% | 6 | EA | 268 | 1608 | 2.5 | 15 | 40 | 600 | 2208
112 |  | RWL-12" Dia Rain Leader Pipe Wye | 8 | 0% | 8 | EA | 290 | 2320 | 2.8 | 22.4 | 40 | 896 | 3216
113 |  | RWL-15" Dia Rain Leader Pipe Wye | 16 | 0% | 16 | EA | 324 | 5184 | 3 | 48 | 40 | 1920 | 7104
114 |  | RWL-6" Dia Rain Leader Pipe Wye | 3 | 0% | 3 | EA | 215 | 645 | 1.85 | 5.55 | 40 | 222 | 867
115 |  | RWL-8" Dia Rain Leader Pipe Wye | 5 | 0% | 5 | EA | 242 | 1210 | 2 | 10 | 40 | 400 | 1610
116 |  | S-1-1/2" Dia Sanitary Pipe Wye | 6 | 0% | 6 | EA | 106 | 636 | 1 | 6 | 40 | 240 | 876
117 |  | S-2" Dia Sanitary Pipe Wye | 6 | 0% | 6 | EA | 125 | 750 | 1.25 | 7.5 | 40 | 300 | 1050
118 |  | S-3" Dia Sanitary Pipe Wye | 7 | 0% | 7 | EA | 150 | 1050 | 1.5 | 10.5 | 40 | 420 | 1470
119 |  | S-4" Dia Sanitary Pipe Wye | 23 | 0% | 23 | EA | 194 | 4462 | 1.8 | 41.4 | 40 | 1656 | 6118
120 |  | S-6" Dia Sanitary Pipe Wye | 6 | 0% | 6 | EA | 230 | 1380 | 2 | 12 | 40 | 480 | 1860
121 |  | SV-2" Dia Sanitary Vent Pipe Wye | 2 | 0% | 2 | EA | 125 | 250 | 1.25 | 2.5 | 40 | 100 | 350
122 |  | SV-3" Dia Sanitary Vent Pipe Wye | 38 | 0% | 38 | EA | 150 | 5700 | 1.5 | 57 | 40 | 2280 | 7980
123 |  | HW-1"/1/2" Dia Hot Water Pipe Reducer | 2 | 0% | 2 | EA | 114 | 228 | 0.95 | 1.9 | 40 | 76 | 304
124 |  | HW-1-1/2"/1" Dia Hot Water Pipe Reducer | 2 | 0% | 2 | EA | 136 | 272 | 0.95 | 1.9 | 40 | 76 | 348
125 |  | HW-3/4"/1/2" Dia Hot Water Pipe Reducer | 3 | 0% | 3 | EA | 78 | 234 | 0.7 | 2.1 | 40 | 84 | 318
126 |  | ORD-12"/10" Dia Overflow Drain Reducer | 2 | 0% | 2 | EA | 325 | 650 | 2.8 | 5.6 | 40 | 224 | 874
127 |  | ORD-15"/12" Dia Overflow Drain Reducer | 4 | 0% | 4 | EA | 360 | 1440 | 3 | 12 | 40 | 480 | 1920
128 |  | ORD-8"/6" Dia Overflow Drain Reducer | 3 | 0% | 3 | EA | 224 | 672 | 2.2 | 6.6 | 40 | 264 | 936
129 |  | RWL-12"/10" Dia Rain Leader Pipe Reducer | 2 | 0% | 2 | EA | 325 | 650 | 2.8 | 5.6 | 40 | 224 | 874
130 |  | RWL-15"/12" Dia Rain Leader Pipe Reducer | 3 | 0% | 3 | EA | 360 | 1080 | 3 | 9 | 40 | 360 | 1440
131 |  | RWL-8"/6" Dia Rain Leader Pipe Reducer | 3 | 0% | 3 | EA | 224 | 672 | 2.2 | 6.6 | 40 | 264 | 936
132 |  | S-2"/1-1/2" Dia Sanitary Pipe Reducer | 2 | 0% | 2 | EA | 146 | 292 | 1.45 | 2.9 | 40 | 116 | 408
133 |  | S-3"/2" Dia Sanitary Pipe Reducer | 3 | 0% | 3 | EA | 168 | 504 | 1.75 | 5.25 | 40 | 210 | 714
134 |  | S-4"/3" Dia Sanitary Pipe Reducer | 4 | 0% | 4 | EA | 195 | 780 | 2 | 8 | 40 | 320 | 1100
135 |  | S-6"/2" Dia Sanitary Pipe Wye | 2 | 0% | 2 | EA | 210 | 420 | 2.2 | 4.4 | 40 | 176 | 596
136 |  | SV-3"/2" Dia Sanitary Vent Pipe Reducer | 4 | 0% | 4 | EA | 168 | 672 | 1.75 | 7 | 40 | 280 | 952
PLUMBING EQUIPMENTS
137 |  | BP-1, Booster Pump, Tigerflow, VMS-VFD-NSF, 550GPM, 480/3/60Hz | 1 | 0% | 1 | EA | 6500 | 6500 | 18 | 18 | 40 | 720 | 7220
138 |  | EMS-1, Emergency Shower, Bradley, S19-224, Provide W/ Fixtures | 6 | 0% | 6 | EA | 1850 | 11100 | 5 | 30 | 40 | 1200 | 12300
139 |  | PF-P-9, Drinking Fountain | 16 | 0% | 16 | EA | 2680 | 42880 | 8 | 128 | 40 | 5120 | 48000
PLUMBING FIXTURES
140 |  | PF-P-1, Water Closet | 40 | 0% | 40 | EA | 790 | 31600 | 4 | 160 | 40 | 6400 | 38000
141 |  | PF-P-2, Water Closet Wall Hung | 45 | 0% | 45 | EA | 790 | 35550 | 4 | 180 | 40 | 7200 | 42750
142 |  | PF-P-4, Water Closet Wall Hung | 16 | 0% | 16 | EA | 790 | 12640 | 4 | 64 | 40 | 2560 | 15200
143 |  | PF-P-5, Urinal | 2 | 0% | 2 | EA | 925 | 1850 | 5 | 10 | 40 | 400 | 2250
144 |  | PF-P-6, Lavatory | 4 | 0% | 4 | EA | 645 | 2580 | 3 | 12 | 40 | 480 | 3060
145 |  | PF-P-7, Lavatory Wall Hung | 104 | 0% | 104 | EA | 645 | 67080 | 3 | 312 | 40 | 12480 | 79560
146 |  | PF-P-10, Sink Double Compartment | 5 | 0% | 5 | EA | 775 | 3875 | 3.8 | 19 | 40 | 760 | 4635
147 |  | PF-P-12, Janitors Sink | 8 | 0% | 8 | EA | 620 | 4960 | 3 | 24 | 40 | 960 | 5920
148 |  | PF-P-13, Floor Drain | 1 | 0% | 1 | EA | 380 | 380 | 1.5 | 1.5 | 40 | 60 | 440
149 |  | PF-P-17, Roof Drain | 59 | 0% | 59 | EA | 380 | 22420 | 1.5 | 88.5 | 40 | 3540 | 25960
150 |  | PF-P-18, Roof Drain | 61 | 0% | 61 | EA | 380 | 23180 | 1.5 | 91.5 | 40 | 3660 | 26840
151 |  | PF-WH-1, Instant Water heater, EEMAX,SPEX80TML,29A, 277V | 5 | 0% | 5 | EA | 2980 | 14900 | 10 | 50 | 40 | 2000 | 16900
152 |  | WH-3, Lochinvar, LDT-120-XR, 119 | 8 | 0% | 8 | EA | 2980 | 23840 | 10 | 80 | 40 | 3200 | 27040
153 |  | PF-WH-4, Instant Water heater, EEMAX,SPEX80TML,29A, 277V, Intel Hot, 1N501, Tankless | 6 | 0% | 6 | EA | 2980 | 17880 | 10 | 60 | 40 | 2400 | 20280
154 |  | Wall Hydrant | 2 | 0% | 2 | EA | 300 | 600 | 1.5 | 3 | 40 | 120 | 720
155 |  | 3" VTR,Vent Tru Roof | 18 | 0% | 18 | EA | 104 | 1872 | 1 | 18 | 40 | 720 | 2592
156 |  | 4" VTR,Vent Tru Roof | 2 | 0% | 2 | EA | 132 | 264 | 1.25 | 2.5 | 40 | 100 | 364
SUB TOTAL | [14 empty] | 3709569.9628
OVERHEAD |  |  | 7% | [11 empty] | 259669.8974
PROFIT |  |  | 15% | [11 empty] | 556435.4944
INSURANCE |  |  | 0% | [11 empty] | 0
CONTINGENCY |  |  | 1% | [11 empty] | 37095.6996
NET TOTAL | [14 empty] | 4562771.0542