## TAKEOFF
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | UNIT MATERIAL COST | TOTAL LABOR COST | TOTAL MATERIAL COST | TOTAL COST
|  | 10000 | DIVISION 01-GENERAL REQUIREMENTS
1 | See Spec. |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Office overheads | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Project Closeouts | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Submittal and approval | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 30000 | CONCRETE
FOUNDATION
8 | FO-101 |  | Mat Slab Concrete Turn Down [1'-6" Wide x 1'-6" Deep] - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Bottom - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Top | 1.9167 | 10% | 2.1083 | CY |  |  | 0 | 0 | 0
9 | FO-101 |  | Mat Slab Concrete Turn Down [1'-6" Wide x 2'-0" Deep] - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Bottom - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Top | 5.1111 | 10% | 5.6222 | CY |  |  | 0 | 0 | 0
10 | FO-101 |  | Pad Footing [9'-0" Wide x 6'-0" Length x 1'-0" Deep] [1 Each] - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Bottom - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Top | 2 | 10% | 2.2 | CY |  |  | 0 | 0 | 0
11 | FO-101 |  | Wall Footing WF-1: [2'-0" Wide x 8" Deep] -Reinforce With 2#5 Bar Long Way & #5 Bar@ 12" Short Way @ Bottom | 2.1022 | 10% | 2.3124 | CY |  |  | 0 | 0 | 0
12 | FO-101 |  | Concrete Grade Beam: (2'-0" Wide x 4'-0" Deep) - Reinforce With 7#6 Bar Cont. With #3 Bar Stirrups | 15.1111 | 10% | 16.6222 | CY |  |  | 0 | 0 | 0
SLAB
13 | S-101-S-104 |  | M-18: 18" Thick Concrete Slab - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Bottom - Reinforce With #6 Bar @ 12" Long Way & #6 Bar @ 12" Short Way @ Top | 91.6667 | 10% | 100.8333 | CY |  |  | 0 | 0 | 0
14 | S-101-S-104 |  | S-8: 8" Thick Concrete Slab - Reinforce With #5 Bar @ 12" O.C .E.W | 56.2222 | 10% | 61.8444 | CY |  |  | 0 | 0 | 0
15 | S-101-S-104 |  | S.O.G: 5" Thick Concrete Slab -(Reinforce With 6"x6" W2.1xW2.1 W.W.R - 10 Mil Polyethylene Vapor Barrier -6" Gravel or Stone | 10.7037 | 10% | 11.7741 | CY |  |  | 0 | 0 | 0
16 | S-101-S-104 |  | Provide 8" Wide x 4" Deep Trench in Slab | 20 | 10% | 22 | LF |  |  | 0 | 0 | 0
17 | S-101-S-104 |  | Additional Reinforcement Bar in Slab (#5 Bar) | 45 | 10% | 49.5 | LF |  |  | 0 | 0 | 0
18 | S-101-S-104 |  | Additional Reinforcement Bar in Slab (#6 Bar) | 85 | 10% | 93.5 | LF |  |  | 0 | 0 | 0
CONCRETE PIER
19 | FO-101 |  | Concrete Pier P-1: (No Details) | 2 | 10% | 2.2 | EA |  |  | 0 | 0 | 0
CONCRETE BEAM
20 | S-101-S-104 |  | CB-1: Concrete Beam (10" Wide x 16" Deep) -Reinforce With (3-#6 Bottom Bars, 2-#6 Top Bars, #3 Bar Stirrups @ 6" O.C) | 7.0323 | 10% | 7.7355 | CY |  |  | 0 | 0 | 0
21 | S-101-S-104 |  | CB-1A: Concrete Beam (10" Wide x 16" Deep) -Reinforce With (4-#6 Bottom Bars, 4-#6 Top Bars, #3 Bar Stirrups @ 3" O.C) | 3.6797 | 10% | 4.0476 | CY |  |  | 0 | 0 | 0
22 | S-101-S-104 |  | CB-2: Concrete Beam (10" Wide x 24" Deep) -Reinforce With (3-#6 Bottom Bars, 4-#6 Top Bars, #3 Bar Stirrups @ 6" O.C) | 4.7341 | 10% | 5.2075 | CY |  |  | 0 | 0 | 0
23 | S-101-S-104 |  | CB-3: Concrete Beam (14" Wide x 32" Deep) -Reinforce With (5-#6 Bottom Bars, 5-#6 Top Bars, #3 Bar Stirrups @ 9" O.C) | 4.2284 | 10% | 4.6513 | CY |  |  | 0 | 0 | 0
24 | S-101-S-104 |  | CB-4: Concrete Beam (8" Wide x 12" Deep) -Reinforce With (2-#6 Bottom Bars, 2-#6 Top Bars, #3 Bar Stirrups @ 6" O.C) | 0.31778 | 10% | 0.34956 | CY |  |  | 0 | 0 | 0
25 | S-101-S-104 |  | CB-5: Concrete Beam (14" Wide x 14" Deep) -Reinforce With (4-#6 Bottom Bars, 3-#6 Top Bars, #3 Bar Stirrups @ 10" O.C) | 2.8171 | 10% | 3.0989 | CY |  |  | 0 | 0 | 0
26 | S-101-S-104 |  | CB-6: Concrete Beam (8" Wide x 16" Deep) -Reinforce With (3-#6 Bottom Bars, 3-#6 Top Bars, #3 Bar Stirrups @ 8" O.C) | 3.1536 | 10% | 3.4689 | CY |  |  | 0 | 0 | 0
27 | S-101-S-104 |  | CB-7: Concrete Beam (10" Wide x 14" Deep) -Reinforce With (3-#6 Bottom Bars, 3-#6 Top Bars, #3 Bar Stirrups @ 3" O.C) | 0.12266 | 10% | 0.13492 | CY |  |  | 0 | 0 | 0
COLUMN
28 | S-601 |  | Concrete Column (10"x10") [9'-0" Height] [15 Each] -Reinforce With (4-#6 Bar Vert) | 3.4445 | 10% | 3.7889 | CY |  |  | 0 | 0 | 0
29 | S-601 |  | Concrete Column (10"x10") [10'-0" Height] [18 Each] --Reinforce With (4-#6 Bar Vert) | 2.5515 | 10% | 2.8066 | CY |  |  | 0 | 0 | 0
30 | S-601 |  | Concrete Column (10"x10") [9'-3" Height] [12 Each] -Reinforce With (4-#6 Bar Vert) | 2.8321 | 10% | 3.1154 | CY |  |  | 0 | 0 | 0
31 | S-601 |  | Concrete Column (20"x10") [9'-0" Height] [2 Each] -Reinforce With (8-#6 Bar Vert) | 0.91853 | 10% | 1.0104 | CY |  |  | 0 | 0 | 0
32 | S-601 |  | Concrete Column (20"x10") [10'-0" Height] [2 Each] -Reinforce With (8-#6 Bar Vert) | 1.0206 | 10% | 1.1227 | CY |  |  | 0 | 0 | 0
WALLS
33 | FO-101 |  | Wall Type W8: 8" Thick Concrete Wall [7'-5" Height] -Vertical Reinforce With #5 @ 12" O.C -Horizontal Reinforce With #3 @ 12" O.C | 13.8889 | 10% | 15.2778 | CY |  |  | 0 | 0 | 0
34 | FO-101 |  | Wall Type W10: 10" Thick Concrete Wall [8'-8" Height] -Vertical Reinforce With #5 @ 12" O.C.E.A Face -Horizontal Reinforce With #3 @ 12" O.C E.A Face | 57.037 | 10% | 62.7407 | CY |  |  | 0 | 0 | 0
35 | FO-101 |  | 1'-7" Wide Cast in Concrete Bench Attach to Wall | 30 | 10% | 33 | LF |  |  | 0 | 0 | 0
CONCRETE STAIR
36 | FO-101 |  | 6" Thick Concrete Slab Under Stair -Reinforce With #4 Bar 7" O.C | 1.8519 | 10% | 2.037 | CY |  |  | 0 | 0 | 0
37 | FO-101 |  | Concrete Steps (8" Riser x 10" Treads x 36" Length) | 9 | 0% | 9 | EA |  |  | 0 | 0 | 0
38 | FO-101 |  | Concrete Steps (7" Riser x 11" Treads x 60" Length) | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 4 | MASONRY
| S-101-S-104 |  | CMU WALL
39 |  |  | MW6: 6" Thick CMU Wall (2000 PSI) [10'-0" Height] -Reinforce With #6 Bar @ 8" O.C Vertical -Reinforce With 9 Gage Ladder Reinforce 16" O.C | 4895 | 10% | 5384.5 | SF |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 5 | METAL
COLUMN
40 | S-101-S-104 |  | HSS 12x8x3/8 Column | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
41 | S-101-S-104 |  | HSS 18x6x3/8 Column | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
42 | S-101-S-104 |  | HSS 6x6x3/8 Column | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
43 | S-101-S-104 |  | HSS 6x6x3/8 Column | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
44 | S-101-S-104 |  | HSS 6x6x3/8 Column | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
45 | S-101-S-104 |  | HSS 6x6x3/8 Column | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
BEAM
46 | S-101-S-104 |  | HSS6x6x3/8 | 65 | 10% | 71.5 | LF |  |  | 0 | 0 | 0
JOIST
47 | S-101-S-104 |  | 6" 16 GA CFM Joist @ 16" (6J by Marino/Ware) | 110 | 10% | 121 | SF |  |  | 0 | 0 | 0
STAIR & RAILING
48 | A-101.00/A-104.00 |  | 42" High Guard Railing | 70 | 10% | 77 | LF |  |  | 0 | 0 | 0
49 | A-101.00/A-104.00 |  | Stair Hand Railing | 85 | 10% | 93.5 | LF |  |  | 0 | 0 | 0
50 | A-101.00/A-104.00 |  | Fixed Ladder to Wall For FDNY Access | 9 | 0% | 9 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 6 | WOOD , PLASTICS & COMPOSITES
| A-101.00/A-104.00 |  | ROUGH CARPENTRY
51 |  |  | Allowance For Rough Carpentry | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0
MILLWORK
52 |  |  | 16" Deep Closet [84" High] | 6 | 10% | 6.6 | LF |  |  | 0 | 0 | 0
53 |  |  | 18" Deep Closet [60" High] | 13 | 10% | 14.3 | LF |  |  | 0 | 0 | 0
54 |  |  | 24" Deep Closet [84" High] | 28 | 10% | 30.8 | LF |  |  | 0 | 0 | 0
55 |  |  | 38" Deep Closet [84" High] | 7 | 10% | 7.7 | LF |  |  | 0 | 0 | 0
56 |  |  | 24" Deep Closet [92" High] | 21 | 10% | 23.1 | LF |  |  | 0 | 0 | 0
57 |  |  | 24" Deep x 34" High Base Cabinets | 13 | 10% | 14.3 | LF |  |  | 0 | 0 | 0
58 |  |  | 30" Deep x 34" High Base Cabinets | 13 | 10% | 14.3 | LF |  |  | 0 | 0 | 0
59 |  |  | 24" Deep x 40" High Wall Cabinets | 7 | 10% | 7.7 | LF |  |  | 0 | 0 | 0
60 |  |  | 24" Deep x 60" High Wall Cabinets | 5 | 10% | 5.5 | LF |  |  | 0 | 0 | 0
61 |  |  | 24" Deep x 124" High Storage Cabinets | 3 | 10% | 3.3 | LF |  |  | 0 | 0 | 0
62 |  |  | 18" Deep x 33" High Base Cabinet | 21 | 10% | 23.1 | LF |  |  | 0 | 0 | 0
63 |  |  | 18" Deep Wooden Built in Bench | 26 | 10% | 28.6 | LF |  |  | 0 | 0 | 0
64 |  |  | Buti in Cabinet (49.5" x 18"x 21.25") | 4 | 10% | 4.4 | EA |  |  | 0 | 0 | 0
65 |  |  | SS-2: 1'-6" Wide Solid Surface Countertop - White | 21 | 10% | 23.1 | LF |  |  | 0 | 0 | 0
66 |  |  | SS-1: 2'-0" Wide Solid Surface Countertop - Grey | 13 | 10% | 14.3 | LF |  |  | 0 | 0 | 0
67 |  |  | SS-1: 2'-6" Wide Solid Surface Countertop - Grey | 13 | 10% | 14.3 | LF |  |  | 0 | 0 | 0
STAIR & GUARDRAIL
68 |  |  | Wooden Stair Steps [8" Riser x 10'-1/2" Treads x 36" Length) | 32 | 0% | 32 | EA |  |  | 0 | 0 | 0
69 |  |  | 1/2" Steel Plate on Treads (11-1/2" Treads x 3-1/2" Front Insert) | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0
70 |  |  | Wood Stair Stringer | 75 | 10% | 82.5 | LF |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 7 | THERMAL & MOISTURE PROTECTION
| A-104.00 |  | ROOF
71 |  |  | RT-1: Roofing -WP-01: SBS Modified Bituminous Membrane -IN-01: R-49 Polios Foam Board Insulation -7-1/2" Rigid Insulation -1" Ply Modified Bitumen Membrane As Vapor Retarder | 315 | 10% | 346.5 | SF |  |  | 0 | 0 | 0
72 |  |  | RT-2: Roofing -WP-01: SBS Modified Bituminous Membrane -IN-01: R-49 Polios Foam Board Insulation - 5/8" Plywood Sheathing -IN-06: R-18 Dense Pack Cellulose - 6" Metal Joist | 215 | 10% | 236.5 | SF |  |  | 0 | 0 | 0
73 |  |  | RT-3: Roofing - 1" Concrete Paver on 3" Adjustable Pedestal - 1/2" Roofing Protection Board -WP-01: SBS Modified Bituminous Membrane -IN-01: R-49 Polios Foam Board Insulation -7-1/2" Rigid Insulation - Drainage Mat | 465 | 10% | 511.5 | SF |  |  | 0 | 0 | 0
74 |  |  | RT-4: Roofing -Soil or Gravel Mix -Filter Fabric -1/2" Roofing Protection Board -WP-01: SBS Modified Bituminous Membrane -IN-01: R-49 Polios Foam Board Insulation -7-1/2" Rigid Insulation - Drainage Mat -Root Barrier | 55 | 10% | 60.5 | SF |  |  | 0 | 0 | 0
75 |  |  | ST-2: Overhang Slab -13/16" Warm board R-Radiant Panel (4'-0"x8'-0") -WP-02: 1 Ply Modified Membrane Vapor Barrier -IN-03: R-30 XPS (Extruded Polystyrene) Rigid Insulation | 585 | 10% | 643.5 | SF |  |  | 0 | 0 | 0
76 |  |  | ST-4: Courtyard Deck -1" Concrete Paver on 3" Adjustable Pedestal IN-03: R-10 XPS (Extruded Polystyrene) Rigid Insulation | 45 | 10% | 49.5 | SF |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 8 | OPENING
DOORS & FRAMES
77 | A-600.00 |  | Door Type D1: Metal Doors & Frame To Be Painted, Size: 2'-9" x 7'-0" Height | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
78 | A-600.00 |  | Door Type D2: Wood Door With EZJAMB Frame, Size: 2'-7" x 7'-0" | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
79 | A-600.00 |  | Door Type D2: Wood Door With EZJAMB Frame, Size: 2'-7" x 7'-6" | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
80 | A-600.00 |  | Door Type D3: Metal Doors & Frame To Be Painted, Size: 5'-7" x 7'-6" Height | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
81 | A-600.00 |  | Door Type D4: Corten Steel Door With Metal Frame, Size: 8'-7" x 7'-6" Height] | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
82 | A-600.00 |  | Door Type D5: Metal Doors With Wood Frame, Size: 3'-11" x 7'-8" | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
83 | A-600.00 |  | Door Type D5: Wood Doors With Wood Frame, Size: 3'-0" x 7'-6" | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
84 | A-600.00 |  | Door Type D5: Wood Doors With Wood Frame, Size: 3'-7" x 7'-0" | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
85 | A-610 |  | (4'-2-5/8"x10'-7") Glass Swing Out Door | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
WINDOWS
86 | A-610 |  | (3'-9"x12'-7-1/2") Fixed , Reynaers Window | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
87 | A-610 |  | (3'-0"x4'-11-1/2") Fixed , Reynaers Window | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
88 | A-610 |  | (0'-8-1/2"x7'-6") Fixed , Reynaers Window | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
89 | A-610 |  | (4'-10"x6'-0") Operable Tilt/Turn, Reynaers Window | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
90 | A-610 |  | (5'-9"x4'-11-1/2") Operable Tilt/Turn, Reynaers Window | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
91 | A-610 |  | (4'-9-1/2"x4'-6") Operable Tilt/Turn, Reynaers Window | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
92 | A-610 |  | (3'-6"x5'-1-1/2") Operable Tilt/Turn, Reynaers Window | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
93 | A-610 |  | (6'-2"x5'-7") Operable Tilt/Turn, Reynaers Window | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
94 | A-610 |  | (8'-0"x20'-8") Fixed, Vitrocsa Modular , Required Imported Glass | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
95 | A-610 |  | (7'-8"x10'-7") Fixed, Vitrocsa Modular + | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
96 | A-610 |  | (2'-3-1/2"x4'-8") Fixed, Vitrocsa Modular + | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
97 | A-610 |  | (8'-0"x10'-7") Sliding Panel, Vitrocsa Modular +, 4x4 Track System | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
98 | A-610 |  | (6'-9-1/2"x6'-8-1/2") Fixed, Vitrocsa Modular | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
99 | A-610 |  | (4'-9-3/4"x9'-2") Sliding Panel, Vitrocsa Modular | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
100 | A-610 |  | (4'-9-3/4"x9'-2") Fixed, Vitrocsa Modular | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
101 | A-610 |  | (7'-5-1/4"x9'-2") Sliding Panel, Vitrocsa Modular | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
102 | A-610 |  | (10'-1-3/8"x9'-2") Fixed, Vitrocsa Modular | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
SKYLIGHT
103 | A-610 |  | (3'-3"x5'-7") Skylight Rectangular Lemieux | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
104 | A-610 |  | (6'-0"x9'-2") Skylight Rectangular | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
105 | A-610 |  | (13'-6-1/2" Lower Side x 14'-5-1/2" Upper Side x3'-0-3/4" One Side x 9'-6" Other Side) Skylight Trapezoid Lemieux | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
STAIR LANDING
106 | A-610 |  | 3 Layers Laminated Glass Landing [3'-0" Wide x 7'-0" Length] | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
FINISH HARDWARE
107 | A-610 |  | Hardware Set | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 9 | FINISHES
DRYWALL
| A-101.00/A-104.00 |  | WALL TYPE W-1: [10'-0" Height]
108 |  |  | IN-02: R-15 3" XPS Extruded Polystyrene Rigid Insulation | 870 | 10% | 957 | SF |  |  | 0 | 0 | 0
109 |  |  | WP-05: Blindside Sheet Membrane Waterproofing | 870 | 10% | 957 | SF |  |  | 0 | 0 | 0
WALL TYPE W-3: [10'-0" Height]
110 |  |  | 1 Layer Of Gypsum Board On One Side | 1550 | 10% | 1705 | SF |  |  | 0 | 0 | 0
111 |  |  | 1-5/8" Metal Studs @ 16" O.C | 1550 | 10% | 1705 | SF |  |  | 0 | 0 | 0
112 |  |  | IN-02: R-20 4" XPS Extruded Polystyrene Rigid Insulation | 1550 | 10% | 1705 | SF |  |  | 0 | 0 | 0
113 |  |  | WP-02: 1 Ply Modified Membrane Vapor Barrier | 1550 | 10% | 1705 | SF |  |  | 0 | 0 | 0
114 |  |  | Sealant | 310 | 10% | 341 | LF |  |  | 0 | 0 | 0
WALL TYPE W-5: [10'-0" Height]
115 |  |  | 1 Layer Of Gypsum Board On One Side | 1200 | 10% | 1320 | SF |  |  | 0 | 0 | 0
116 |  |  | 1-5/8" Metal Studs @ 16" O.C | 1200 | 10% | 1320 | SF |  |  | 0 | 0 | 0
117 |  |  | R-22.83 (6-1/4" Proguard DP Panels) (6" EPS FOAM Insulation | 1200 | 10% | 1320 | SF |  |  | 0 | 0 | 0
118 |  |  | WP-02: 1 Ply Modified Membrane Vapor Barrier | 1200 | 10% | 1320 | SF |  |  | 0 | 0 | 0
119 |  |  | Sealant | 240 | 10% | 264 | LF |  |  | 0 | 0 | 0
WALL TYPE W-6: [2'-0" Height]
120 |  |  | 1 Layer Of Gypsum Board On One Side | 80 | 10% | 88 | SF |  |  | 0 | 0 | 0
121 |  |  | 1-5/8" Metal Studs @ 16" O.C | 80 | 10% | 88 | SF |  |  | 0 | 0 | 0
122 |  |  | IN-02: R-20 4" XPS Extruded Polystyrene Rigid Insulation | 80 | 10% | 88 | SF |  |  | 0 | 0 | 0
123 |  |  | WP-02: 1 Ply Modified Membrane Vapor Barrier | 80 | 10% | 88 | SF |  |  | 0 | 0 | 0
124 |  |  | WP-04: Liquid Applied Vapor/Water Barrier | 80 | 10% | 88 | SF |  |  | 0 | 0 | 0
125 |  |  | Sealant | 80 | 10% | 88 | LF |  |  | 0 | 0 | 0
WALL TYPE W-6: [10'-0" Height]
126 |  |  | 1 Layer Of Gypsum Board On One Side | 980 | 10% | 1078 | SF |  |  | 0 | 0 | 0
127 |  |  | 1-5/8" Metal Studs @ 16" O.C | 980 | 10% | 1078 | SF |  |  | 0 | 0 | 0
128 |  |  | IN-02: R-20 4" XPS Extruded Polystyrene Rigid Insulation | 980 | 10% | 1078 | SF |  |  | 0 | 0 | 0
129 |  |  | WP-02: 1 Ply Modified Membrane Vapor Barrier | 980 | 10% | 1078 | SF |  |  | 0 | 0 | 0
130 |  |  | WP-04: Liquid Applied Vapor/Water Barrier | 980 | 10% | 1078 | SF |  |  | 0 | 0 | 0
131 |  |  | Sealant | 196 | 10% | 215.6 | LF |  |  | 0 | 0 | 0
WALL TYPE W-7: [10'-0" Height]
132 |  |  | IN-02: R-20 4" XPS Extruded Polystyrene Rigid Insulation | 140 | 10% | 154 | SF |  |  | 0 | 0 | 0
133 |  |  | WP-02: 1 Ply Modified Membrane Vapor Barrier | 140 | 10% | 154 | SF |  |  | 0 | 0 | 0
134 |  |  | WP-04: Liquid Applied Vapor/Water Barrier | 140 | 10% | 154 | SF |  |  | 0 | 0 | 0
WALL TYPE W-8: [11'-0" Height]
135 |  |  | 8x12 Steel Tube | 209 | 10% | 229.9 | SF |  |  | 0 | 0 | 0
WALL TYPE W-8: [17'-0" Height]
136 |  |  | 8x12 Steel Tube | 187 | 10% | 205.7 | SF |  |  | 0 | 0 | 0
WALL TYPE W-9: [10'-0" Height]
137 |  |  | 3/8" Corten Steel Panel on Both Sides | 360 | 10% | 396 | SF |  |  | 0 | 0 | 0
138 |  |  | 7/8" Hat Channel @ 16" O.C Max | 360 | 10% | 396 | SF |  |  | 0 | 0 | 0
139 |  |  | Sealant | 72 | 10% | 79.2 | LF |  |  | 0 | 0 | 0
WALL TYPE W-10: [10'-0" Height]
140 |  |  | 1 Layer Of Gypsum Board On One Side | 70 | 10% | 77 | SF |  |  | 0 | 0 | 0
141 |  |  | 7/8" Stucco With Self Furring Metal Lath | 70 | 10% | 77 | SF |  |  | 0 | 0 | 0
142 |  |  | WP-04: Liquid Applied Vapor/Water Barrier | 70 | 10% | 77 | SF |  |  | 0 | 0 | 0
143 |  |  | 1/4" Drainage Board | 70 | 10% | 77 | SF |  |  | 0 | 0 | 0
144 |  |  | Sealant | 28 | 10% | 30.8 | LF |  |  | 0 | 0 | 0
WALL TYPE W-11: [10'-0" Height]
145 |  |  | 1 Layer Of Gypsum Board On One Side | 280 | 10% | 308 | SF |  |  | 0 | 0 | 0
146 |  |  | 1 Layer Of Gypsum Board Type X On One Side | 280 | 10% | 308 | SF |  |  | 0 | 0 | 0
147 |  |  | IN-02: R-20 4" XPS Extruded Polystyrene Rigid Insulation | 280 | 10% | 308 | SF |  |  | 0 | 0 | 0
148 |  |  | WP-02: 1 Ply Modified Membrane Vapor Barrier | 280 | 10% | 308 | SF |  |  | 0 | 0 | 0
149 |  |  | Sealant | 112 | 10% | 123.2 | LF |  |  | 0 | 0 | 0
WALL TYPE W-12: [10'-0" Height]
150 |  |  | 6" CMU Wall | 220 | 10% | 242 | SF |  |  | 0 | 0 | 0
PARAPET WALL TYPE W-8: [4'-0" Height]
151 |  |  | 8x12 Steel Tube | 220 | 10% | 242 | SF |  |  | 0 | 0 | 0
WALL TYPE A-2: [3'-0" Height]
152 |  |  | 1 Layer Of Gypsum Board On Both Side | 114 | 10% | 125.4 | SF |  |  | 0 | 0 | 0
153 |  |  | 3-5/8" Metal Studs @ 16' O.C | 57 | 10% | 62.7 | SF |  |  | 0 | 0 | 0
154 |  |  | Semi-Rigid Sound Attenuation Blanket | 57 | 10% | 62.7 | SF |  |  | 0 | 0 | 0
155 |  |  | Top & Bottom Plate | 38 | 10% | 41.8 | LF |  |  | 0 | 0 | 0
156 |  |  | Sealant | 76 | 10% | 83.6 | LF |  |  | 0 | 0 | 0
WALL TYPE A-2: [10'-0" Height]
157 |  |  | 1 Layer Of Gypsum Board On Both Side | 1320 | 10% | 1452 | SF |  |  | 0 | 0 | 0
158 |  |  | 3-5/8" Metal Studs @ 16' O.C | 660 | 10% | 726 | SF |  |  | 0 | 0 | 0
159 |  |  | Semi-Rigid Sound Attenuation Blanket | 660 | 10% | 726 | SF |  |  | 0 | 0 | 0
160 |  |  | Top & Bottom Plate | 132 | 10% | 145.2 | LF |  |  | 0 | 0 | 0
161 |  |  | Sealant | 264 | 10% | 290.4 | LF |  |  | 0 | 0 | 0
WALL TYPE A-3: [10'-0" Height]
162 |  |  | 1 Layer Of Gypsum Board On Both Side | 340 | 10% | 374 | SF |  |  | 0 | 0 | 0
163 |  |  | 6" Metal Studs @ 16' O.C | 170 | 10% | 187 | SF |  |  | 0 | 0 | 0
164 |  |  | Semi-Rigid Sound Attenuation Blanket | 170 | 10% | 187 | SF |  |  | 0 | 0 | 0
165 |  |  | Top & Bottom Plate | 34 | 10% | 37.4 | LF |  |  | 0 | 0 | 0
166 |  |  | Sealant | 68 | 10% | 74.8 | LF |  |  | 0 | 0 | 0
WALL TYPE C-1: [10'-0" Height]
167 |  |  | 2 Layer Of Gypsum Board On Both Side | 680 | 10% | 748 | SF |  |  | 0 | 0 | 0
168 |  |  | 3-5/8" Metal Studs @ 16' O.C | 170 | 10% | 187 | SF |  |  | 0 | 0 | 0
169 |  |  | Continuous Semi-Rigid Mineral Wool Sound Attenuation Blanket | 170 | 10% | 187 | SF |  |  | 0 | 0 | 0
170 |  |  | Top & Bottom Plate | 34 | 10% | 37.4 | LF |  |  | 0 | 0 | 0
171 |  |  | Sealant | 68 | 10% | 74.8 | LF |  |  | 0 | 0 | 0
WALL TYPE F-2: [3'-0" Height]
172 |  |  | 1 Layer Of Gypsum Board On One Side | 36 | 10% | 39.6 | SF |  |  | 0 | 0 | 0
173 |  |  | 2-1/2" Metal Studs @ 16" O.C | 36 | 10% | 39.6 | SF |  |  | 0 | 0 | 0
174 |  |  | 7/8" x 25 GA Hat Channel (Vertical) @ 24" O.C | 36 | 10% | 39.6 | SF |  |  | 0 | 0 | 0
175 |  |  | Sealant | 24 | 10% | 26.4 | LF |  |  | 0 | 0 | 0
WALL TYPE F-2: [10'-0" Height]
176 |  |  | 1 Layer Of Gypsum Board On One Side | 490 | 10% | 539 | SF |  |  | 0 | 0 | 0
177 |  |  | 2-1/2" Metal Studs @ 16" O.C | 490 | 10% | 539 | SF |  |  | 0 | 0 | 0
178 |  |  | 7/8" x 25 GA Hat Channel (Vertical) @ 24" O.C | 490 | 10% | 539 | SF |  |  | 0 | 0 | 0
179 |  |  | Sealant | 98 | 10% | 107.8 | LF |  |  | 0 | 0 | 0
WALL TYPE F-3: [10'-0" Height]
180 |  |  | 1 Layer Of Gypsum Board On One Side | 100 | 10% | 110 | SF |  |  | 0 | 0 | 0
181 |  |  | 3-5/8" Metal Studs @ 16" O.C | 100 | 10% | 110 | SF |  |  | 0 | 0 | 0
182 |  |  | 7/8" x 25 GA Hat Channel (Vertical) @ 24" O.C | 100 | 10% | 110 | SF |  |  | 0 | 0 | 0
183 |  |  | Sealant | 20 | 10% | 22 | LF |  |  | 0 | 0 | 0
WALL TYPE P-2: [10'-0" Height]
184 |  |  | 1 Layer Of Gypsum Board On Both Side | 160 | 10% | 176 | SF |  |  | 0 | 0 | 0
185 |  |  | 3-5/8" Metal Studs @ 16" O.C | 80 | 10% | 88 | SF |  |  | 0 | 0 | 0
186 |  |  | Semi-Rigid Sound Attenuation Blanket | 80 | 10% | 88 | SF |  |  | 0 | 0 | 0
187 |  |  | Top & Bottom Plate | 16 | 10% | 17.6 | LF |  |  | 0 | 0 | 0
188 |  |  | Sealant | 32 | 10% | 35.2 | LF |  |  | 0 | 0 | 0
WALL TYPE H-2: [10'-0" Height]
189 |  |  | 1 Layer Of Gypsum Board On Both Side | 400 | 10% | 440 | SF |  |  | 0 | 0 | 0
190 |  |  | 2-1/2" Metal Studs @ 16" O.C @ Both Side | 400 | 10% | 440 | SF |  |  | 0 | 0 | 0
191 |  |  | Semi-Rigid Sound Attenuation Blanket @ Both Side | 400 | 10% | 440 | SF |  |  | 0 | 0 | 0
192 |  |  | Top & Bottom Plate | 80 | 10% | 88 | LF |  |  | 0 | 0 | 0
193 |  |  | Sealant | 80 | 10% | 88 | LF |  |  | 0 | 0 | 0
FLOORING
194 |  |  | C1: Concrete Sealant | 325 | 10% | 357.5 | SF |  |  | 0 | 0 | 0
195 |  |  | CP-1: Deck Paver | 835 | 10% | 918.5 | SF |  |  | 0 | 0 | 0
196 |  |  | MT1: Blacked Steel Plate | 70 | 10% | 77 | SF |  |  | 0 | 0 | 0
197 |  |  | G2: Glass Floor | 50 | 10% | 55 | SF |  |  | 0 | 0 | 0
198 |  |  | RR1: River Rock Gravel | 90 | 10% | 99 | SF |  |  | 0 | 0 | 0
199 |  |  | RP1: Resin Plaster | 200 | 10% | 220 | SF |  |  | 0 | 0 | 0
200 |  |  | T-1: Porcelain Tile | 115 | 10% | 126.5 | SF |  |  | 0 | 0 | 0
201 |  |  | WF-1: Wood Flooring | 1780 | 10% | 1958 | SF |  |  | 0 | 0 | 0
WALL FINISHES
202 |  |  | BV1: Brick Veneer | 388.5 | 10% | 427.35 | SF |  |  | 0 | 0 | 0
203 |  |  | MT1: Blacked Steel Plate | 287.5 | 10% | 316.25 | SF |  |  | 0 | 0 | 0
204 |  |  | RP-1: Resin Plaster | 706.5 | 10% | 777.15 | SF |  |  | 0 | 0 | 0
205 |  |  | SP1: Finish System @ Garage Interior | 375 | 10% | 412.5 | SF |  |  | 0 | 0 | 0
CEILING
206 |  |  | 5/8" Gypsum Board Ceiling on 7/8" Ceiling Steel Channel | 1880 | 10% | 2068 | SF |  |  | 0 | 0 | 0
207 |  |  | 5/8" Dens glass Sheathing on 7/8" Ceiling Steel Channel | 585 | 10% | 643.5 | SF |  |  | 0 | 0 | 0
PAINT
208 | A-120-A-418 |  | Gypsum Board Walls To Be Painted PT1 | 5236 | 10% | 5759.6 | SF |  |  | 0 | 0 | 0
209 | A-120-A-418 |  | Gypsum Board Ceiling To Be Painted PT2 | 1880 | 10% | 2068 | SF |  |  | 0 | 0 | 0
210 | A-120-A-418 |  | Stucco to be Painted | 585 | 10% | 643.5 | SF |  |  | 0 | 0 | 0
211 | A-120-A-418 |  | Millwork To Be Painted PT5 (White) | 378.63 | 10% | 416.493 | SF |  |  | 0 | 0 | 0
212 | A-120-A-418 |  | Millwork To Be Painted PT4 (Grey) | 124.5 | 10% | 136.95 | SF |  |  | 0 | 0 | 0
213 | A-600.00 |  | Doors & Frame To Be Painted | 11 | 0% | 11 | EA |  |  | 0 | 0 | 0
ELEVATION
214 | A-200.00/A-201.00 |  | BV-1: Brick Veneer | 3700 | 10% | 4070 | SF |  |  | 0 | 0 | 0
215 | A-200.00/A-201.00 |  | BV-2: Brick Veneer | 1500 | 10% | 1650 | SF |  |  | 0 | 0 | 0
216 | A-200.00/A-201.00 |  | WM-1: Wire Mesh Railing | 8 | 10% | 8.8 | LF |  |  | 0 | 0 | 0
217 | A-200.00/A-201.00 |  | MT1: Blacked Steel Plate | 155 | 10% | 170.5 | SF |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 10 | SPECIALITIES
BATHROOM ACCESSORIES Assumed Please Verify
218 | A405.00 |  | 44x39 Medicine Cabinet With Mirror | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
219 |  |  | 56x39 Medicine Cabinet With Mirror | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
220 |  |  | 33x39Medicine Cabinet With Mirror | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
221 |  |  | Towel Rod Hang From Ceiling | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
222 |  |  | Grab Bar | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
223 |  |  | Tissue Paper Holder | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
224 |  |  | Soap Dispenser | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
225 |  |  | Toilet Paper Holder | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
226 |  |  | Towel Ring | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 11 | EQUIPMENTS
APPLIANCES
227 | A-101.00/A-104.00 |  | E01: Clothes Washer (Manufacturer: Asko, Model#: W4114CW, Series: Logic, Dimensions: 23-1/2"W x 27" D x 33-1/2" H, Finish: White) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
228 |  |  | E02: Clothes Dryer Vented (Manufacturer: Asko, Model#: T411VDW, Series: Logic, Dimensions: 23-1/2"W x 29" D x 33-1/2" H, Finish: White) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
229 |  |  | E03: Refrigerator (Manufacturer: Gaggenau, Model#: RC 472705, Series: Vario 400, Dimensions: 30"W x 84" T x 12" D, Finish: Stainless) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
230 |  |  | E04: Freezer (Manufacturer: Gaggenau, Model#: RF 463706, Series: Vario 400, Dimensions: 24"W x 84" T x 24" D, Finish: White) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
231 |  |  | E05: Dishwasher (Manufacturer: Gaggenau, Model#: DF 481763, Series: 400 Series, Dimensions: 24"W x 36" T x 21" D, Finish: Stainless) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
232 |  |  | E06: Downdraft (Manufacturer: Gaggenau, Model#: AL 400721, Series: 400 Series, Dimensions: 36"W x 13" T x 5" D, Finish: Stainless) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
233 |  |  | E07: Induction Cooktop (Manufacturer: Gaggenau, Model#: CX 492610, Series: Vario, Dimensions: 36"W x 4" T x 21" D, Finish: Stainless Frame + Cooking Surface) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
234 |  |  | E08: Double Oven (Manufacturer: Gaggenau, Model#: BX 480612, Series: 400 Series, Dimensions: 29"W x 56" T x 21" D, Finish: Stainless) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
235 |  |  | E10: Gas Fire Place (Manufacturer: Acucraft, Model#: Vented, Dimensions: Custom Size, Finish: Fire Resistant Paint) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
236 |  |  | E20: Smoke/CO Detector (Manufacturer: NEST, Dimensions: 5.3"L x 5.3" H, Finish: White) | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 22 | PLUMBING
PIPING
237 | P-100-P-102 |  | 4" Vent Pipe | 45 | 10% | 49.5 | LF |  |  | 0 | 0 | 0
238 | P-100-P-102 |  | 3" Vent Pipe | 15 | 10% | 16.5 | LF |  |  | 0 | 0 | 0
239 | P-100-P-102 |  | 2" Vent Pipe | 250 | 10% | 275 | LF |  |  | 0 | 0 | 0
240 | P-100-P-102 |  | 2" Waste Pipe | 180 | 10% | 198 | LF |  |  | 0 | 0 | 0
241 | P-100-P-102 |  | 3" Waste Pipe | 180 | 10% | 198 | LF |  |  | 0 | 0 | 0
242 | P-100-P-102 |  | 4" Waste Pipe | 90 | 10% | 99 | LF |  |  | 0 | 0 | 0
243 | P-100-P-102 |  | 3" Roof Drain Pipe | 10 | 10% | 11 | LF |  |  | 0 | 0 | 0
244 | P-100-P-102 |  | 4" Roof Drain Pipe | 170 | 10% | 187 | LF |  |  | 0 | 0 | 0
245 | P-100-P-102 |  | 1" Gas Pipe | 15 | 10% | 16.5 | LF |  |  | 0 | 0 | 0
246 | P-100-P-102 |  | 1-1/2" " Gas Pipe | 55 | 10% | 60.5 | LF |  |  | 0 | 0 | 0
247 | P-100-P-102 |  | 1-1/4" " Gas Pipe | 15 | 10% | 16.5 | LF |  |  | 0 | 0 | 0
248 | P-100-P-102 |  | 1/2" CW Pipe | 60 | 10% | 66 | LF |  |  | 0 | 0 | 0
249 | P-100-P-102 |  | 1 1/2" CW Pipe | 50 | 10% | 55 | LF |  |  | 0 | 0 | 0
250 | P-100-P-102 |  | 1 1/4" CW Pipe | 15 | 10% | 16.5 | LF |  |  | 0 | 0 | 0
251 | P-100-P-102 |  | 3/4" CW Pipe | 250 | 10% | 275 | LF |  |  | 0 | 0 | 0
252 | P-100-P-102 |  | 3/4" HW Pipe | 235 | 10% | 258.5 | LF |  |  | 0 | 0 | 0
253 | P-100-P-102 |  | 3/4" HWR Pipe | 100 | 10% | 110 | LF |  |  | 0 | 0 | 0
254 | P-100-P-102 |  | 1-1/4" CW Pipe | 20 | 10% | 22 | LF |  |  | 0 | 0 | 0
255 | P-100-P-102 |  | 1-1/4" HW Pipe | 20 | 10% | 22 | LF |  |  | 0 | 0 | 0
FIXTURES
256 | P-100-P-102 |  | LAV: Lavatory With Faucet | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0
257 | P-100-P-102 |  | SH: Shower | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
258 | P-100-P-102 |  | Outdoor Shower | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
259 | P-100-P-102 |  | SK: Sink With Faucet | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
260 | P-100-P-102 |  | WC: Water Closet | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
261 | P-100-P-102 |  | Wall Clean Out | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
262 | P-100-P-102 |  | D.W: Dishwasher | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
263 | P-100-P-102 |  | Gas Meter | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
264 | P-100-P-102 |  | BP-1: Simplex Domestic Booster Pump | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
265 | P-100-P-102 |  | RCP-1: Hot Water Recirculation Pump | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
266 | P-100-P-102 |  | EJ-1: Simplex Ejector Pump | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
267 | P-100-P-102 |  | DCVA-1: Backflow Preventer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
268 | P-100-P-102 |  | RPZ-1: Backflow Preventer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
269 | P-100-P-102 |  | TP-P: Trap Primer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
270 | P-100-P-102 |  | TXT-1: C.W. Expansion Tank, 2.1 Gal | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
271 | P-100-P-102 |  | NFWH-1: Non-Freeze Wall Hydrant | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
272 | P-100-P-102 |  | HB-1: Hose Bibb | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
273 | P-100-P-102 |  | AFCV-1: Auto Flow Mixing Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
274 | P-100-P-102 |  | MV-1: Three-Way Mixing Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
275 | P-100-P-102 |  | WF-1: "Whole-House" Water Filter | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
276 | P-100-P-102 |  | LD-E-WM: Electronic Leak Detection | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
277 | P-100-P-102 |  | HTC-1: Heat Trace Cable | 20 | 10% | 22 | LF |  |  | 0 | 0 | 0
278 | P-100-P-102 |  | TP-E: Trap Primer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
279 | P-100-P-102 |  | 3" F.A.I. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
280 | P-100-P-102 |  | FD-1: 3" Floor Drain | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
281 | P-100-P-102 |  | FFD-1: 4" Floor Drain | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
282 | P-100-P-102 |  | IW-1: 2" Indirect Waste Drain w/ 4" Funnel | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
283 | P-100-P-102 |  | CFD-1: 3" Control Flow Roof Drain | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0
284 | P-100-P-102 |  | CFD-2: 4" Control Flow Roof Drain | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
285 | P-100-P-102 |  | OD-1: 3" Overflow Roof Drain | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0
286 | P-100-P-102 |  | OD-2: 4" Overflow Roof Drain | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
287 | P-100-P-102 |  | TD-1: 6" W Trench Drain | 10 | 10% | 11 | LF |  |  | 0 | 0 | 0
288 | P-100-P-102 |  | AD-1: 3" Area Drain | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
289 | P-100-P-102 |  | Service Valve | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0
290 | P-100-P-102 |  | 1-1/2" Curb Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
291 | P-100-P-102 |  | 1-1/2" H.C.V. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
292 | P-100-P-102 |  | 1-1/2" Meter Inlet Control Valve (MICV) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
293 | P-100-P-102 |  | 1-1/2" Capped & Valved Meter Test Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
294 | P-100-P-102 |  | 1-1/2" Meter Outlet Control Valve (MOCV) | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
295 | P-100-P-102 |  | N.C. Bypass | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
296 | P-100-P-102 |  | 1-1/2" Domestic Water Curb Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
297 | P-100-P-102 |  | Gas Service Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
298 | P-100-P-102 |  | Shut Off Valve | 35 | 0% | 35 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 23 | HVAC
DUCTS
299 | M-100-M-102 |  | 4" Dia Duct | 45 | 10% | 49.5 | LF |  |  | 0 | 0 | 0
300 | M-100-M-102 |  | 6" Dia Duct | 40 | 10% | 44 | LF |  |  | 0 | 0 | 0
301 | M-100-M-102 |  | 8" Dia Duct | 55 | 10% | 60.5 | LF |  |  | 0 | 0 | 0
302 | M-100-M-102 |  | 8" x 12" Duct | 25 | 10% | 27.5 | LF |  |  | 0 | 0 | 0
303 | M-100-M-102 |  | 14" x 6" Duct | 50 | 10% | 55 | LF |  |  | 0 | 0 | 0
304 | M-100-M-102 |  | 20" x 6" Duct | 15 | 10% | 16.5 | LF |  |  | 0 | 0 | 0
305 | M-100-M-102 |  | 20" x 8" Duct | 10 | 10% | 11 | LF |  |  | 0 | 0 | 0
306 | M-100-M-102 |  | 3/4" HHWS Pipe | 280 | 10% | 308 | LF |  |  | 0 | 0 | 0
307 | M-100-M-102 |  | 3/4" HHWR Pipe | 280 | 10% | 308 | LF |  |  | 0 | 0 | 0
308 | M-100-M-102 |  | 1 1/2" HHWS Pipe | 30 | 10% | 33 | LF |  |  | 0 | 0 | 0
309 | M-100-M-102 |  | 1 1/2" HHWR Pipe | 30 | 10% | 33 | LF |  |  | 0 | 0 | 0
310 | M-100-M-102 |  | 2" HHWS Pipe | 20 | 10% | 22 | LF |  |  | 0 | 0 | 0
311 | M-100-M-102 |  | 2" HHWR Pipe | 20 | 10% | 22 | LF |  |  | 0 | 0 | 0
HVAC EQUIPMENT
312 | M-100-M-102 |  | AC-1-1: VRF Air Conditioning Unit, Manufacturer: LG-VEF, Model: ARNU303NJA4, Weight: (LBS.) 117 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
313 | M-100-M-102 |  | AC-1-2: VRF Air Conditioning Unit, Manufacturer: LG-VEF, Model: ARNU303NJA4, Weight: (LBS.) 117 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
314 | M-100-M-102 |  | AC-2-1: VRF Air Conditioning Unit, Manufacturer: LG-VEF, Model: ARNU123NJA4, Weight: (LBS.) 117 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
315 | M-100-M-102 |  | AC-3-1: VRF Air Conditioning Unit, Manufacturer: LG-VEF, Model: ARNU363NJA4, Weight: (LBS.) 121 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
316 | M-100-M-102 |  | ACCU-1: Outdoor Air Cooled Condensing Unit, Manufacturer: LG-VEF, Model: ARUN060GSS4, Weight: (LBS.) 260 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
317 | M-100-M-102 |  | ACCU-2: Outdoor Air Cooled Condensing Unit, Manufacturer: LG-VEF, Model: ARUN048GSS4, Weight: (LBS.) 207 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
318 | M-100-M-102 |  | KX-1: Exhaust Fan/Transfer Fan, Manufacturer: Greenheck, Model: CSP-A710-VG | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
319 | M-100-M-102 |  | TX-C: Exhaust Fan/Transfer Fan, Manufacturer: Greenheck, Model:SP-A90 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
320 | M-100-M-102 |  | TX-2: Exhaust Fan/Transfer Fan, , Manufacturer: Greenheck, Model:SP-A90 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
321 | M-100-M-102 |  | TX-3: Exhaust Fan/Transfer Fan, , Manufacturer: Greenheck, Model:SP-A90 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
322 | M-100-M-102 |  | LX-1: Exhaust Fan/Transfer Fan, , Manufacturer: Fantech, Model:DEDPV-705 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
323 | M-100-M-102 |  | R-1: Trench Radiator, Manufacturer: Jaga Micro Canal | 13 | 10% | 14.3 | LF |  |  | 0 | 0 | 0
324 | M-100-M-102 |  | R-2: Trench Radiator, Manufacturer: Jaga Micro Canal | 13 | 10% | 14.3 | LF |  |  | 0 | 0 | 0
325 | M-100-M-102 |  | Tape And Spackle Border (Type 22), With Core Clips. Provide, 6"X6"X(Length Indicated On, Schd/Plan) Field Fabricated Plenum With Transition To Linear Bar Grille Height. Return Grilles Shall Have Duct Sleeve Through wall With Wms. Manufacturer: Titus, Model: CT-480, 36" X 4" | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
326 | M-100-M-102 |  | Flow bar Linear Slot Diffuser. Tape And Spackle Border (Type 22) In The Length Indicated On Plan. Provide 6"X6"X(Length Indicated On Plan) Field Fabricated Supply Plenum(S) As Shown With End Caps Blank Off Unused Portions And Paint With Flat Black Paint Inside. Manufacturer: Titus | 70 | 10% | 77 | LF |  |  | 0 | 0 | 0
327 | M-100-M-102 |  | CP-1: Condensate Pump, Manufacturer: Little Giant, Model: VCC-20-P | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
328 | M-100-M-102 |  | EWH-1: Electric Wall Heater, Manufacturer: Markel, Model #: F30522T2DWB | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
329 | M-100-M-102 |  | P-1: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
330 | M-100-M-102 |  | P-2: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
331 | M-100-M-102 |  | P-3: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
332 | M-100-M-102 |  | P-4: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
333 | M-100-M-102 |  | P-5: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
334 | M-100-M-102 |  | P-6: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
335 | M-100-M-102 |  | P-7: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
336 | M-100-M-102 |  | P-8: Pump, Manufacturer: Taco, Model #: 0010-MSF2-IFC, Provide Vibration Isolation & Variable Speed Variable Voltage | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
337 | M-100-M-102 |  | B-1: Boiler, Manufacturer: Viessmann Vitodens, Model: V 200-W B2HB 26 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
338 | M-100-M-102 |  | DWH-1: Indirect Water Heater, Manufacturer: Viessmann Vitocell, Model: 100V, 79 Gal | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
339 | M-100-M-102 |  | EB-1: Electric Baseboard, Manufacturer: Qmark, Model: 2544W | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
340 | M-100-M-102 |  | BD: Backdraft Damper | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
341 | M-100-M-102 |  | COD: Cable Operated Damper | 9 | 0% | 9 | EA |  |  | 0 | 0 | 0
342 | M-100-M-102 |  | Condensate Acid Neutralizer. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
343 | M-100-M-102 |  | Fire Damper w/ Access Door | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
344 | M-100-M-102 |  | Low Loss Header | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
345 | M-100-M-102 |  | Manuf.Provided Sidewall Vent/Intake Kit | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
346 | M-100-M-102 |  | Provide AD On Side Wall | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
347 | M-100-M-102 |  | Thermostat | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0
348 | M-100-M-102 |  | Temperature Sensor | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
349 | M-100-M-102 |  | RHM-1: Radiant Heating | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
350 | M-100-M-102 |  | RHM-2: Radiant Heating | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
351 | M-100-M-102 |  | RHM-3: Radiant Heating | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 26 | ELECTRICAL
POWER
352 | E-101-E-102 |  | Panel CHP-C: 208/120V, 1 Dia, 3W+G, 225A | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
353 | E-101-E-102 |  | Panel CHP-2F: 208/120V, 1 Dia, 3W+G, 150A | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
354 | E-101-E-102 |  | Provide 200-AMP, 208V, 1 PH, 3W Service End Box For Con Edison Termination | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
355 | E-101-E-102 |  | Electric Meter | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
356 | E-101-E-102 |  | Disconnect Switch 200/3 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
357 | E-101-E-102 |  | Data/Voice Outlet | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0
358 | E-101-E-102 |  | Disconnect Switch 30/2 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
359 | E-101-E-102 |  | Disconnect Switch 60/2 | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
360 | E-101-E-102 |  | Duplex Receptacle | 40 | 0% | 40 | EA |  |  | 0 | 0 | 0
361 | E-101-E-102 |  | Equipment Receptacle | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0
362 | E-101-E-102 |  | Floor Mounted Duplex Receptacle | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
363 | E-101-E-102 |  | GFCI Duplex Receptacle | 19 | 0% | 19 | EA |  |  | 0 | 0 | 0
364 | E-101-E-102 |  | Junction Box | 20 | 0% | 20 | EA |  |  | 0 | 0 | 0
365 | E-101-E-102 |  | Switch T | 14 | 0% | 14 | EA |  |  | 0 | 0 | 0
366 | E-101-E-102 |  | Watertight Duplex Receptacle | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0
367 | E-101-E-102 |  | Allowance For Wiring & Conduit | 3635 | 10% | 3998.5 | SF |  |  | 0 | 0 | 0
LIGHTING
368 | E-201-E-202 |  | Light Type L1: LED Downlight, Manufacturer: Lucifer, Model: Fraxion 3 | 45 | 0% | 45 | EA |  |  | 0 | 0 | 0
369 | E-201-E-202 |  | Light Type L2: Linear LED Stoplight, Manufacturer: Eklipse Lighting, Model: 2 | 48 | 10% | 52.8 | LF |  |  | 0 | 0 | 0
370 | E-201-E-202 |  | Light Type L3: Adjustable LED Projector, Manufacturer: LITLAB, Model: C83 | 15 | 0% | 15 | EA |  |  | 0 | 0 | 0
371 | E-201-E-202 |  | Light Type L4: Linear LED Light, Manufacturer: Ketra, Model: L4R | 11 | 10% | 12.1 | LF |  |  | 0 | 0 | 0
372 | E-201-E-202 |  | Light Type L5: Adjustable LED Projector (Track Mounted To TR01 Recessed Track), Manufacturer: Litlab, Model: C83 | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
373 | E-201-E-202 |  | Light Type TR01: Track Recessed In Pipe, Manufacturer: Litlab, Model: Busrun Busway | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
374 | E-201-E-202 |  | Light Type TR02: Track Recessed In Pipe,For Use With L5, Manufacturer: Litlab, Model: Busrun Busway | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
375 | E-201-E-202 |  | Light Type L6: Recessed LED Low Glare Path Light, Manufacturer: Delta Light, Model: HELI- X Screen | 19 | 0% | 19 | EA |  |  | 0 | 0 | 0
376 | E-201-E-202 |  | Light Type L7: Regressed Wall Washer, Manufacturer: Lucifer, Model: Fraxion 3 | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0
377 | E-201-E-202 |  | Light Type L8: Decorative Wall Sconce, Manufacturer: KAIA Lighting, Model: NEA | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0
378 | E-201-E-202 |  | Light Type 10: Ceiling Flush mount Glowing Light, Manufacturer: Delta Light, Model: Supernova XS 330 | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0
379 | E-201-E-202 |  | Light Type L11: Flexible Linear LED Light, Manufacturer: Diobel LED, Model: Blaze | 9 | 10% | 9.9 | LF |  |  | 0 | 0 | 0
380 | E-201-E-202 |  | Light Type F1: Decorative Wall Sconce, Manufacturer: Davey Lighting, Model: Mast Light 0749 | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0
381 | E-201-E-202 |  | Light Type F2: Adjustable Floorlight, Manufacturer: Volt, Model: All Star | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
382 | E-201-E-202 |  | Light Type F3: Brass Hanging Light, Manufacturer: Volt, Model: All Star | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
383 | E-201-E-202 |  | Light Type F4:Flexible Linear LED Light, Manufacturer: Lucetta, Model: Celeste X Wet | 26 | 10% | 28.6 | LF |  |  | 0 | 0 | 0
384 | E-201-E-202 |  | Light Type F5: LED Recessed Wall Step Light, Manufacturer: BEGA, Model: 24 599-K27-BLK | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
385 | E-201-E-202 |  | Light Type F6: Details Not Given | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0
386 | E-201-E-202 |  | Light Type F7: Regressed Wall Washer Wall Washer Manufacturer: Lucetta, Model: Fraxion 3 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
387 | E-201-E-202 |  | Light Type F8: Wall Sconce, Manufacturer: Lucetta, Model: CW2 | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
388 | E-201-E-202 |  | Light Type J: Details Not Given | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  | 31 | EARTHWORK
389 | Sheet #3 |  | EXCAVATION 20% Fluff Factor Is Added | 658.8889 | 20% | 790.6667 | CY |  |  | 0 | 0 | 0
390 | Sheet #3 |  | Backfill 20% Fluff Factor Is Added | 113.7037 | 20% | 136.4444 | CY |  |  | 0 | 0 | 0
Supports for Excavation & Shoring
391 | Sheet #3 |  | 3"x10" Timber Lagging Shoring [6'-5"Height] | 68 | 0% | 68 | LF |  |  | 0 | 0 | 0
392 | Sheet #3 |  | 3"x10" Timber Lagging Shoring [7'-6"Height] | 28 | 0% | 28 | LF |  |  | 0 | 0 | 0
393 | Sheet #3 |  | 3"x10" Timber Lagging Shoring [9'-6"Height] | 43 | 0% | 43 | LF |  |  | 0 | 0 | 0
394 | Sheet #3 |  | 3"x10" Horizontal Timber Sheeting | 68 | 0% | 68 | SF |  |  | 0 | 0 | 0
395 | Sheet #3 |  | 9.625" O.D x 0.545" Soldier Pile Shoring [12'-0" Deep] | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
396 | Sheet #3 |  | 9.625" O.D x 0.545" Soldier Pile Shoring [18'-0" Deep] | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
397 | Sheet #3 |  | 9.625" O.D x 0.545" Soldier Pile Shoring [21'-0" Deep] | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
398 | Sheet #3 |  | 9.625" O.D x 0.545" Soldier Pile Shoring [23'-0" Deep] | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0
399 | Sheet #3 |  | 9.625" O.D x 0.545" Soldier Pile Shoring [26'-0" Deep] | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0
400 | Sheet #3 |  | Shoring Trench [2'-0" Wide x 6'-5" Deep] | 34 | 0% | 34 | LF |  |  | 0 | 0 | 0
401 | Sheet #3 |  | Steel Trench Braces on 2"x6" Stringer [6'-5" Height] | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0
|  |  | Subtotal | [8 empty] | 0
|  |  | TOTAL AMOUNT | [8 empty] | 0
|  |  | CONTIGENCIES (5%) |  |  |  |  | 5% |  |  |  | 0
|  |  | OVERHEAD AND PROFIT (10%) |  |  |  |  | 10% |  |  |  | 0
|  |  | TAX (8.5%) |  |  |  |  | 8.5% |  |  |  | 0
|  |  | PERFORMANCE AND PAYMENT BONDS |  |  |  |  | 1.5% |  |  |  | 0
|  |  | TOTAL BASEBID | [8 empty] | 0
PROJECT: :ABC
NOTES: Please review any addendum after
ADDRESS: XYZ