## General Summary
GENERAL SUMMARY (BASE BID)
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST
1000 | General Requirments | 184000
26000 | Electrical | 2090736.6885
26000 | Telecommunication | 295042.3864
26000 | Electronic & Safety Security | 251546.6741
TOTAL COST |  | 2821325.7489
CONTIGENCIES (5%) | 5% | 141066.2874
MATERIAL MARKUPS (20%) | 20% | 312193.4619
LABOR MARKUPS (31%) | 31% | 333671.1162
OVERHEAD (10%) | 10% | 282132.5749
PROFIT (10%) | 10% | 282132.5749
TAX (9.2%) | 9.2% | 259561.9689
PERFORMANCE AND PAYMENT BONDS | 1.5% | 42319.8862
TOTAL BASEBID |  | 4474403.6194
GENERAL SUMMARY (ADD ALTERNATE)
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST
1000 | General Requirments | 1500
26000 | Pedestrain Gate Card Reader | 10338.2461
TOTAL COST |  | 11838.2461
CONTIGENCIES (5%) | 5% | 591.9123
MATERIAL MARKUPS (20%) | 20% | 639.9293
LABOR MARKUPS (31%) | 31% | 2212.9659
OVERHEAD (10%) | 10% | 1183.8246
PROFIT (10%) | 10% | 1183.8246
TAX (9.2%) | 9.2% | 1089.1186
PERFORMANCE AND PAYMENT BONDS | 1.5% | 177.5737
TOTAL BASEBID |  | 18917.3951

## Base Bid
DETAILED BREAKDOWN OF ITEMS
| Project Name |  | ABC
| Project Address |  | XYZ
| Scope: |  | Electrical
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 184000
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 184000
|  | 26 | DIVISION 26- ELECTRICAL
DISTRIBUTION
FEEDERS
CONDUITS
8 |  |  | 4"C EMT | 169.8 | 5% | 178.29 | LF | 0.146 | 26.0303 | 128 | 18.688 | 3331.8835 | 14.878 | 2652.5986 | 33.566 | 5984.4821
9 |  |  | 4"C PVC | 3840.06 | 5% | 4032.063 | LF | 0.115 | 463.6872 | 128 | 14.72 | 59351.9674 | 9.27 | 37377.224 | 23.99 | 96729.1914
10 |  |  | 3"C EMT | 1079.76 | 5% | 1133.748 | LF | 0.138 | 156.4572 | 128 | 17.664 | 20026.5247 | 11.218 | 12718.3851 | 28.882 | 32744.9097
11 |  |  | 2"C EMT | 234.75 | 5% | 246.4875 | LF | 0.11 | 27.1136 | 128 | 14.08 | 3470.544 | 4.598 | 1133.3495 | 18.678 | 4603.8935
12 |  |  | 1 1/2"C EMT | 601.29 | 5% | 631.3545 | LF | 0.1 | 63.1354 | 128 | 12.8 | 8081.3376 | 3.75 | 2367.5794 | 16.55 | 10448.917
13 |  |  | PULLSTRING | 3357.45 | 5% | 3525.3225 | LF | 0.01 | 35.2532 | 128 | 1.28 | 4512.4128 | 0.35 | 1233.8629 | 1.63 | 5746.2757
CONDUTORS
14 |  |  | #600 THHN | 3548.64 | 5% | 3726.072 | LF | 0.1 | 372.6072 | 128 | 12.8 | 47693.7216 | 22.57 | 84097.445 | 35.37 | 131791.1666
15 |  |  | #350 THHN | 4319.04 | 5% | 4534.992 | LF | 0.07 | 317.4494 | 128 | 8.96 | 40633.5283 | 13.24 | 60043.2941 | 22.2 | 100676.8224
16 |  |  | #4/0 THHN | 451.56 | 5% | 474.138 | LF | 0.066 | 31.2931 | 128 | 8.448 | 4005.5178 | 7.78 | 3688.7936 | 16.228 | 7694.3115
17 |  |  | #3/0 THHN | 1079.76 | 5% | 1133.748 | LF | 0.06 | 68.0249 | 128 | 7.68 | 8707.1846 | 6.33 | 7176.6248 | 14.01 | 15883.8095
18 |  |  | #2 THHN | 2523.72 | 5% | 2649.906 | LF | 0.025 | 66.2476 | 128 | 3.2 | 8479.6992 | 2.97 | 7870.2208 | 6.17 | 16349.92
19 |  |  | #8 THHN | 601.29 | 5% | 631.3545 | LF | 0.012 | 7.5763 | 128 | 1.536 | 969.7605 | 0.82 | 517.7107 | 2.356 | 1487.4712
GROUNDING
20 |  |  | #3/0 CU GROUND WIRE | 40 | 0% | 40 | LF | 0.03 | 1.2 | 128 | 3.84 | 153.6 | 5.54 | 221.6 | 9.38 | 375.2
21 |  |  | #6 CU GROUND WIRE | 100 | 0% | 100 | LF | 0.015 | 1.5 | 128 | 1.92 | 192 | 1.05 | 105 | 2.97 | 297
22 |  |  | 5/8"X10' GROUND ROD | 10 | 5% | 10.5 | EA | 0.6 | 6.3 | 128 | 76.8 | 806.4 | 49.99 | 524.895 | 126.79 | 1331.295
23 |  |  | EXOTHERMIC WELD | 12 | 5% | 12.6 | EA | 0.25 | 3.15 | 128 | 32 | 403.2 | 18 | 226.8 | 50 | 630
24 |  |  | GROUND BUS BAR | 2 | 5% | 2.1 | EA | 1.22 | 2.562 | 128 | 156.16 | 327.936 | 225 | 472.5 | 381.16 | 800.436
DISCONNECT SWITCHES
25 |  |  | 60A/3P DISCONNECT SWITCH NEMA 1 | 2 | 0% | 2 | EA | 2 | 4 | 128 | 256 | 512 | 326 | 652 | 582 | 1164
26 |  |  | 100A/3P DISCONNECT SWITCH NEMA 3R | 2 | 0% | 2 | EA | 3.5 | 7 | 128 | 448 | 896 | 599.17 | 1198.34 | 1047.17 | 2094.34
CIRCUIT BREAKERS
27 |  |  | 20A/1P CIRCUIT BREAKER | 196 | 0% | 196 | EA | 0.25 | 49 | 128 | 32 | 6272 | 16.98 | 3328.08 | 48.98 | 9600.08
28 |  |  | 20A/2P CIRCUIT BREAKER | 8 | 0% | 8 | EA | 0.4 | 3.2 | 128 | 51.2 | 409.6 | 22.4 | 179.2 | 73.6 | 588.8
29 |  |  | 30A/2P CIRCUIT BREAKER | 16 | 0% | 16 | EA | 0.4 | 6.4 | 128 | 51.2 | 819.2 | 28.5 | 456 | 79.7 | 1275.2
30 |  |  | 30A/3P CIRCUIT BREAKER | 11 | 0% | 11 | EA | 0.5 | 5.5 | 128 | 64 | 704 | 103.2 | 1135.2 | 167.2 | 1839.2
31 |  |  | 40A/2P CIRCUIT BREAKER | 4 | 0% | 4 | EA | 0.4 | 1.6 | 128 | 51.2 | 204.8 | 36.63 | 146.52 | 87.83 | 351.32
32 |  |  | 40A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA | 0.5 | 0.5 | 128 | 64 | 64 | 137.6 | 137.6 | 201.6 | 201.6
33 |  |  | 50A/2P CIRCUIT BREAKER | 1 | 0% | 1 | EA | 0.4 | 0.4 | 128 | 51.2 | 51.2 | 55 | 55 | 106.2 | 106.2
34 |  |  | 50A/3P CIRCUIT BREAKER | 2 | 0% | 2 | EA | 0.55 | 1.1 | 128 | 70.4 | 140.8 | 172 | 344 | 242.4 | 484.8
35 |  |  | 60A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA | 0.55 | 0.55 | 128 | 70.4 | 70.4 | 206.4 | 206.4 | 276.8 | 276.8
36 |  |  | 80A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA | 0.6 | 0.6 | 128 | 76.8 | 76.8 | 275.2 | 275.2 | 352 | 352
37 |  |  | 90A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA | 0.7 | 0.7 | 128 | 89.6 | 89.6 | 309.6 | 309.6 | 399.2 | 399.2
38 |  |  | 100A MAIN CIRCUIT BREAKER | 4 | 0% | 4 | EA | 1 | 4 | 128 | 128 | 512 | 344.8 | 1379.2 | 472.8 | 1891.2
39 |  |  | 100A/3P CIRCUIT BREAKER | 12 | 0% | 12 | EA | 1 | 12 | 128 | 128 | 1536 | 344.8 | 4137.6 | 472.8 | 5673.6
40 |  |  | 400A MAIN CIRCUIT BREAKER | 4 | 0% | 4 | EA | 2.85 | 11.4 | 128 | 364.8 | 1459.2 | 1726.92 | 6907.68 | 2091.72 | 8366.88
41 |  |  | 400A/3P CIRCUIT BREAKER | 10 | 0% | 10 | EA | 2.85 | 28.5 | 128 | 364.8 | 3648 | 1726.92 | 17269.2 | 2091.72 | 20917.2
42 |  |  | 1200A MAIN CIRCUIT BREAKER | 2 | 0% | 2 | EA | 5.5 | 11 | 128 | 704 | 1408 | 5308.35 | 10616.7 | 6012.35 | 12024.7
43 |  |  | 1200A/3P CIRCUIT BREAKER | 4 | 0% | 4 | EA | 5.5 | 22 | 128 | 704 | 2816 | 5308.35 | 21233.4 | 6012.35 | 24049.4
44 |  |  | 1600A MAIN CIRCUIT BREAKER | 1 | 0% | 1 | EA | 6.6 | 6.6 | 128 | 844.8 | 844.8 | 11600 | 11600 | 12444.8 | 12444.8
45 |  |  | 2500A MAIN CIRCUIT BREAKER | 1 | 0% | 1 | EA | 8.5 | 8.5 | 128 | 1088 | 1088 | 16260.86 | 16260.86 | 17348.86 | 17348.86
PANELS
46 |  |  | PANEL GSS, 1600A MCB, 208V, 3PH, 4W, 10KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 40 | 40 | 128 | 5120 | 5120 | 19440 | 19440 | 24560 | 24560
47 |  |  | PANEL MSS, 2500A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 55 | 55 | 128 | 7040 | 7040 | 35280 | 35280 | 42320 | 42320
48 |  |  | PANEL SL1, 1200A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 35 | 35 | 128 | 4480 | 4480 | 12600.45 | 12600.45 | 17080.45 | 17080.45
49 |  |  | PANEL SL2, 400A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 15 | 15 | 128 | 1920 | 1920 | 5630.7 | 5630.7 | 7550.7 | 7550.7
50 |  |  | PANEL SL3, 400A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 15 | 15 | 128 | 1920 | 1920 | 5630.7 | 5630.7 | 7550.7 | 7550.7
51 |  |  | PANEL SL4, 400A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 15 | 15 | 128 | 1920 | 1920 | 5630.7 | 5630.7 | 7550.7 | 7550.7
52 |  |  | PANEL UPSA, 100A MCB, 208V, 3PH, 4W, 10KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 8.5 | 8.5 | 128 | 1088 | 1088 | 1076.44 | 1076.44 | 2164.44 | 2164.44
53 |  |  | PANEL UPSB, 100A MCB, 208V, 3PH, 4W, 10KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 8.5 | 8.5 | 128 | 1088 | 1088 | 1076.44 | 1076.44 | 2164.44 | 2164.44
54 |  |  | PANEL XL1, 1200A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 35 | 35 | 128 | 4480 | 4480 | 12600.45 | 12600.45 | 17080.45 | 17080.45
55 |  |  | PANEL XL2, 400A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 15 | 15 | 128 | 1920 | 1920 | 5630.7 | 5630.7 | 7550.7 | 7550.7
56 |  |  | PANEL XL3, 400A MCB, 208V, 3PH, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 15 | 15 | 128 | 1920 | 1920 | 5630.7 | 5630.7 | 7550.7 | 7550.7
57 |  |  | PANEL XL4, 100A MCB, 208V, 3PH, 4W, 10KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 8.5 | 8.5 | 128 | 1088 | 1088 | 1076.44 | 1076.44 | 2164.44 | 2164.44
58 |  |  | PANEL XL5, 100A MCB, 208V, 3PH, 4W, 10KAIC, SURFACE MOUNTED, NEMA 1 | 1 | 0% | 1 | EA | 8.5 | 8.5 | 128 | 1088 | 1088 | 1076.44 | 1076.44 | 2164.44 | 2164.44
EQUIPMENTS
59 |  |  | ATS-S, AUTO TRANSFER SWITCH, 1200A-4P, NEMA 1 | 1 | 0% | 1 | EA | 10 | 10 | 128 | 1280 | 1280 | 15408 | 15408 | 16688 | 16688
60 |  |  | ATS-X, AUTO TRANSFER SWITCH, 1200A-4P, NEMA 1 | 1 | 0% | 1 | EA | 10 | 10 | 128 | 1280 | 1280 | 15408 | 15408 | 16688 | 16688
61 |  |  | DUAL EV CHARGING STATION (DEV) (2) EATON GMEV48CMC1-WC SERIES HARGING STATION MOUNTED TO EATON GMEV-DPED SERIES DUAL PORT PEDESTAL | 2 | 0% | 2 | EA | 20 | 40 | 128 | 2560 | 5120 | 5648.86 | 11297.72 | 8208.86 | 16417.72
62 |  |  | EATON 93PM SERIES UPS OR EQUAL WITH MAINTENANCE BYPASS CABINET (MBCh REMOTE MONITORING, AND 15-MINUTE BATTERY RUNTIME | 2 | 0% | 2 | EA | 100 | 200 | 128 | 12800 | 25600 | 75940.98 | 151881.96 | 88740.98 | 177481.96
63 |  |  | EATON CHARGING NETWORK MANAGEMENT (CNM) SOFTWARE PLATFORM | 2 | 0% | 2 | EA | 10 | 20 | 128 | 1280 | 2560 | 3496.3 | 6992.6 | 4776.3 | 9552.6
64 |  |  | ENERGY METERING CONTROL PANEL | 1 | 0% | 1 | EA | 10 | 10 | 128 | 1280 | 1280 | 2550 | 2550 | 3830 | 3830
65 |  |  | GENERATOR, 400KW/500KVA PAD MOUNTED, NEMA 3R WITH (1) 1600A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA | 116.6 | 116.6 | 128 | 14924.8 | 14924.8 | 98581.59 | 98581.59 | 113506.39 | 113506.39
66 |  |  | MTS, MANUAL TRANSFER SWITCH, 1600A/3P, 208Y/120V, NEMA 3R | 1 | 0% | 1 | EA | 8.5 | 8.5 | 128 | 1088 | 1088 | 6444.9 | 6444.9 | 7532.9 | 7532.9
67 |  |  | SPD, SURGE PROTECTIVE DEVICE | 10 | 0% | 10 | EA | 1.5 | 15 | 128 | 192 | 1920 | 738.89 | 7388.9 | 930.89 | 9308.9
68 |  |  | SUPER CRITICAL GRADE SOUND ATTENUATED ACOUSTICAL ENCLOSURE WITH 24-HOUR SKID MOUNT DIESEL FUEL TANK | 1 | 0% | 1 | EA | 60 | 60 | 128 | 7680 | 7680 | 30000 | 30000 | 37680 | 37680
69 |  |  | UTILITY PRODUCTION METER (BY UTILITY) | 1 | 0% | 1 | EA | 5 | 5 | 128 | 640 | 640 | 0 | 0 | 640 | 640
EQUIPMENT CONNECTIONS
70 |  |  | CONNECTION FOR BATTERY CHARGER | 1 | 0% | 1 | EA | 0.3 | 0.3 | 128 | 38.4 | 38.4 | 22 | 22 | 60.4 | 60.4
71 |  |  | CONNECTION FOR BC | 3 | 0% | 3 | EA | 0.25 | 0.75 | 128 | 32 | 96 | 18 | 54 | 50 | 150
72 |  |  | CONNECTION FOR BLOCK HEATER | 1 | 0% | 1 | EA | 0.3 | 0.3 | 128 | 38.4 | 38.4 | 22 | 22 | 60.4 | 60.4
73 |  |  | CONNECTION FOR CARD READER | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 18 | 36 | 50 | 100
74 |  |  | CONNECTION FOR CENTURION ALARM | 1 | 0% | 1 | EA | 0.3 | 0.3 | 128 | 38.4 | 38.4 | 22 | 22 | 60.4 | 60.4
75 |  |  | CONNECTION FOR CP | 1 | 0% | 1 | EA | 0.25 | 0.25 | 128 | 32 | 32 | 18 | 18 | 50 | 50
76 |  |  | CONNECTION FOR CU | 6 | 0% | 6 | EA | 0.3 | 1.8 | 128 | 38.4 | 230.4 | 22 | 132 | 60.4 | 362.4
77 |  |  | CONNECTION FOR DEV | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 18 | 36 | 50 | 100
78 |  |  | CONNECTION FOR DLC | 22 | 0% | 22 | EA | 0.3 | 6.6 | 128 | 38.4 | 844.8 | 22 | 484 | 60.4 | 1328.8
79 |  |  | CONNECTION FOR EF | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 18 | 36 | 50 | 100
80 |  |  | CONNECTION FOR ERV | 1 | 0% | 1 | EA | 0.3 | 0.3 | 128 | 38.4 | 38.4 | 22 | 22 | 60.4 | 60.4
81 |  |  | CONNECTION FOR EWH | 1 | 0% | 1 | EA | 0.25 | 0.25 | 128 | 32 | 32 | 18 | 18 | 50 | 50
82 |  |  | CONNECTION FOR FAA | 1 | 0% | 1 | EA | 0.3 | 0.3 | 128 | 38.4 | 38.4 | 22 | 22 | 60.4 | 60.4
83 |  |  | CONNECTION FOR FCU | 22 | 0% | 22 | EA | 0.25 | 5.5 | 128 | 32 | 704 | 18 | 396 | 50 | 1100
84 |  |  | CONNECTION FOR GATE CONTROLLER | 2 | 0% | 2 | EA | 0.3 | 0.6 | 128 | 38.4 | 76.8 | 22 | 44 | 60.4 | 120.8
85 |  |  | CONNECTION FOR HWHP | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 18 | 36 | 50 | 100
86 |  |  | CONNECTION FOR IRRIGATION CONTROLLER | 1 | 0% | 1 | EA | 0.3 | 0.3 | 128 | 38.4 | 38.4 | 22 | 22 | 60.4 | 60.4
87 |  |  | CONNECTION FOR ITM | 1 | 0% | 1 | EA | 0.25 | 0.25 | 128 | 32 | 32 | 18 | 18 | 50 | 50
88 |  |  | CONNECTION FOR LED SCREEN PANEL | 3 | 0% | 3 | EA | 0.3 | 0.9 | 128 | 38.4 | 115.2 | 22 | 66 | 60.4 | 181.2
89 |  |  | CONNECTION FOR LIGHTING/RECEPTACLE CONTROLLER | 1 | 0% | 1 | EA | 0.25 | 0.25 | 128 | 32 | 32 | 18 | 18 | 50 | 50
90 |  |  | CONNECTION FOR RADIO TOWER | 1 | 0% | 1 | EA | 0.3 | 0.3 | 128 | 38.4 | 38.4 | 22 | 22 | 60.4 | 60.4
91 |  |  | CONNECTION FOR SECURITY CONTROL PANEL | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 18 | 36 | 50 | 100
92 |  |  | CONNECTION FOR TPS | 3 | 0% | 3 | EA | 0.3 | 0.9 | 128 | 38.4 | 115.2 | 22 | 66 | 60.4 | 181.2
MISCELLANEOUS
93 |  |  | 17"X10" DUCTBANK | 193.31 | 0% | 193.31 | LF | 1.1 | 212.641 | 128 | 140.8 | 27218.048 | 163 | 31509.53 | 303.8 | 58727.578
94 |  |  | 17"X17" DUCT BANK | 235.88 | 0% | 235.88 | LF | 1.5 | 353.82 | 128 | 192 | 45288.96 | 250 | 58970 | 442 | 104258.96
95 |  |  | PAD FOR 400KW GENERATOR | 1 | 0% | 1 | EA | 4 | 4 | 128 | 512 | 512 | 822.85 | 822.85 | 1334.85 | 1334.85
96 |  |  | PAD FOR UTILITY XFMR | 1 | 0% | 1 | EA | 3.5 | 3.5 | 128 | 448 | 448 | 606 | 606 | 1054 | 1054
97 |  |  | TRENCHING AND BACKFILLING | 2859.26 | 0% | 2859.26 | LF | 0.045 | 128.6667 | 128 | 5.76 | 16469.3376 | 1.2 | 3431.112 | 6.96 | 19900.4496
98 |  |  | WARNING TAPE | 429.18 | 0% | 429.18 | LF | 0.02 | 8.5836 | 128 | 2.56 | 1098.7008 | 1.5 | 643.77 | 4.06 | 1742.4708
BRANCH WIRING
LIGHTING CIRCUITS
CONDUITS
99 |  |  | 1"C PVC | 2332.85 | 5% | 2449.4925 | LF | 0.05 | 122.4746 | 128 | 6.4 | 15676.752 | 1.396 | 3419.4915 | 7.796 | 19096.2435
100 |  |  | 3/4"C EMT | 4559.06 | 5% | 4787.013 | LF | 0.035 | 167.5455 | 128 | 4.48 | 21445.8182 | 1.318 | 6309.2831 | 5.798 | 27755.1014
CONDUTORS
101 |  |  | #8 THHN | 3672.22 | 5% | 3855.831 | LF | 0.012 | 46.27 | 128 | 1.536 | 5922.5564 | 0.82 | 3161.7814 | 2.356 | 9084.3378
102 |  |  | #10 THHN SOLID | 8829.35 | 5% | 9270.8175 | LF | 0.01 | 92.7082 | 128 | 1.28 | 11866.6464 | 0.38 | 3522.9106 | 1.66 | 15389.557
103 |  |  | #12 THHN SOLID | 8842.35 | 5% | 9284.4675 | LF | 0.009 | 83.5602 | 128 | 1.152 | 10695.7066 | 0.28 | 2599.6509 | 1.432 | 13295.3575
104 |  |  | #14 THHN SOLID | 2295.16 | 5% | 2409.918 | LF | 0.008 | 19.2793 | 128 | 1.024 | 2467.756 | 0.18 | 433.7852 | 1.204 | 2901.5413
POWER CIRCUITS
CONDUITS
105 |  |  | 1 1/4"C EMT | 323.13 | 5% | 339.2865 | LF | 0.07 | 23.7501 | 128 | 8.96 | 3040.007 | 3.295 | 1117.949 | 12.255 | 4157.9561
106 |  |  | 1 1/4"C RGS | 10 | 5% | 10.5 | LF | 0.112 | 1.176 | 128 | 14.336 | 150.528 | 7.348 | 77.154 | 21.684 | 227.682
107 |  |  | 1 1/4"C LFMC | 10 | 5% | 10.5 | LF | 0.16 | 1.68 | 128 | 20.48 | 215.04 | 7.0666 | 74.1993 | 27.5466 | 289.2393
108 |  |  | 1 1/4"C PVC | 338.35 | 5% | 355.2675 | LF | 0.08 | 28.4214 | 128 | 10.24 | 3637.9392 | 2.198 | 780.878 | 12.438 | 4418.8172
109 |  |  | 1"C EMT | 10.55 | 5% | 11.0775 | LF | 0.064 | 0.70896 | 128 | 8.192 | 90.7469 | 2.158 | 23.9052 | 10.35 | 114.6521
110 |  |  | 1"C LFMC | 11.11 | 5% | 11.6655 | LF | 0.133 | 1.5515 | 128 | 17.024 | 198.5935 | 4.9947 | 58.2657 | 22.0187 | 256.8591
111 |  |  | 1"C PVC | 2209.52 | 5% | 2319.996 | LF | 0.05 | 115.9998 | 128 | 6.4 | 14847.9744 | 1.396 | 3238.7144 | 7.796 | 18086.6888
112 |  |  | 3/4"C EMT | 16419.41 | 5% | 17240.3805 | LF | 0.035 | 603.4133 | 128 | 4.48 | 77236.9046 | 1.318 | 22722.8215 | 5.798 | 99959.7261
113 |  |  | 3/4"C FLEX S | 292.57 | 5% | 307.1985 | LF | 0.1 | 30.7199 | 128 | 12.8 | 3932.1408 | 2.26 | 694.2686 | 15.06 | 4626.4094
114 |  |  | 3/4"C RGS | 86.42 | 5% | 90.741 | LF | 0.067 | 6.0796 | 128 | 8.576 | 778.1948 | 3.317 | 300.9879 | 11.893 | 1079.1827
115 |  |  | 3/4"C LFMC | 66.37 | 5% | 69.6885 | LF | 0.1 | 6.9688 | 128 | 12.8 | 892.0128 | 2.7456 | 191.3367 | 15.5456 | 1083.3495
116 |  |  | 1/2"C EMT | 252.56 | 5% | 265.188 | LF | 0.03 | 7.9556 | 128 | 3.84 | 1018.3219 | 0.948 | 251.3982 | 4.788 | 1269.7201
CONDUTORS
117 |  |  | #2 THHN | 1913.32 | 5% | 2008.986 | LF | 0.025 | 50.2246 | 128 | 3.2 | 6428.7552 | 2.97 | 5966.6884 | 6.17 | 12395.4436
118 |  |  | #3 THHN | 484.47 | 5% | 508.6935 | LF | 0.02 | 10.1739 | 128 | 2.56 | 1302.2554 | 2.33 | 1185.2559 | 4.89 | 2487.5112
119 |  |  | #6 THHN | 2854.1 | 5% | 2996.805 | LF | 0.015 | 44.9521 | 128 | 1.92 | 5753.8656 | 1.24 | 3716.0382 | 3.16 | 9469.9038
120 |  |  | #8 THHN | 7214.28 | 5% | 7574.994 | LF | 0.012 | 90.8999 | 128 | 1.536 | 11635.1908 | 0.82 | 6211.4951 | 2.356 | 17846.6859
121 |  |  | #10 THHN SOLID | 25076.9 | 5% | 26330.745 | LF | 0.01 | 263.3075 | 128 | 1.28 | 33703.3536 | 0.38 | 10005.6831 | 1.66 | 43709.0367
122 |  |  | #12 THHN SOLID | 25276.32 | 5% | 26540.136 | LF | 0.009 | 238.8612 | 128 | 1.152 | 30574.2367 | 0.28 | 7431.2381 | 1.432 | 38005.4748
POWER DEVICES
123 |  |  | 20A/1P HRS (HAND RESET SWITCH) | 5 | 0% | 5 | EA | 0.5 | 2.5 | 128 | 64 | 320 | 24.1 | 120.5 | 88.1 | 440.5
124 |  |  | 20A/2P HRS (HAND RESET SWITCH) | 23 | 0% | 23 | EA | 0.6 | 13.8 | 128 | 76.8 | 1766.4 | 36.6 | 841.8 | 113.4 | 2608.2
125 |  |  | 20A/2P HRS (HAND RESET SWITCH) WP | 2 | 0% | 2 | EA | 0.7 | 1.4 | 128 | 89.6 | 179.2 | 55 | 110 | 144.6 | 289.2
126 |  |  | 30A/2P HRS (HAND RESET SWITCH) | 4 | 0% | 4 | EA | 0.65 | 2.6 | 128 | 83.2 | 332.8 | 42 | 168 | 125.2 | 500.8
127 |  |  | 30A/2P HRS (HAND RESET SWITCH) WP | 4 | 0% | 4 | EA | 0.8 | 3.2 | 128 | 102.4 | 409.6 | 62 | 248 | 164.4 | 657.6
128 |  |  | 3000 SERIES WIREMOLD | 12.53 | 5% | 13.1565 | LF | 0.1 | 1.3156 | 128 | 12.8 | 168.4032 | 12.4 | 163.1406 | 25.2 | 331.5438
129 |  |  | DUPLEX RECEPTACLE | 112 | 0% | 112 | EA | 0.2 | 22.4 | 128 | 25.6 | 2867.2 | 24.1 | 2699.2 | 49.7 | 5566.4
130 |  |  | DUPLEX RECEPTACLE GFCI | 12 | 0% | 12 | EA | 0.25 | 3 | 128 | 32 | 384 | 28.5 | 342 | 60.5 | 726
131 |  |  | DUPLEX RECEPTACLE GFCI WP | 11 | 0% | 11 | EA | 0.28 | 3.08 | 128 | 35.84 | 394.24 | 32 | 352 | 67.84 | 746.24
132 |  |  | FLOOR BOX WITH (1) DUPLEX RECEPTACLE AND (1) COMMUNICATION OUTLET | 9 | 0% | 9 | EA | 0.88 | 7.92 | 128 | 112.64 | 1013.76 | 102.1 | 918.9 | 214.74 | 1932.66
133 |  |  | FLOOR BOX WITH (1) QUAD RECEPTACLE AND (1) COMMUNICATION OUTLET | 21 | 0% | 21 | EA | 1.1 | 23.1 | 128 | 140.8 | 2956.8 | 120 | 2520 | 260.8 | 5476.8
134 |  |  | FLOOR BOX WITH (1) QUAD RECEPTACLE, (1) DUPLEX RECEPTACLE AND (1) COMMUNICATION OUTLET | 9 | 0% | 9 | EA | 1.3 | 11.7 | 128 | 166.4 | 1497.6 | 134.1 | 1206.9 | 300.5 | 2704.5
135 |  |  | GUTTER TO SERVE EV CHARGING STATIONS | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 161.5 | 161.5 | 289.5 | 289.5
136 |  |  | P1, 4'-8"X7'X7' PRIMARY JUNCTION VAULT | 3 | 0% | 3 | EA | 25 | 75 | 128 | 3200 | 9600 | 14950 | 44850 | 18150 | 54450
137 |  |  | POWER PEDESTAL WITH (3) CIRCUIT BREAKER (1) DUPLEX RECEPTACLE GFCI WP NEMA 5-20R (1) SPECIAL PURPOSE RECEPTACLE WP 14-50R (1) SPECIAL PURPOSE RECEPTACLE WP 5-30R (1) COMMUNICATION OUTLET EATON CHU1N9G4NPLTZ | 4 | 0% | 4 | EA | 8.95 | 35.8 | 128 | 1145.6 | 4582.4 | 2421.53 | 9686.12 | 3567.13 | 14268.52
138 |  |  | QUAD RECEPTACLE | 16 | 0% | 16 | EA | 0.4 | 6.4 | 128 | 51.2 | 819.2 | 48 | 768 | 99.2 | 1587.2
139 |  |  | QUAD RECEPTACLE NEMA L5-20R | 2 | 0% | 2 | EA | 0.55 | 1.1 | 128 | 70.4 | 140.8 | 55 | 110 | 125.4 | 250.8
140 |  |  | R, CONTROLLED RECEPTACLE RELAY | 20 | 0% | 20 | EA | 0.35 | 7 | 128 | 44.8 | 896 | 37.8 | 756 | 82.6 | 1652
141 |  |  | SMR (12'5") | 2 | 0% | 2 | EA | 2 | 4 | 128 | 256 | 512 | 206.78 | 413.56 | 462.78 | 925.56
142 |  |  | SPECIAL PURPOSE RECEPTACLE L6-30R | 12 | 0% | 12 | EA | 0.6 | 7.2 | 128 | 76.8 | 921.6 | 66 | 792 | 142.8 | 1713.6
143 |  |  | SPECIAL PURPOSE RECEPTACLE L14-50R | 1 | 0% | 1 | EA | 0.7 | 0.7 | 128 | 89.6 | 89.6 | 72.5 | 72.5 | 162.1 | 162.1
LIGHTING
LIGHT FIXTURES
144 |  |  | DA1, 3" DIAMETER RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 5 | 0% | 5 | EA | 0.7 | 3.5 | 128 | 89.6 | 448 | 117.6 | 588 | 207.2 | 1036
145 |  |  | DA1 EM, 3" DIAMETER RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 3 | 0% | 3 | EA | 0.7 | 2.1 | 128 | 89.6 | 268.8 | 117.6 | 352.8 | 207.2 | 621.6
146 |  |  | DA2, 3" DIAMETER RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 4 | 0% | 4 | EA | 0.7 | 2.8 | 128 | 89.6 | 358.4 | 117.6 | 470.4 | 207.2 | 828.8
147 |  |  | DA2 EM, 3" DIAMETER RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 2 | 0% | 2 | EA | 0.7 | 1.4 | 128 | 89.6 | 179.2 | 117.6 | 235.2 | 207.2 | 414.4
148 |  |  | DA3, 3" DIAMETER RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 4 | 0% | 4 | EA | 0.7 | 2.8 | 128 | 89.6 | 358.4 | 117.6 | 470.4 | 207.2 | 828.8
149 |  |  | DB1, 3" SQUARE RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 1 | 0% | 1 | EA | 0.7 | 0.7 | 128 | 89.6 | 89.6 | 138 | 138 | 227.6 | 227.6
150 |  |  | DB1 EM, 3" SQUARE RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 2 | 0% | 2 | EA | 0.7 | 1.4 | 128 | 89.6 | 179.2 | 138 | 276 | 227.6 | 455.2
151 |  |  | DB2, 3'' SQUARE RECESSED LED DOWNLIGHT, LIGHTHEADED, #"OPUS" SERIES | 14 | 0% | 14 | EA | 0.7 | 9.8 | 128 | 89.6 | 1254.4 | 117.6 | 1646.4 | 207.2 | 2900.8
152 |  |  | DC1, 3" SQUARE RECESSED LED WALL WASH DOWNLIGHT LIGHTHEADED, #"OPUS" SERIES | 3 | 0% | 3 | EA | 0.7 | 2.1 | 128 | 89.6 | 268.8 | 117.6 | 352.8 | 207.2 | 621.6
153 |  |  | DD1, 3" DIAMETER RECESSED LENSED LED DOWNLIGHT (SHOWER), LIGHTHEADED, #"OPUS" SERIES | 1 | 0% | 1 | EA | 0.7 | 0.7 | 128 | 89.6 | 89.6 | 117.6 | 117.6 | 207.2 | 207.2
154 |  |  | EA, EDGELIT LED EXIT SIGN, EMERGI-LITE, "PRESTIGE EDGE-LIT" SERIES | 16 | 0% | 16 | EA | 1 | 16 | 128 | 128 | 2048 | 305.25 | 4884 | 433.25 | 6932
155 |  |  | EB1, SURFACE MOUNTED DUAL HEAD EM LIGHTING, SURE-LITES, 'SELDWA29' SERIES | 5 | 0% | 5 | EA | 1 | 5 | 128 | 128 | 640 | 203.21 | 1016.05 | 331.21 | 1656.05
156 |  |  | EC1, SURFACE MOUNTED DUAL HEAD EM LIGHTING, SURE-LITES, 'SELDWA50' SERIES | 12 | 0% | 12 | EA | 1.25 | 15 | 128 | 160 | 1920 | 347.19 | 4166.28 | 507.19 | 6086.28
157 |  |  | HA1, 4'-0" SUSPENDED LINEAR LED UTILITY LUMINAIRE, METALUX, #SNX LENSED' SERIES | 17 | 0% | 17 | EA | 1 | 17 | 128 | 128 | 2176 | 148.54 | 2525.18 | 276.54 | 4701.18
158 |  |  | HD1, 4'H 4" DIA. SUSPENDED LED DECORATIVE PENDANT, SPI, #•PAVO 4 INCH* SERIES | 11 | 0% | 11 | EA | 2 | 22 | 128 | 256 | 2816 | 532 | 5852 | 788 | 8668
159 |  |  | HF1, 34'-0" PENDANT MOUNTED DIRECT/ INDIRECT LINEAR LED, PINNACLE, 'CHUTE" SERIES | 6 | 0% | 6 | EA | 10.2 | 61.2 | 128 | 1305.6 | 7833.6 | 4165 | 24990 | 5470.6 | 32823.6
160 |  |  | HF2, 34'-0" PENDANT MOUNTED DIRECT/ INDIRECT LINEAR LED, PINNACLE, 'CHUTE" SERIES | 4 | 0% | 4 | EA | 10.2 | 40.8 | 128 | 1305.6 | 5222.4 | 4165 | 16660 | 5470.6 | 21882.4
161 |  |  | RB1, 2'X4' LED LAY-IN LENSED TROFFER, AXIS, DIA SERIES | 55 | 0% | 55 | EA | 0.7 | 38.5 | 128 | 89.6 | 4928 | 166.62 | 9164.1 | 256.22 | 14092.1
162 |  |  | RC1, 16'-0" RECESSED LED LINEAR FOR GRID CEILING, EXTANT, HTG-3R-LP' SERIES | 10 | 0% | 10 | EA | 4 | 40 | 128 | 512 | 5120 | 1440 | 14400 | 1952 | 19520
163 |  |  | RD1, 8-0" RECESSED LED LINEAR FOR WOOD CEILING, BETA CALCO, LE LOUVRE SERIES | 1 | 0% | 1 | EA | 2 | 2 | 128 | 256 | 256 | 720 | 720 | 976 | 976
164 |  |  | RF1 12', 12'-0" RECESSED LED LINEAR FOR WOOD CEILING, BETA CALCO, LE LOUVRE SERIES | 1 | 0% | 1 | EA | 3 | 3 | 128 | 384 | 384 | 1080 | 1080 | 1464 | 1464
165 |  |  | RG1 7'3", APERTURE RECESSED LED PERIMETER WALL SLOT, PINNALE, 'EDGE EV4DPM" SERIES | 1 | 0% | 1 | EA | 1.8125 | 1.8125 | 128 | 232 | 232 | 435 | 435 | 667 | 667
166 |  |  | RG1 8'2", APERTURE RECESSED LED PERIMETER WALL SLOT, PINNALE, 'EDGE EV4DPM" SERIES | 1 | 0% | 1 | EA | 2.0425 | 2.0425 | 128 | 261.44 | 261.44 | 490.2 | 490.2 | 751.64 | 751.64
167 |  |  | RG1 11'3", APERTURE RECESSED LED PERIMETER WALL SLOT, PINNALE, 'EDGE EV4DPM" SERIES | 1 | 0% | 1 | EA | 2.8125 | 2.8125 | 128 | 360 | 360 | 675 | 675 | 1035 | 1035
168 |  |  | RG1 12', APERTURE RECESSED LED PERIMETER WALL SLOT, PINNALE, 'EDGE EV4DPM" SERIES | 1 | 0% | 1 | EA | 3 | 3 | 128 | 384 | 384 | 720 | 720 | 1104 | 1104
169 |  |  | RG1 13'7", APERTURE RECESSED LED PERIMETER WALL SLOT, PINNALE, 'EDGE EV4DPM" SERIES | 1 | 0% | 1 | EA | 3.395 | 3.395 | 128 | 434.56 | 434.56 | 814.8 | 814.8 | 1249.36 | 1249.36
170 |  |  | RG1 16', APERTURE RECESSED LED PERIMETER WALL SLOT, PINNALE, 'EDGE EV4DPM" SERIES | 1 | 0% | 1 | EA | 4 | 4 | 128 | 512 | 512 | 960 | 960 | 1472 | 1472
171 |  |  | SA1, 13'-0'X 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 2 | 0% | 2 | EA | 3.9 | 7.8 | 128 | 499.2 | 998.4 | 1779.44 | 3558.88 | 2278.64 | 4557.28
172 |  |  | SA2, 28'-9" 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 1 | 0% | 1 | EA | 8.625 | 8.625 | 128 | 1104 | 1104 | 3935.3 | 3935.3 | 5039.3 | 5039.3
173 |  |  | SA3, 17' 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 1 | 0% | 1 | EA | 5.1 | 5.1 | 128 | 652.8 | 652.8 | 2326.96 | 2326.96 | 2979.76 | 2979.76
174 |  |  | SB1, 9'-4" LENGTH- 6 "X6" LED LINEAR MOUNTED IN MILLWORK, LUMINI, "BOSCA" SERIES | 28 | 0% | 28 | EA | 2 | 56 | 128 | 256 | 7168 | 428.95 | 12010.6 | 684.95 | 19178.6
175 |  |  | SG1, 3" DIAMETER SURFACE MOUNTED ADJUSTABLE LUMINAIRE, LIGHTHEADED, PIPE SERIES | 3 | 0% | 3 | EA | 0.7 | 2.1 | 128 | 89.6 | 268.8 | 166.62 | 499.86 | 256.22 | 768.66
176 |  |  | UA1 11'5", LED UNDERCABINET LIGHT, LUMINII, "KENDO S STATIC WHITE' SERIES | 1 | 0% | 1 | EA | 2.2834 | 2.2834 | 128 | 292.2752 | 292.2752 | 1507.044 | 1507.044 | 1799.3192 | 1799.3192
177 |  |  | UA1 13'7", LED UNDERCABINET LIGHT, LUMINII, "KENDO S STATIC WHITE' SERIES | 2 | 0% | 2 | EA | 2.6834 | 5.3668 | 128 | 343.4752 | 686.9504 | 1771.044 | 3542.088 | 2114.5192 | 4229.0384
178 |  |  | WB1, 36" DIA. SURFACE MOUNTED DECORATIVE, TMS, "JOOPI" SERIES | 3 | 0% | 3 | EA | 5 | 15 | 128 | 640 | 1920 | 2500 | 7500 | 3140 | 9420
179 |  |  | WC1, 40" DIA. SURFACE MOUNTED DECORATIVE, TMS, "JOOPI" SERIES | 1 | 0% | 1 | EA | 5.5 | 5.5 | 128 | 704 | 704 | 3250 | 3250 | 3954 | 3954
180 |  |  | WD1 EM, 7-3/32"L X 2-11/64"H X 3-17/64D WALL MOUNTED LED LUMINAIRE, HEPER, "DOGO 8" SERIES | 6 | 0% | 6 | EA | 2.5 | 15 | 128 | 320 | 1920 | 463 | 2778 | 783 | 4698
181 |  |  | WF1, 13'-0" LENGTH 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 1 | 0% | 1 | EA | 3.25 | 3.25 | 128 | 416 | 416 | 1820 | 1820 | 2236 | 2236
182 |  |  | WF2, 14'-0" LENGTH 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 1 | 0% | 1 | EA | 3.5 | 3.5 | 128 | 448 | 448 | 1960 | 1960 | 2408 | 2408
183 |  |  | WF3, 14'-0" LENGTH 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 1 | 0% | 1 | EA | 3.5 | 3.5 | 128 | 448 | 448 | 1960 | 1960 | 2408 | 2408
184 |  |  | WF4, 17'-0" LENGTH 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 1 | 0% | 1 | EA | 4.25 | 4.25 | 128 | 544 | 544 | 2380 | 2380 | 2924 | 2924
185 |  |  | WF5, 5'-3" LENGTH 2"x2" MULLION MOUNTED LED LINEAR INDIRECT, AXIS, "EXTEND 2" SERIES | 1 | 0% | 1 | EA | 1.3125 | 1.3125 | 128 | 168 | 168 | 735 | 735 | 903 | 903
SITE LIGHT FIXTURES
186 |  |  | BA1, 36" HEIGHT - LED BOLLARD LUMINAIRE, HEPER, "DRAGO" SERIES | 19 | 0% | 19 | EA | 5 | 95 | 128 | 640 | 12160 | 1450 | 27550 | 2090 | 39710
187 |  |  | GA1, IN-GRADE LED LUMINAIRE FLAG UPLIGHT, VISTA PRO, "1185" SERIES | 2 | 0% | 2 | EA | 1 | 2 | 128 | 128 | 256 | 169.78 | 339.56 | 297.78 | 595.56
188 |  |  | GB1, 8-13/32" DIAMETER IN-GRADE SURFACE MOUNTED LED LUMINAIRE FLAG UPLIGHT, VISTA PRO, "1185SE" SERIES | 1 | 0% | 1 | EA | 2 | 2 | 128 | 256 | 256 | 1150 | 1150 | 1406 | 1406
189 |  |  | PA1, 20'-0" POLE MOUNTED LED AREA LUMINAIRE - SINGLE HEAD, RAGNI, 'DOMITIENNE V2 SERIES | 2 | 0% | 2 | EA | 4.5 | 9 | 128 | 576 | 1152 | 1142 | 2284 | 1718 | 3436
190 |  |  | PA2, 20'-0" POLE MOUNTED LED AREA LUMINAIRE - SINGLE HEAD, RAGNI, 'DOMITIENNE V2 SERIES | 8 | 0% | 8 | EA | 4.5 | 36 | 128 | 576 | 4608 | 1142 | 9136 | 1718 | 13744
191 |  |  | SC1, LINEAR FLOODLIGHT FOR MONUMENT SIGN, VISTA PRO, "MODEL 1050KM' SERIES | 2 | 0% | 2 | EA | 3.2 | 6.4 | 128 | 409.6 | 819.2 | 844.35 | 1688.7 | 1253.95 | 2507.9
192 |  |  | SD1 (11'), UNDER BENCH LED TAPE MOUNTED IN EXTRUSION POURED IN CONCRETE BENCH, BEALUX, "FLORENCE' SERIES | 3 | 0% | 3 | EA | 2.2 | 6.6 | 128 | 281.6 | 844.8 | 467.5 | 1402.5 | 749.1 | 2247.3
193 |  |  | SD1 (13'), UNDER BENCH LED TAPE MOUNTED IN EXTRUSION POURED IN CONCRETE BENCH, BEALUX, "FLORENCE' SERIES | 1 | 0% | 1 | EA | 2.6 | 2.6 | 128 | 332.8 | 332.8 | 552.5 | 552.5 | 885.3 | 885.3
SITE LIGHT POLES
194 |  |  | 8'X2' SITE LIGHT LIGHTING POLE BASE | 10 | 0% | 10 | EA | 3.5 | 35 | 128 | 448 | 4480 | 715 | 7150 | 1163 | 11630
195 |  |  | SINGLE HEAD SITE LIGHT LIGHTING POLE (20') | 10 | 0% | 10 | EA | 5 | 50 | 128 | 640 | 6400 | 1750 | 17500 | 2390 | 23900
LIGHTING CONTROLS
196 |  |  | L, DAYLIGHT SENSOR | 11 | 0% | 11 | EA | 0.65 | 7.15 | 128 | 83.2 | 915.2 | 133.5 | 1468.5 | 216.7 | 2383.7
197 |  |  | LCP, LIGHTING CONTROL PANEL | 1 | 0% | 1 | EA | 10 | 10 | 128 | 1280 | 1280 | 2410.72 | 2410.72 | 3690.72 | 3690.72
198 |  |  | OS, CEILING MOUNTED DUAL TECHNOLOGY OCCUPANCY SENSOR | 15 | 0% | 15 | EA | 0.86 | 12.9 | 128 | 110.08 | 1651.2 | 177 | 2655 | 287.08 | 4306.2
199 |  |  | S OSD, WALL MOUNTED OCCUPANCY SENSOR DIMMER SWITCH | 11 | 0% | 11 | EA | 0.55 | 6.05 | 128 | 70.4 | 774.4 | 89.9 | 988.9 | 160.3 | 1763.3
200 |  |  | S, SINGLE POLE SWITCH | 2 | 0% | 2 | EA | 0.32 | 0.64 | 128 | 40.96 | 81.92 | 38 | 76 | 78.96 | 157.92
201 |  |  | S3, THREE WAY SWITCH | 4 | 0% | 4 | EA | 0.45 | 1.8 | 128 | 57.6 | 230.4 | 68.5 | 274 | 126.1 | 504.4
202 |  |  | SC-1, SCENE CONTROL STATION WITH SINGLE BUTTON | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 92.75 | 92.75 | 220.75 | 220.75
203 |  |  | SC-2, SCENE CONTROL STATION WITH SINGLE BUTTON | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 92.75 | 92.75 | 220.75 | 220.75
204 |  |  | SC-3, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 125 | 125 | 265.8 | 265.8
205 |  |  | SC-4, SCENE CONTROL STATION WITH SINGLE BUTTON | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 92.75 | 92.75 | 220.75 | 220.75
206 |  |  | SC-5, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
207 |  |  | SC-6, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
208 |  |  | SC-7, SCENE CONTROL STATION WITH SINGLE BUTTON | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 92.75 | 92.75 | 220.75 | 220.75
209 |  |  | SC-8, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
210 |  |  | SC-9, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
211 |  |  | SC-10, SCENE CONTROL STATION WITH SINGLE BUTTON | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 92.75 | 92.75 | 220.75 | 220.75
212 |  |  | SC-11, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
213 |  |  | SC-12, SCENE CONTROL STATION WITH SINGLE BUTTON | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 92.75 | 92.75 | 220.75 | 220.75
214 |  |  | SC-13, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
215 |  |  | SC-14, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
216 |  |  | SC-15, SCENE CONTROL STATION WITH SINGLE BUTTON WITH RAISE/LOWER | 1 | 0% | 1 | EA | 1.1 | 1.1 | 128 | 140.8 | 140.8 | 393.06 | 393.06 | 533.86 | 533.86
217 |  |  | SD, DIMMER SWITCH | 2 | 0% | 2 | EA | 0.55 | 1.1 | 128 | 70.4 | 140.8 | 62.25 | 124.5 | 132.65 | 265.3
218 |  |  | SOS, WALL MOUNTED OCCUPANCY SENSOR SWITCH | 13 | 0% | 13 | EA | 0.55 | 7.15 | 128 | 70.4 | 915.2 | 89.9 | 1168.7 | 160.3 | 2083.9
219 |  |  | WALL MOUNTED OCCUPANCY SENSOR SWITCH | 2 | 0% | 2 | EA | 0.55 | 1.1 | 128 | 70.4 | 140.8 | 89.9 | 179.8 | 160.3 | 320.6
LIGHTING SUPPORTS
220 |  |  | AIRCRAFT CABLES | 1480 | 5% | 1554 | LF | 0.01 | 15.54 | 128 | 1.28 | 1989.12 | 2.25 | 3496.5 | 3.53 | 5485.62
221 |  |  | CLIPS | 370 | 0% | 370 | EA | 0.1 | 37 | 128 | 12.8 | 4736 | 4.98 | 1842.6 | 17.78 | 6578.6
222 |  |  | JUNCTION BOX FOR LIGHTS | 130 | 0% | 130 | EA | 0.3 | 39 | 128 | 38.4 | 4992 | 30 | 3900 | 68.4 | 8892
|  |  | SUBTOTAL | [12 empty] | 2090736.6885
|  | 27 | DIVISION 26- TELECOMMUNICATION
LOW VOLTAGE
CONDIUTS
223 |  |  | 4"C EMT | 323.53 | 5% | 339.7065 | LF | 0.146 | 49.5971 | 128 | 18.688 | 6348.4351 | 14.878 | 5054.1533 | 33.566 | 11402.5884
224 |  |  | 4"C PVC | 1440.81 | 5% | 1512.8505 | LF | 0.115 | 173.9778 | 128 | 14.72 | 22269.1594 | 9.27 | 14024.1241 | 23.99 | 36293.2835
225 |  |  | 1 1/4"C EMT | 150 | 5% | 157.5 | LF | 0.07 | 11.025 | 128 | 8.96 | 1411.2 | 3.295 | 518.9625 | 12.255 | 1930.1625
226 |  |  | 1 1/4"C PVC | 204.01 | 5% | 214.2105 | LF | 0.08 | 17.1368 | 128 | 10.24 | 2193.5155 | 2.198 | 470.8347 | 12.438 | 2664.3502
227 |  |  | 1"C EMT | 1770 | 5% | 1858.5 | LF | 0.064 | 118.944 | 128 | 8.192 | 15224.832 | 2.158 | 4010.643 | 10.35 | 19235.475
228 |  |  | 1"C PVC | 961.85 | 5% | 1009.9425 | LF | 0.05 | 50.4971 | 128 | 6.4 | 6463.632 | 1.396 | 1409.8797 | 7.796 | 7873.5117
229 |  |  | PULLSTRING | 1440.81 | 5% | 1512.8505 | LF | 0.01 | 15.1285 | 128 | 1.28 | 1936.4486 | 0.35 | 529.4977 | 1.63 | 2465.9463
CONDUCTORS
230 |  |  | 5 PORTS OF CATO PLENUM RATED TIE CABLE | 210.86 | 5% | 221.403 | LF | 0.015 | 3.321 | 128 | 1.92 | 425.0938 | 2.08 | 460.5182 | 4 | 885.612
231 |  |  | CAT5E 25-PAIR PLENUM RATED CABLE | 278.71 | 5% | 292.6455 | LF | 0.02 | 5.8529 | 128 | 2.56 | 749.1725 | 4.77 | 1395.919 | 7.33 | 2145.0915
232 |  |  | 24 STRAND ARMORED PLENUM RATED OS2 SINGLE-MODE FIBER OPTIC CABLE | 278.71 | 5% | 292.6455 | LF | 0.02 | 5.8529 | 128 | 2.56 | 749.1725 | 3.61 | 1056.4503 | 6.17 | 1805.6227
233 |  |  | CAT 6 | 25908.68 | 5% | 27204.114 | LF | 0.008 | 217.6329 | 128 | 1.024 | 27857.0127 | 0.52933 | 14400.0443 | 1.5533 | 42257.0571
DEVICES
234 |  |  | 1U HORIZONTAL CABLE MANAGER | 1 | 0% | 1 | EA | 0.4 | 0.4 | 128 | 51.2 | 51.2 | 109 | 109 | 160.2 | 160.2
235 |  |  | 1 2" TELCO STYLE CABLE TRAY RUNWAY 12' | 2 | 0% | 2 | EA | 1 | 2 | 128 | 128 | 256 | 194.772 | 389.544 | 322.772 | 645.544
236 |  |  | 1 8" TELCO STYLE CABLE RUNWAY | 2 | 0% | 2 | EA | 1.1 | 2.2 | 128 | 140.8 | 281.6 | 217.34 | 434.68 | 358.14 | 716.28
237 |  |  | 1 EZ-PATH SERIES 44 PATHWAY PNPZD44 FIRESTOP | 7 | 0% | 7 | EA | 1.5 | 10.5 | 128 | 192 | 1344 | 453.54 | 3174.78 | 645.54 | 4518.78
238 |  |  | 2U FIBER ENCLOSURE | 1 | 0% | 1 | EA | 2 | 2 | 128 | 256 | 256 | 364.74 | 364.74 | 620.74 | 620.74
239 |  |  | 2X2X2 HANDHOLE | 1 | 0% | 1 | EA | 4.5 | 4.5 | 128 | 576 | 576 | 1010 | 1010 | 1586 | 1586
240 |  |  | 3/4" FIRE RATED PLYWOOD | 123.92 | 10% | 136.312 | SF | 0.016 | 2.181 | 128 | 2.048 | 279.167 | 2 | 272.624 | 4.048 | 551.791
241 |  |  | 4" CONDUIT SLEEVE | 3 | 0% | 3 | EA | 0.25 | 0.75 | 128 | 32 | 96 | 24.34 | 73.02 | 56.34 | 169.02
242 |  |  | 6" VERTICAL WIRE MANAGER | 4 | 0% | 4 | EA | 1.5 | 6 | 128 | 192 | 768 | 339.8 | 1359.2 | 531.8 | 2127.2
243 |  |  | 10" VERTICAL WIRE MANAGER | 2 | 0% | 2 | EA | 1.85 | 3.7 | 128 | 236.8 | 473.6 | 495 | 990 | 731.8 | 1463.6
244 |  |  | 12' WIDE X 6" HIGH METAL CHANNEL WITH LID | 2 | 0% | 2 | EA | 2 | 4 | 128 | 256 | 512 | 333 | 666 | 589 | 1178
245 |  |  | 18" WIDE CABLE TRAY | 32.84 | 5% | 34.482 | LF | 0.1 | 3.4482 | 128 | 12.8 | 441.3696 | 33.606 | 1158.8021 | 46.406 | 1600.1717
246 |  |  | 24 PORT CAT5E PATCH PANEL | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 152 | 152 | 280 | 280
247 |  |  | 24 PORT CAT6 PATCH PANEL | 2 | 0% | 2 | EA | 1 | 2 | 128 | 128 | 256 | 152 | 304 | 280 | 560
248 |  |  | 25' SERVICE LOOP | 4 | 0% | 4 | EA | 0.7 | 2.8 | 128 | 89.6 | 358.4 | 125 | 500 | 214.6 | 858.4
249 |  |  | 45RU 4-POST 19" OPEN FRAME RACK | 4 | 0% | 4 | EA | 1.3 | 5.2 | 128 | 166.4 | 665.6 | 581.3 | 2325.2 | 747.7 | 2990.8
250 |  |  | 48 PORT CAT6 PATCH PANEL | 3 | 0% | 3 | EA | 1.85 | 5.55 | 128 | 236.8 | 710.4 | 219.9 | 659.7 | 456.7 | 1370.1
251 |  |  | C1, 3'X5'X3' COMMUNICATIONS VAULT | 4 | 0% | 4 | EA | 7 | 28 | 128 | 896 | 3584 | 2100 | 8400 | 2996 | 11984
252 |  |  | CEILING MOUNTED WIRELESS ACCESS POINT | 12 | 0% | 12 | EA | 1 | 12 | 128 | 128 | 1536 | 134.9 | 1618.8 | 262.9 | 3154.8
253 |  |  | COMMUNICATION OUTLET | 68 | 0% | 68 | EA | 0.25 | 17 | 128 | 32 | 2176 | 38 | 2584 | 70 | 4760
254 |  |  | EXTERIOR COMMUNICATON OUTLET | 3 | 0% | 3 | EA | 0.26 | 0.78 | 128 | 33.28 | 99.84 | 42 | 126 | 75.28 | 225.84
255 |  |  | LC DUPLEX TERMINATION WITH PORT COUNT | 4 | 0% | 4 | EA | 0.4 | 1.6 | 128 | 51.2 | 204.8 | 55 | 220 | 106.2 | 424.8
256 |  |  | PORT COUNT | 3 | 0% | 3 | EA | 0.55 | 1.65 | 128 | 70.4 | 211.2 | 86 | 258 | 156.4 | 469.2
257 |  |  | PULL BOX (8'W X 12"D X MIN.) | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 212 | 212 | 340 | 340
258 |  |  | RACK MOUNT CAT5E 24 PORT PATCH PANEL | 2 | 0% | 2 | EA | 1 | 2 | 128 | 128 | 256 | 152 | 304 | 280 | 560
259 |  |  | RACK MOUNTED COMMUNICATION OUTLET | 1 | 0% | 1 | EA | 0.7 | 0.7 | 128 | 89.6 | 89.6 | 171.61 | 171.61 | 261.21 | 261.21
260 |  |  | SYSTEM DISPATCH FURNITURE COMMUNICATON OUTLET | 10 | 0% | 10 | EA | 0.68 | 6.8 | 128 | 87.04 | 870.4 | 88 | 880 | 175.04 | 1750.4
261 |  |  | T TYPE ELBOW | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 35 | 70 | 67 | 134
262 |  |  | T, (DETAIL NOT GIVEN) | 2 | 0% | 2 | EA | 0.26 | 0.52 | 128 | 33.28 | 66.56 | 42 | 84 | 75.28 | 150.56
263 |  |  | WALL MOUNT 110-BLOCK | 2 | 0% | 2 | EA | 1.1 | 2.2 | 128 | 140.8 | 281.6 | 496.96 | 993.92 | 637.76 | 1275.52
264 |  |  | WALL MOUNTED WIRELESS ACCESS POINT | 8 | 0% | 8 | EA | 1 | 8 | 128 | 128 | 1024 | 134.9 | 1079.2 | 262.9 | 2103.2
265 |  |  | WIRELESS EXTENDER OUTLET | 1 | 0% | 1 | EA | 0.7 | 0.7 | 128 | 89.6 | 89.6 | 110 | 110 | 199.6 | 199.6
266 |  |  | 2 GANG BACKBOX | 81 | 0% | 81 | EA | 0.3 | 24.3 | 128 | 38.4 | 3110.4 | 18.99 | 1538.19 | 57.39 | 4648.59
267 |  |  | 4"X4" BACKBOX | 9 | 0% | 9 | EA | 0.2 | 1.8 | 128 | 25.6 | 230.4 | 13.35 | 120.15 | 38.95 | 350.55
TELECOM RADIO INSTALLATION
CONDIUTS
268 |  |  | 4"C PVC | 880.32 | 5% | 924.336 | LF | 0.115 | 106.2986 | 128 | 14.72 | 13606.2259 | 9.27 | 8568.5947 | 23.99 | 22174.8206
269 |  |  | 4"C EMT | 126 | 5% | 132.3 | LF | 0.146 | 19.3158 | 128 | 18.688 | 2472.4224 | 14.878 | 1968.3594 | 33.566 | 4440.7818
CONDUCTORS
270 |  |  | #2 BARE CU GROUND WIRE | 224.31 | 5% | 235.5255 | LF | 0.02 | 4.7105 | 128 | 2.56 | 602.9453 | 2.63 | 619.4321 | 5.19 | 1222.3773
271 |  |  | #2 SOLID TIN COATED COPPER CONDUCTOR | 6.37 | 5% | 6.6885 | LF | 0.025 | 0.16721 | 128 | 3.2 | 21.4032 | 2.78 | 18.594 | 5.98 | 39.9972
272 |  |  | #4/0 BAR TIN COATED BARE COPPER CONDUCTOR | 92.48 | 5% | 97.104 | LF | 0.035 | 3.3986 | 128 | 4.48 | 435.0259 | 8.99 | 872.965 | 13.47 | 1307.9909
273 |  |  | 7/8" COAX CABLE | 3820.16 | 5% | 4011.168 | LF | 0.03 | 120.335 | 128 | 3.84 | 15402.8851 | 6.73 | 26995.1606 | 10.57 | 42398.0458
274 |  |  | COPPER GROUND STRAPS | 103.24 | 5% | 108.402 | LF | 0.02 | 2.168 | 128 | 2.56 | 277.5091 | 3 | 325.206 | 5.56 | 602.7151
DEVICES
275 |  |  | (2) BOLT ASSEMBLY 5/3' X 1-3/4" | 4 | 0% | 4 | EA | 0.02 | 0.08 | 128 | 2.56 | 10.24 | 2.38 | 9.52 | 4.94 | 19.76
276 |  |  | (4) BOLT ASSEMBLY 5/3' X 1-3/4" | 8 | 0% | 8 | EA | 0.02 | 0.16 | 128 | 2.56 | 20.48 | 2.38 | 19.04 | 4.94 | 39.52
277 |  |  | 3/4" CONDUIT SLEEVE | 1 | 0% | 1 | EA | 0.03 | 0.03 | 128 | 3.84 | 3.84 | 10.32 | 10.32 | 14.16 | 14.16
278 |  |  | AHAB | 1 | 0% | 1 | EA | 0.5 | 0.5 | 128 | 64 | 64 | 69.9 | 69.9 | 133.9 | 133.9
279 |  |  | ARES, DIAMOND ANTENNA, F142 | 1 | 0% | 1 | EA | 0.6 | 0.6 | 128 | 76.8 | 76.8 | 132.95 | 132.95 | 209.75 | 209.75
280 |  |  | ARES, DIAMOND ANTENNA, X-30A | 5 | 0% | 5 | EA | 0.55 | 2.75 | 128 | 70.4 | 352 | 69.95 | 349.75 | 140.35 | 701.75
281 |  |  | ARES, DIEX, DXM60 | 1 | 0% | 1 | EA | 1.5 | 1.5 | 128 | 192 | 192 | 335.99 | 335.99 | 527.99 | 527.99
282 |  |  | ARES, DIEX, DXM80 | 1 | 0% | 1 | EA | 2 | 2 | 128 | 256 | 256 | 679.99 | 679.99 | 935.99 | 935.99
283 |  |  | ARES, M2 ANTENNA SYSTEMS, 6M3 | 1 | 0% | 1 | EA | 1.6 | 1.6 | 128 | 204.8 | 204.8 | 385.99 | 385.99 | 590.79 | 590.79
284 |  |  | ARES, MOSLEY, PRO-57-B-40 | 1 | 0% | 1 | EA | 4.5 | 4.5 | 128 | 576 | 576 | 3516.64 | 3516.64 | 4092.64 | 4092.64
285 |  |  | CABLE GROUNDING KIT, L-COM, HT-GK400 | 30 | 0% | 30 | EA | 0.4 | 12 | 128 | 51.2 | 1536 | 60.97 | 1829.1 | 112.17 | 3365.1
286 |  |  | CAP PLATE CP4A | 2 | 0% | 2 | EA | 0.35 | 0.7 | 128 | 44.8 | 89.6 | 48 | 96 | 92.8 | 185.6
287 |  |  | CONCRETE BASE 5'X5'X2' | 1 | 0% | 1 | EA | 4.5 | 4.5 | 128 | 576 | 576 | 843.31 | 843.31 | 1419.31 | 1419.31
288 |  |  | CONNECTOR, N-TYPE | 30 | 0% | 30 | EA | 0.1 | 3 | 128 | 12.8 | 384 | 10.09 | 302.7 | 22.89 | 686.7
289 |  |  | EGB, EXTERIOR GROUND BUS BAR | 1 | 0% | 1 | EA | 1.5 | 1.5 | 128 | 192 | 192 | 201.48 | 201.48 | 393.48 | 393.48
290 |  |  | EXOTHERMIC WELD | 17 | 0% | 17 | EA | 0.25 | 4.25 | 128 | 32 | 544 | 20 | 340 | 52 | 884
291 |  |  | FENCE GROUND BUS | 1 | 0% | 1 | EA | 1.55 | 1.55 | 128 | 198.4 | 198.4 | 235 | 235 | 433.4 | 433.4
292 |  |  | GROUND ROD | 4 | 0% | 4 | EA | 0.7 | 2.8 | 128 | 89.6 | 358.4 | 86 | 344 | 175.6 | 702.4
293 |  |  | HOOD ENTRY KIT ANDREW .(COM M SCOPE) MODEL MT-365G OAE | 1 | 0% | 1 | EA | 5.5 | 5.5 | 128 | 704 | 704 | 2641.17 | 2641.17 | 3345.17 | 3345.17
294 |  |  | JOINT BOLT KIT 65JBK | 6 | 0% | 6 | EA | 0.55 | 3.3 | 128 | 70.4 | 422.4 | 50.95 | 305.7 | 121.35 | 728.1
295 |  |  | PBB, PRIMARY BONDING BUSBAR | 1 | 0% | 1 | EA | 1 | 1 | 128 | 128 | 128 | 383.86 | 383.86 | 511.86 | 511.86
296 |  |  | PENDOT, TELEWAVE.IO, ANT150D3 | 1 | 0% | 1 | EA | 4 | 4 | 128 | 512 | 512 | 1832.53 | 1832.53 | 2344.53 | 2344.53
297 |  |  | PENDOT, TELEWAVE.IO, ANT450D3 | 1 | 0% | 1 | EA | 4 | 4 | 128 | 512 | 512 | 1832.53 | 1832.53 | 2344.53 | 2344.53
298 |  |  | RADIO TOWER (65') | 1 | 0% | 1 | EA | 10 | 10 | 128 | 1280 | 1280 | 4900 | 4900 | 6180 | 6180
299 |  |  | ROTATOR, HY-GAIN, HAM-VII | 1 | 0% | 1 | EA | 3.5 | 3.5 | 128 | 448 | 448 | 1099.95 | 1099.95 | 1547.95 | 1547.95
300 |  |  | SAGE | 1 | 0% | 1 | EA | 3 | 3 | 128 | 384 | 384 | 460 | 460 | 844 | 844
301 |  |  | SURGE PROTECTION DEVICE, POLYPHASER, IS-50NX-C0 | 15 | 0% | 15 | EA | 1 | 15 | 128 | 128 | 1920 | 119.99 | 1799.85 | 247.99 | 3719.85
302 |  |  | SURGE PROTECTION DEVICE, POLYPHASER, IS-RCT | 1 | 0% | 1 | EA | 1.5 | 1.5 | 128 | 192 | 192 | 474.95 | 474.95 | 666.95 | 666.95
303 |  |  | TGB, TELECOMMUNICATION GROUND BUS BAR | 1 | 0% | 1 | EA | 1.3 | 1.3 | 128 | 166.4 | 166.4 | 201.48 | 201.48 | 367.88 | 367.88
304 |  |  | WASHDOT | 1 | 0% | 1 | EA | 5.5 | 5.5 | 128 | 704 | 704 | 1067 | 1067 | 1771 | 1771
|  |  | SUBTOTAL | [12 empty] | 295042.3864
|  | 28 | DIVISION 28- ELECTRONIC SAFETY & SECUIRITY
SECURITY
CONDIUTS
305 |  |  | 1"C PVC | 1131.09 | 5% | 1187.6445 | LF | 0.05 | 59.3822 | 128 | 6.4 | 7600.9248 | 1.396 | 1657.9517 | 7.796 | 9258.8765
306 |  |  | 3/4"C EMT | 675 | 5% | 708.75 | LF | 0.035 | 24.8062 | 128 | 4.48 | 3175.2 | 1.318 | 934.1325 | 5.798 | 4109.3325
CONDUCTORS
307 |  |  | CAT 6 | 5171.21 | 5% | 5429.7705 | LF | 0.008 | 43.4382 | 128 | 1.024 | 5560.085 | 0.52933 | 2874.1585 | 1.5533 | 8434.2435
DEVICES
308 |  |  | 8" X 8" X 4" JUNCTION BOX WITH HINGED COVER | 23 | 0% | 23 | EA | 1.1 | 25.3 | 128 | 140.8 | 3238.4 | 154.45 | 3552.35 | 295.25 | 6790.75
309 |  |  | 24X24X6 WEATHERPROOF, LOCKABLE, PAD-MOUNTED SECURITY INTERFACE BOX WITH CAMERA, CARD READER AND VEDIO INTERCOM | 2 | 0% | 2 | EA | 6 | 12 | 128 | 768 | 1536 | 1790 | 3580 | 2558 | 5116
310 |  |  | 180 DEGREE IP SECURITY CAMERA | 3 | 0% | 3 | EA | 1.5 | 4.5 | 128 | 192 | 576 | 274.04 | 822.12 | 466.04 | 1398.12
311 |  |  | 270 DEGREE SECURITY CAMERA WP | 6 | 0% | 6 | EA | 2 | 12 | 128 | 256 | 1536 | 430 | 2580 | 686 | 4116
312 |  |  | CR, CARD READER | 18 | 0% | 18 | EA | 1.5 | 27 | 128 | 192 | 3456 | 259.9 | 4678.2 | 451.9 | 8134.2
313 |  |  | DC, DOOR CONTACTOR | 2 | 0% | 2 | EA | 0.55 | 1.1 | 128 | 70.4 | 140.8 | 55 | 110 | 125.4 | 250.8
314 |  |  | POLE MOUNTED CAMERA WP | 4 | 0% | 4 | EA | 1 | 4 | 128 | 128 | 512 | 229 | 916 | 357 | 1428
315 |  |  | SECURITY CONTROL PANEL | 4 | 0% | 4 | EA | 3 | 12 | 128 | 384 | 1536 | 607.99 | 2431.96 | 991.99 | 3967.96
316 |  |  | SINGLE SENSOR IP SECURITY CAMERA | 3 | 0% | 3 | EA | 1.1 | 3.3 | 128 | 140.8 | 422.4 | 170 | 510 | 310.8 | 932.4
317 |  |  | VI, VEDIO INTERCOM | 4 | 0% | 4 | EA | 3.5 | 14 | 128 | 448 | 1792 | 699 | 2796 | 1147 | 4588
318 |  |  | VM, VEDIO INTERCOM MASTER STATION | 1 | 0% | 1 | EA | 7 | 7 | 128 | 896 | 896 | 1835 | 1835 | 2731 | 2731
319 |  |  | 4"X4" BACKBOX | 31 | 0% | 31 | EA | 0.2 | 6.2 | 128 | 25.6 | 793.6 | 13.35 | 413.85 | 38.95 | 1207.45
320 |  |  | 4"X4" BACKBOX WP | 10 | 0% | 10 | EA | 0.25 | 2.5 | 128 | 32 | 320 | 20 | 200 | 52 | 520
AUDIO VISUAL SYSTEM
CONDIUTS
321 |  |  | 2"C EMT | 154.15 | 5% | 161.8575 | LF | 0.11 | 17.8043 | 128 | 14.08 | 2278.9536 | 4.598 | 744.2208 | 18.678 | 3023.1744
322 |  |  | 1 1/4"C EMT | 46.56 | 5% | 48.888 | LF | 0.07 | 3.4222 | 128 | 8.96 | 438.0365 | 3.295 | 161.086 | 12.255 | 599.1224
323 |  |  | 1"C EMT | 1633.16 | 5% | 1714.818 | LF | 0.064 | 109.7484 | 128 | 8.192 | 14047.7891 | 2.158 | 3700.5772 | 10.35 | 17748.3663
324 |  |  | 1"C PVC | 44.03 | 5% | 46.2315 | LF | 0.05 | 2.3116 | 128 | 6.4 | 295.8816 | 1.396 | 64.5392 | 7.796 | 360.4208
CONDUCTORS
325 |  |  | CAT 6 CABLE | 4211.96 | 5% | 4422.558 | LF | 0.008 | 35.3805 | 128 | 1.024 | 4528.6994 | 0.52933 | 2341.0074 | 1.5533 | 6869.7068
326 |  |  | HDMI CABLE | 173.8 | 5% | 182.49 | LF | 0.015 | 2.7374 | 128 | 1.92 | 350.3808 | 2.5 | 456.225 | 4.42 | 806.6058
327 |  |  | #18/2C CONTROL CABLE | 366.52 | 5% | 384.846 | LF | 0.006 | 2.3091 | 128 | 0.768 | 295.5617 | 0.4 | 153.9384 | 1.168 | 449.5001
328 |  |  | S70 CABLE | 166.1 | 5% | 174.405 | LF | 0.02 | 3.4881 | 128 | 2.56 | 446.4768 | 4 | 697.62 | 6.56 | 1144.0968
DEVICES
329 |  |  | AA, ALS ANTENNA | 2 | 0% | 2 | EA | 4 | 8 | 128 | 512 | 1024 | 1006 | 2012 | 1518 | 3036
330 |  |  | AV1, A/V I/O PANEL | 2 | 0% | 2 | EA | 1.5 | 3 | 128 | 192 | 384 | 267.9 | 535.8 | 459.9 | 919.8
331 |  |  | AV3, A/V I/O PANEL | 1 | 0% | 1 | EA | 1.5 | 1.5 | 128 | 192 | 192 | 267.9 | 267.9 | 459.9 | 459.9
332 |  |  | AV4, AN I/O PANEL - TYPE 4 | 2 | 0% | 2 | EA | 2 | 4 | 128 | 256 | 512 | 310 | 620 | 566 | 1132
333 |  |  | CAM1, PTZ CAMERA - TYPE 1 | 4 | 0% | 4 | EA | 2 | 8 | 128 | 256 | 1024 | 500.98 | 2003.92 | 756.98 | 3027.92
334 |  |  | CM1, CEILING MICROPHONE | 6 | 0% | 6 | EA | 2.5 | 15 | 128 | 320 | 1920 | 641.7 | 3850.2 | 961.7 | 5770.2
335 |  |  | DV1, DIRECT VIEW LED DISPLAY - TYPE 1 | 3 | 0% | 3 | EA | 10 | 30 | 128 | 1280 | 3840 | 9190 | 27570 | 10470 | 31410
336 |  |  | FP1, FLAT PANEL DISPLAY | 3 | 0% | 3 | EA | 2.5 | 7.5 | 128 | 320 | 960 | 1350 | 4050 | 1670 | 5010
337 |  |  | FP2, FLAT PANEL DISPLAY | 2 | 0% | 2 | EA | 2.5 | 5 | 128 | 320 | 640 | 1350 | 2700 | 1670 | 3340
338 |  |  | FP3, FLAT PANEL DISPLAY | 1 | 0% | 1 | EA | 2.5 | 2.5 | 128 | 320 | 320 | 1350 | 1350 | 1670 | 1670
339 |  |  | IC1, CEILING LOUDSPEAKER | 10 | 0% | 10 | EA | 1 | 10 | 128 | 128 | 1280 | 279 | 2790 | 407 | 4070
340 |  |  | MA, WIRELESS MIC ANTENNA | 2 | 0% | 2 | EA | 1.2 | 2.4 | 128 | 153.6 | 307.2 | 399 | 798 | 552.6 | 1105.2
341 |  |  | P1, PENDANT LOUDSPEAKER | 8 | 0% | 8 | EA | 1.5 | 12 | 128 | 192 | 1536 | 319.67 | 2557.36 | 511.67 | 4093.36
342 |  |  | PM1, PENDANT MICROPHONE | 4 | 0% | 4 | EA | 2 | 8 | 128 | 256 | 1024 | 488 | 1952 | 744 | 2976
343 |  |  | RK1, EQUIPMENT RACK | 1 | 0% | 1 | EA | 4.5 | 4.5 | 128 | 576 | 576 | 1139.3 | 1139.3 | 1715.3 | 1715.3
344 |  |  | RK2, EQUIPMENT RACK | 1 | 0% | 1 | EA | 4.5 | 4.5 | 128 | 576 | 576 | 1139.3 | 1139.3 | 1715.3 | 1715.3
345 |  |  | TP1, CONTROL TOUCH PANEL - TYPE 1 | 2 | 0% | 2 | EA | 3 | 6 | 128 | 384 | 768 | 1250 | 2500 | 1634 | 3268
346 |  |  | VB1, VIDEO BAR - TYPE 1 | 2 | 0% | 2 | EA | 3 | 6 | 128 | 384 | 768 | 1199 | 2398 | 1583 | 3166
347 |  |  | WB1, WALL BOX - TYPE 1 | 1 | 0% | 1 | EA | 2 | 2 | 128 | 256 | 256 | 413 | 413 | 669 | 669
348 |  |  | 4"X4" BACKBOX | 55 | 0% | 55 | EA | 0.2 | 11 | 128 | 25.6 | 1408 | 13.35 | 734.25 | 38.95 | 2142.25
FIRE ALARM
CONDIUTS
349 |  |  | 3/4"C EMT | 477.8 | 5% | 501.69 | LF | 0.035 | 17.5591 | 128 | 4.48 | 2247.5712 | 1.318 | 661.2274 | 5.798 | 2908.7986
CONDUCTORS
350 |  |  | #14 THHN SOLID | 955.6 | 5% | 1003.38 | LF | 0.008 | 8.027 | 128 | 1.024 | 1027.4611 | 0.18 | 180.6084 | 1.204 | 1208.0695
DEVICES
351 |  |  | CLEAN AGENT FIRE ALARM CONTROL AND ANNUNCIATION PANEL WITH INTELLIGENT RELEASING MODULES OR MULTIPLE INDIVIDUAL RELEASING CONTROL PANELS | 3 | 0% | 3 | EA | 40 | 120 | 128 | 5120 | 15360 | 18200 | 54600 | 23320 | 69960
352 |  |  | FA REMOTE ANNUNCIATOR | 1 | 0% | 1 | EA | 3.5 | 3.5 | 128 | 448 | 448 | 738.2 | 738.2 | 1186.2 | 1186.2
353 |  |  | FACP, FIRE ALARM CONTROL PANEL | 1 | 0% | 1 | EA | 5 | 5 | 128 | 640 | 640 | 924.3 | 924.3 | 1564.3 | 1564.3
354 |  |  | 4"X4" BACKBOX | 1 | 0% | 1 | EA | 0.2 | 0.2 | 128 | 25.6 | 25.6 | 13.35 | 13.35 | 38.95 | 38.95
NOTE
PRIMARY CONDUIT SIZE AND QUANTITY FOR THE UTILITY TRANSFORMER ARE NOT INDICATED IN THE DRAWINGS. THEREFORE, 6 SETS OF 4" CONDUITS HAVE BEEN ASSUMED FOR ESTIMATION PURPOSES.
|  |  | SUBTOTAL | [12 empty] | 251546.6741
[7 empty] | TOTAL LABOR HOURS |  | 8409.0503 | TOTAL LABOR COST |  | 1076358.4392 | TOTAL MATERIAL COST | 1560967.3097
|  |  | TOTAL AMOUNT | [12 empty] | 2821325.7489
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  |  |  |  | 141066.2874
|  |  | MATERIAL MARKUPS | [7 empty] | 20% |  |  |  |  | 312193.4619
|  |  | LABOR MARKUPS | [7 empty] | 31% |  |  |  |  | 333671.1162
|  |  | OVERHEAD (10%) | [7 empty] | 10% |  |  |  |  | 282132.5749
|  |  | PROFIT (10%) | [7 empty] | 10% |  |  |  |  | 282132.5749
|  |  | TAX (9.2%) | [7 empty] | 9.2% |  |  |  |  | 259561.9689
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  |  |  |  | 42319.8862
|  |  | TOTAL BASEBID | [12 empty] | 4474403.6194

## Add Alternate
DETAILED BREAKDOWN OF ITEMS
Project Name
Project Address
| Scope: |  | Electrical
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1500
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 1500
ADD ALTERNATE (PEDESTRIAN GATE CARD READER)
EQUIPMENT CONNECTION
8 |  |  | CONNECTION FOR PEDESTRIAN GATE CARD READER | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 18 | 36 | 50 | 100
MISCELLANEOUS
9 |  |  | TRENCHING AND BACKFILLING | 89.02 | 0% | 89.02 | LF | 0.045 | 4.0059 | 128 | 5.76 | 512.7552 | 1.2 | 106.824 | 6.96 | 619.5792
POWER CIRCUITS
CONDUITS
10 |  |  | 1"C PVC | 390.21 | 5% | 409.7205 | LF | 0.05 | 20.486 | 128 | 6.4 | 2622.2112 | 1.396 | 571.9698 | 7.796 | 3194.181
11 |  |  | 3/4"C EMT | 5 | 5% | 5.25 | LF | 0.035 | 0.18375 | 128 | 4.48 | 23.52 | 1.318 | 6.9195 | 5.798 | 30.4395
12 |  |  | 3/4"C LFMC | 12.85 | 5% | 13.4925 | LF | 0.1 | 1.3493 | 128 | 12.8 | 172.704 | 2.7456 | 37.045 | 15.5456 | 209.749
13 |  |  | 3/4"C RGS | 10.27 | 5% | 10.7835 | LF | 0.067 | 0.72249 | 128 | 8.576 | 92.4793 | 3.317 | 35.7689 | 11.893 | 128.2482
CONDUTORS
14 |  |  | #10 THHN SOLID | 1254.99 | 5% | 1317.7395 | LF | 0.01 | 13.1774 | 128 | 1.28 | 1686.7066 | 0.38 | 500.741 | 1.66 | 2187.4476
SECURITY
CONDIUTS
15 |  |  | 1"C PVC | 110.05 | 5% | 115.5525 | LF | 0.05 | 5.7776 | 128 | 6.4 | 739.536 | 1.396 | 161.3113 | 7.796 | 900.8473
16 |  |  | 3/4"C RGS | 14.52 | 5% | 15.246 | LF | 0.067 | 1.0215 | 128 | 8.576 | 130.7497 | 3.317 | 50.571 | 11.893 | 181.3207
CONDUCTORS
17 |  |  | CAT 6 | 124.57 | 5% | 130.7985 | LF | 0.008 | 1.0464 | 128 | 1.024 | 133.9377 | 0.52933 | 69.236 | 1.5533 | 203.1737
DEVICES
18 |  |  | CARD READER FOR PEDESTRIAN SECURITY GATE WP | 2 | 0% | 2 | EA | 3.5 | 7 | 128 | 448 | 896 | 791.63 | 1583.26 | 1239.63 | 2479.26
19 |  |  | 4"X4" BACKBOX WP | 2 | 0% | 2 | EA | 0.25 | 0.5 | 128 | 32 | 64 | 20 | 40 | 52 | 104
|  |  | SUBTOTAL | [12 empty] | 10338.2461
[7 empty] | TOTAL LABOR HOURS |  | 55.7703 | TOTAL LABOR COST |  | 7138.5996 | TOTAL MATERIAL COST | 3199.6465
|  |  | TOTAL AMOUNT | [12 empty] | 11838.2461
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  |  |  |  | 591.9123
|  |  | MATERIAL MARKUPS | [7 empty] | 20% |  |  |  |  | 639.9293
|  |  | LABOR MARKUPS | [7 empty] | 31% |  |  |  |  | 2212.9659
|  |  | OVERHEAD (10%) | [7 empty] | 10% |  |  |  |  | 1183.8246
|  |  | PROFIT (10%) | [7 empty] | 10% |  |  |  |  | 1183.8246
|  |  | TAX (9.2%) | [7 empty] | 9.2% |  |  |  |  | 1089.1186
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  |  |  |  | 177.5737
|  |  | TOTAL BASEBID | [12 empty] | 18917.3951

## LABOR SHEET
| Labor Type | Labor Rate
Electrical | Elec | 128
Wastage
Each/Count | EA | 0%
Linear Footage | LF | 5%
Square Footage | SF | 10%
Square Yard | SY | 10%
Cubic Yard | CY | 10%
Lumpsum | LS | 0%
Survery | Survey | 0%
Stair Riser | RISER | 0%
Blocks Count | BLOCKS | 0%
Bags of Pre-Mix Mortar | BAGS | 0%
Linear Footage of Wall | LF.Wall | 10%
Pounds | LBS | 10%
Pieces | PCs | 0%
Location | LOC | 0%
Bundle | Bundle | 10%
Rolls | ROLLS | 0%
Boxes | BOX | 0%
Holeses | Holes | 0%
Pieces | PC | 0%
Tubes | Tube | 0%
Gallons | GA | 0%
Square of Roofing | SQ | 10%
N/A | N/A | 0%
NOTE:
Prevailing wages have been included in this estimate in compliance with the Davis-Bacon Act.
Material pricing is based on current market rates sourced from reputable online platforms and suppliers.
Please note that actual costs may vary depending on site-specific conditions, unforeseen circumstances, or changes in market conditions.