## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
Project Name: ABC | [7 empty] | Address: XYZ
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | UNIT | WASTAGE | QTY. W/ WASTAGE | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | UNIT LABOR COST | TOTAL LABOR COST | UNIT COST (Labor + Material) | TOTAL COST | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | LS | 0% | 1 | 0 | 0 | 1 | 1 | 1800 | 1800 | 1800 | 1800 | 1800
2 |  |  | Supervision and Coordination | 1 | LS | 0% | 1 | 0 | 0 | 1 | 1 | 10000 | 10000 | 10000 | 10000 | 10000
3 |  |  | Submittals and Shop drawings | 1 | LS | 0% | 1 | 0 | 0 | 1 | 1 | 2500 | 2500 | 2500 | 2500 | 2500
4 |  |  | Final Cleaning | 1 | LS | 0% | 1 | 0 | 0 | 1 | 1 | 2000 | 2000 | 2000 | 2000 | 2000
5 |  |  | Mobilization Costs | 1 | LS | 0% | 1 | 0 | 0 | 1 | 1 | 12000 | 12000 | 12000 | 12000 | 12000
6 |  |  | Temporary Control & Facilities | 1 | LS | 0% | 1 | 0 | 0 | 1 | 1 | 3500 | 3500 | 3500 | 3500 | 3500
7 |  |  | Scaffolding | 1 | LS | 0% | 1 | 0 | 0 | 1 | 1 | 7500 | 7500 | 7500 | 7500 | 7500
|  |  | SUBTOTAL | [13 empty] | 39300
|  | 26 | DIVISION 26- ELECTRICAL
SOLAR PANEL SYSTEM
CONDUIT
8 |  |  | 2-1/2"C RMC | 31 | LF | 5% | 32.55 | 33.901 | 1103.4776 | 0.229 | 7.4539 | 23.8333 | 5.4578 | 177.6525 | 39.3588 | 1281.13
9 |  |  | 1-1/4"C RMC | 135 | LF | 5% | 141.75 | 10.5795 | 1499.637 | 0.133 | 18.8528 | 23.8333 | 3.1698 | 449.3239 | 13.7493 | 1948.9609
10 |  |  | 1"C EMT | 2779 | LF | 5% | 2917.95 | 3.8343 | 11188.354 | 0.07 | 204.2565 | 23.8333 | 1.6683 | 4868.1133 | 5.5027 | 16056.4673
11 |  |  | 1"C RGS | 96 | LF | 5% | 100.8 | 7.8908 | 795.3876 | 0.07 | 7.056 | 23.8333 | 1.6683 | 168.168 | 9.5591 | 963.5556
12 |  |  | 3/4"C EMT | 18 | LF | 5% | 18.9 | 2.2679 | 42.8626 | 0.062 | 1.1718 | 23.8333 | 1.4777 | 27.9279 | 3.7455 | 70.7905
CONDUCTOR
13 |  |  | #3/0 CU THWN-2 | 124 | LF | 5% | 130.2 | 5.7866 | 753.4088 | 0.032 | 4.1664 | 23.8333 | 0.76267 | 99.2992 | 6.5492 | 852.708
14 |  |  | #4 CU THWN-2 | 540 | LF | 5% | 567 | 1.66 | 941.2087 | 0.015 | 8.505 | 23.8333 | 0.3575 | 202.7025 | 2.0175 | 1143.9112
15 |  |  | #6 CU THWN-2 | 11282 | LF | 5% | 11846.1 | 0.88844 | 10524.5491 | 0.012 | 142.1532 | 23.8333 | 0.286 | 3387.9846 | 1.1744 | 13912.5337
16 |  |  | #8 CU THWN-2 | 2779 | LF | 5% | 2917.95 | 0.61957 | 1807.8743 | 0.01 | 29.1795 | 23.8333 | 0.23833 | 695.4447 | 0.8579 | 2503.319
17 |  |  | #12 CU THWN-2 | 54 | LF | 5% | 56.7 | 0.28056 | 15.9078 | 0.007 | 0.3969 | 23.8333 | 0.16683 | 9.4595 | 0.44739 | 25.3672
GROUNDING
18 |  |  | 3/4"X10' Ground Rod | 1 | EA | 0% | 1 | 77.154 | 77.154 | 1.818 | 1.818 | 23.8333 | 43.329 | 43.329 | 120.483 | 120.483
19 |  |  | Ground Bus | 1 | EA | 0% | 1 | 120.407 | 120.407 | 1.509 | 1.509 | 23.8333 | 35.9645 | 35.9645 | 156.3715 | 156.3715
20 |  |  | Neutral Bar | 1 | EA | 0% | 1 | 91.182 | 91.182 | 1 | 1 | 23.8333 | 23.8333 | 23.8333 | 115.0153 | 115.0153
21 |  |  | #6 Bare Copper | 1735 | LF | 5% | 1821.75 | 0.8826 | 1607.8674 | 0.01231 | 22.4257 | 23.8333 | 0.29339 | 534.4802 | 1.176 | 2142.3476
DISCONNECT SWITCH
22 |  |  | RS: Rapid Shutdown Disconnect System As required. Similar To SMA RSC-1X-US-10, 20W16 | 1 | EA | 0% | 1 | 490.98 | 490.98 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 567.2467 | 567.2467
PANELS
23 |  |  | PV Panel, 250A/150A MLO, 277/480V, 3PH, 4W, 65KAIC, Surface Mounted, NEMA 3R | 1 | EA | 0% | 1 | 2864.05 | 2864.05 | 18.25 | 18.25 | 23.8333 | 434.9583 | 434.9583 | 3299.0083 | 3299.0083
CIRCUIT BREAKERS
24 |  |  | 20A/1P Circuit Breaker | 6 | EA | 0% | 6 | 21.6265 | 129.759 | 0.148 | 0.888 | 23.8333 | 3.5273 | 21.164 | 25.1538 | 150.923
25 |  |  | 60A/3P Circuit Breaker | 4 | EA | 0% | 4 | 374.08 | 1496.32 | 1.92 | 7.68 | 23.8333 | 45.76 | 183.04 | 419.84 | 1679.36
26 |  |  | 150A Main Circuit Breaker | 1 | EA | 0% | 1 | 458.248 | 458.248 | 2.85 | 2.85 | 23.8333 | 67.925 | 67.925 | 526.173 | 526.173
27 |  |  | 200A/3P Circuit Breaker | 1 | EA | 0% | 1 | 1124.578 | 1124.578 | 4 | 4 | 23.8333 | 95.3333 | 95.3333 | 1219.9113 | 1219.9113
EQUIPMENT'S
28 |  |  | 200A Meter | 1 | EA | 0% | 1 | 1344.35 | 1344.35 | 4.225 | 4.225 | 23.8333 | 100.6958 | 100.6958 | 1445.0458 | 1445.0458
29 |  |  | Array A1 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
30 |  |  | Array A2 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
31 |  |  | Array A3 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
32 |  |  | Array B1 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
33 |  |  | Array B2 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
34 |  |  | Array B3 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
35 |  |  | Array C1 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
36 |  |  | Array C2 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
37 |  |  | Array C3 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
38 |  |  | Array D1 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
39 |  |  | Array D2 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
40 |  |  | Array D3 | 1 | EA | 0% | 1 | 631.26 | 631.26 | 3.2 | 3.2 | 23.8333 | 76.2667 | 76.2667 | 707.5267 | 707.5267
41 |  |  | CBA: Combiner Box Equal Or Similar To Sunny Tri power STP-DC | 1 | EA | 0% | 1 | 566.965 | 566.965 | 2.25 | 2.25 | 23.8333 | 53.625 | 53.625 | 620.59 | 620.59
42 |  |  | CBB: Combiner Box Equal Or Similar To Sunny Tri power STP-DC | 1 | EA | 0% | 1 | 566.965 | 566.965 | 2.25 | 2.25 | 23.8333 | 53.625 | 53.625 | 620.59 | 620.59
43 |  |  | CBC: Combiner Box Equal Or Similar To Sunny Tri power STP-DC | 1 | EA | 0% | 1 | 566.965 | 566.965 | 2.25 | 2.25 | 23.8333 | 53.625 | 53.625 | 620.59 | 620.59
44 |  |  | CBD: Combiner Box Equal Or Similar To Sunny Tri power STP-DC | 1 | EA | 0% | 1 | 566.965 | 566.965 | 2.25 | 2.25 | 23.8333 | 53.625 | 53.625 | 620.59 | 620.59
45 |  |  | Enclosure For Meter & Main Breaker | 1 | EA | 0% | 1 | 757.512 | 757.512 | 4.385 | 4.385 | 23.8333 | 104.5092 | 104.5092 | 862.0212 | 862.0212
46 |  |  | Inverter A Similar Or Equal To SMA America Sunny Trip power 20,000 TL-US, 480V | 1 | EA | 0% | 1 | 4933.18 | 4933.18 | 8 | 8 | 23.8333 | 190.6667 | 190.6667 | 5123.8467 | 5123.8467
47 |  |  | Inverter B Similar Or Equal To SMA America Sunny Trip power 20,000 TL-US, 480V | 1 | EA | 0% | 1 | 4933.18 | 4933.18 | 8 | 8 | 23.8333 | 190.6667 | 190.6667 | 5123.8467 | 5123.8467
48 |  |  | Inverter C Similar Or Equal To SMA America Sunny Trip power 20,000 TL-US, 480V | 1 | EA | 0% | 1 | 4933.18 | 4933.18 | 8 | 8 | 23.8333 | 190.6667 | 190.6667 | 5123.8467 | 5123.8467
49 |  |  | Inverter D Similar Or Equal To SMA America Sunny Trip power 20,000 TL-US, 480V | 1 | EA | 0% | 1 | 4933.18 | 4933.18 | 8 | 8 | 23.8333 | 190.6667 | 190.6667 | 5123.8467 | 5123.8467
50 |  |  | Monitor System, Equal Or Similar To SMA Cluster Controller. | 1 | EA | 0% | 1 | 1186.535 | 1186.535 | 4.444 | 4.444 | 23.8333 | 105.9153 | 105.9153 | 1292.4503 | 1292.4503
51 |  |  | PVC Junction Box 6" X 6" X 6" NEMA 3R | 12 | EA | 0% | 12 | 55.5275 | 666.33 | 0.62 | 7.44 | 23.8333 | 14.7767 | 177.32 | 70.3042 | 843.65
52 |  |  | RS: Rapid Shutdown Box Similar Or Equal To RSB-25-US-10 (SMA Shutdown Box) | 24 | EA | 0% | 24 | 479.29 | 11502.96 | 2.15 | 51.6 | 23.8333 | 51.2417 | 1229.8 | 530.5317 | 12732.76
53 |  |  | RSST: Rapid Shutdown System Transmitter Module Level Deactivation With TS4-F Automatic On Manual Shutdown. Shall Include Dual Rss Cores | 1 | EA | 0% | 1 | 224.448 | 224.448 | 1.333 | 1.333 | 23.8333 | 31.7698 | 31.7698 | 256.2178 | 256.2178
54 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (A2) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
55 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (A3) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
56 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (B1) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
57 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (B2) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
58 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (B3) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
59 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (C1) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
60 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (C2) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
61 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (C3) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
62 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (D1) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
63 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (D2) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
64 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating (D3) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
65 |  |  | Solar Panel Similar To Mission Solar 375 Silver Mono MSE 375SQ9S, 375 Watts, Buy American ACT Compliant, 175 MPH Wind Rating(A1) | 18 | EA | 0% | 18 | 530.726 | 9553.068 | 3.5 | 63 | 23.8333 | 83.4167 | 1501.5 | 614.1427 | 11054.568
66 |  |  | Wire Way 160" L X 12" H X 6" D NEMA 3R | 1 | EA | 0% | 1 | 448.896 | 448.896 | 1.75 | 1.75 | 23.8333 | 41.7083 | 41.7083 | 490.6043 | 490.6043
ARRAY FITTINGS
67 |  |  | Unistrut | 1452 | FT | 0% | 1452 | 4.3838 | 6365.205 | 0.038 | 55.176 | 23.8333 | 0.90567 | 1315.028 | 5.2894 | 7680.233
68 |  |  | Unistrut Support (PV Mounting Rack) (3' Or Length As Required) | 363 | EA | 0% | 363 | 13.1513 | 4773.9038 | 0.135 | 49.005 | 23.8333 | 3.2175 | 1167.9525 | 16.3688 | 5941.8563
69 |  |  | Unistrut Clamp | 363 | EA | 0% | 363 | 9.2935 | 3373.5586 | 0.135 | 49.005 | 23.8333 | 3.2175 | 1167.9525 | 12.5111 | 4541.5112
70 |  |  | Anchors Bolts | 726 | EA | 0% | 726 | 5.5528 | 4031.2965 | 0.054 | 39.204 | 23.8333 | 1.287 | 934.362 | 6.8398 | 4965.6585
71 |  |  | Nut And Washers | 1452 | EA | 0% | 1452 | 1.4262 | 2070.8134 | 0.024 | 34.848 | 23.8333 | 0.572 | 830.544 | 1.9982 | 2901.3574
72 |  |  | Unistrut Couplers For joining | 5808 | EA | 0% | 5808 | 5.693 | 33065.1182 | 0.078 | 453.024 | 23.8333 | 1.859 | 10797.072 | 7.552 | 43862.1902
POWER DEVICES
73 |  |  | Duplex Receptacle NEMA 5-20R | 1 | EA | 0% | 1 | 33.3165 | 33.3165 | 0.425 | 0.425 | 23.8333 | 10.1292 | 10.1292 | 43.4457 | 43.4457
|  |  | SUBTOTAL | [13 empty] | 300717.4675
|  |  |  | TOTAL MATERIAL COST |  |  | 251189.9718 |  | TOTAL LABOR HOURS |  | 2078.0767 | TOTAL LABOR COST |  |  | 49527.4957
|  |  | TOTAL AMOUNT | [13 empty] | 340017.4675
|  |  | CONTIGENCIES (5%) | [9 empty] | 5% |  |  |  | 17000.8734
|  |  | OVERHEAD (10%) | [9 empty] | 10% |  |  |  | 34001.7468
|  |  | PROFIT (10%) | [9 empty] | 10% |  |  |  | 34001.7468
|  |  | TAX (8.5%) | [9 empty] | 11.5% |  |  |  | 28886.8468
|  |  | PERFORMANCE AND PAYMENT BONDS (2%) | [9 empty] | 2% |  |  |  | 6800.3494
|  |  | TOTAL BASEBID | [13 empty] | 460709.0305

## LABOR SHEET
| Labor Type | Labor Rate
Carpenter | CARP | 60
Plumbing | Plum | 70
Mechanical | Mech | 70
Electrical | Elec | 70
Earthwork | Q14C | 60
Drywaller | Drywaller | 60
Finisher | Finisher | 55
Painting | Painter | 50
Tile Contractor | Tilf | 60
CMU/Stone | D8 | 70
Concrete | B14S | 70
Metal | Steel | 70
Roofing | Roofer | 70
Genral Labor | Labor | 85
Exterior Improvement | B15S | 65
Misc | Misc | 45
Manhour Increase Factor | 0%
Wastage
Each/Count | EA | 0%
Linear Footage | LF | 5%
Square Footage | SF | 10%
Square Yard | SY | 10%
Cubic Yard | CY | 10%
Lumpsum | LS | 0%
Survery | Survey | 0%
Stair Riser | RISER | 0%
Blocks Count | BLOCKS | 0%
Bags of Pre-Mix Mortar | BAGS | 0%
Linear Footage of Wall | LF.Wall | 10%
Pounds | LBS | 10%
Pieces | PCs | 0%
Location | LOC | 0%
Bundle | Bundle | 10%
Rolls | ROLLS | 0%
Boxes | BOX | 0%
Holeses | Holes | 0%
Pieces | PC | 0%
Tubes | Tube | 0%
Gallons | GA | 0%
Square of Roofing | SQ | 10%
N/A | N/A | 0%